Logistics Report

                                                                                                                                          
Logistics Report




Logistics Report – Final 8 June

(NB USE SEPARATE COLOUR COVER PAGE FOR FINAL)





 
Area C, Western Tasmania 

and Area E, D’Aguilar Range

Airborne Geophysical Survey

January – March 2001
Mineral Resources Tasmania

30 Gordons Hill Road

ROSNY PARK  

TAS  7018

CONTENTS

11.
 INTRODUCTION

2.
 SURVEY SPECIFICATIONS
2
2.1
 LINE SPECIFICATIONS
2
2.2
 INSTRUMENTAL SPECIFICATIONS
2
3.
 SURVEY OPERATIONS
4
3.1
 SURVEY BASES
4
3.2
 FLIGHT PLANNING
4
3.3
 FLIGHT PATH CONTROL
4
3.4
 SURVEY PLATFORM
5
3.5
 WEATHER DETAILS
5
3.6
 SAFETY MANAGEMENT
5
3.7
 ENVIRONMENTAL MANAGEMENT
6
4.
 PERSONNEL
7
5.
 GEOPHYSICAL EQUIPMENT
8
5.1
 MAGNETOMETER
8
5.2
 AUTOMATIC COMPENSATOR
8
5.3
 SPECTROMETER
8
5.4
 ALTIMETER, BAROMETER AND THERMOMETER
9
5.5
 GPS NAVIGATION SYSTEM
10
5.6
 DATA ACQUISITION SYSTEM
10
5.7
 BASE STATION MAGNETOMETER
10
6.
 CALIBRATIONS
12
6.1
 MAGNETOMETER
12
6.2
 HEADING AND PARALLAX ERRORS
12
6.3
 MAGNETIC COMPENSATION PROCEDURE
12
6.4
 RADIOMETRICS
13
6.4.1
 Calibration Factors
13
6.4.2
 Daily, Pre Flight and Post Flight Checks
13
6.4.3
 Daily Test Line
14
6.5
 POSITION
14
6.5.1
 Positional Control of Survey Data
14
6.5.2
 Altimeters
15
7.
 DATA PROCESSING
16
7.1
 IN-FIELD DATA VERIFICATION AND POST-FLIGHT PROCESSING
16
7.2
 FINAL PROCESSING
17
7.2.1
 Flight Path Recovery
17
7.2.2
 Magnetic Processing
17
7.2.3
 Radiometric Data Processing
18
7.2.4
 Digital Terrain Model (DTM) Processing
22
8.
 DELIVERED ITEMS
24
8.1.
MAP PRODUCTS
24
8.2
DIGITAL DATA
24
8.3
ANALOGUE DATA
25
8.4
LOGISTICS REPORT
26
9.
 REFERENCES
27


APPENDICES

APPENDIX 1
Location of Areas C and E Northwest Tasmania 

APPENDIX 2
Tables of area boundary lines and flight plans

APPENDIX 3
Survey progress summary

APPENDIX 4
Catalogue of survey lines 

APPENDIX 5 
Flight logs VH-JWF

APPENDIX 6
Radiometric calibration procedures and results


Cosmic stripping tests


Hover range plots


Calibration spectra for radon, cosmic and aircraft


Rad-alt and baro-alt calibrations

APPENDIX 7
Magnetometer compensation box

APPENDIX 8
Location Maps for Base Stations


Sample diurnal magnetic records

APPENDIX 9
Plots of parked helicopter position

APPENDIX 10
Thorium sample calibration plots


Crystal resolution plots


Pre and post flight spectrometer calibration data
APPENDIX 11
Test line statistics

APPENDIX 12
Summed 256 channel spectra data files and disks

APPENDIX 13
Data formats 

1
.

INTRODUCTION

This Logistics Report describes the operations for a helicopter geophysical survey covering Areas C and E, Northwest Tasmania, for Mineral Resources Tasmania, a division of the Department of Infrastructure, Energy and Resources.  The project was undertaken under Tender MRT 01/2000 for the Acquisition and Processing of Airborne Magnetic and Radiometric Data  The survey totalled 44 773 kilometres, and yielded grids of the fully processed geophysical parameters at a 50 m grid cell size.

The two survey areas are located in northwest Tasmania and total approximately 

7 890 square kilometres in area.  The crew operated from bases at Queenstown, Zeehan and Sheffield between the dates of 3 January to 22 March using a Bell 206B3 “Jet Ranger” helicopter.  A field data processing centre with large format plotter was established at each base.

Traverse lines for the project are oriented east-west at 200 m line spacing. Tie lines are north-south at 2 km spacing. All geophysical sensors were carried in, or on the helicopter, which flew at 80 metres mean terrain clearance.

Staff of the Mineral Resources Tasmania provided technical supervision of the geophysical operations and data processing.  Geo Instruments Pty Ltd provided the survey personnel, instrumentation and data processing geophysicists.  Heli-Aust Pty Ltd of Bankstown NSW was contracted to provide the aircraft and pilots. 

2.

SURVEY SPECIFICATIONS  

The project comprises airborne geophysical mapping of two areas located in western and northwestern Tasmania designated Areas C (Western Tasmania) and E (D’Aguilar Range), (refer to map in Appendix 1 and table of boundaries in Appendix 2). Data acquisition totalled 44 773 line kilometres of airborne magnetic, gamma-ray spectrometer, elevation, temperature and barometric pressure data. The magnetic and gamma ray spectrometer data were collected in such a manner as to allow comprehensive reprocessing with the advent of new technology.  Details of the formats of the raw data and post-processed data records are given in Appendix 14. 

2.1

LINE SPECIFICATIONS    

	Traverse Line Direction
	Constant AMG Easting in AGD66

	Traverse Line Spacing
	200 m +/- 20 m

	Tie Line Direction
	Constant AMG Northing in AGD66

	Tie Line Spacing
	2000 m +/- 20 m

	Sensor Altitude
	80 m +/- 10 m  radar altitude


Traverse lines extend 1000 m beyond the eastern and western boundaries of the area and 4 lines (800 m) to the north and south of the designated survey area (see map in Appendix 2). Tie lines extend 1000 m to the north of the northern boundary of the area and 1000 m to the south of the southern boundary of the area.

2.2

INSTRUMENTAL SPECIFICATIONS 

	Magnetics
	

	Sampling Interval    
	0.1 s 

	Manoeuvre Noise
	Compensated to 0.2nT peak to peak for 10( manoeuvres

	Total Noise
	0.2 nT

	Heading Error
	Corrected by calibration


	Base Station Magnetometers
	

	Sampling Interval
	1 s 

	Noise Level
	0.2 nT

	Resolution
	Better than or equal to 0.1 nT


	Radiometrics 
	

	Sampling Interval  
	1 s (= 30 m at 30 m/s average speed)

	Dead Time
	<15%

	Detector Volume
	16.8 lt

	Detector Resolution
	Better than 7% based on full width at half amplitude of the 208TI peak at 2.615 MeV


	Radar Altimeter
	Output 13.1 mV/m

	Barometer   
	Output 2.2 mV/m

	Thermometer 
	Precision of 0.1(C


3.

SURVEY OPERATIONS

3.1

SURVEY BASES     

The helicopter survey crew arrived in Queenstown on 3 January 2001 in the Bell 206 “Jet Ranger” helicopter VH-JWF leased from Heli-Aust Pty Ltd.    Calibration of the radiometric system was accomplished at Bairnsdale on 2 January.  Surveying commenced out of the Zeehan base on 25 January.  The crew moved to Sheffield on 14 February and survey operations were completed from that base on 22 March.

The quality control (QC) and field data processing were carried out at each base. The helicopter was always parked at the same location in each base to ensure consistency in ground calibrations, and a test line was established close to each survey base.  A summary of survey progress is contained in Appendix 3.

3.2

FLIGHT PLANNING

Flight planning for each of the survey areas was implemented using proprietary software and reviewed with MRT’s representative prior to commencement of operations. A flight path plan for the project is contained in Appendix 2.  

All traverses and tie-lines were flight planned using MRT supplied co-ordinates referenced to the AGD66 Datum.  The resultant co-ordinates were converted to the WGS84 datum using the Molodensky transform.  Flying was conducted with reference to the WGS84 co-ordinate set.  Co-ordinates written to the aircraft digital records were referenced to WGS84 datum while co-ordinates written to the video records were converted to AGD66 datum using a seven point transformation. The final line numbering system adopted to ensure each flight line and each tie line had a unique number is shown below:



00000 - 69999 are traverse lines



70000 - 79999 are tie lines



80000 - 89999 are calibration data

90000 - 99999 are test lines

A complete catalogue of survey lines is presented in Appendix 4 showing line length, start and end fiducial, and start and end X, Y coordinates.

3.3

FLIGHT PATH CONTROL

Navigation was determined in flight, based on real time differential GPS, by using a Ashtech G12 receiver and Geo Instruments software for pilot guidance.  The position solution from the receiver was obtained using signals from the U.S. Global Positioning System (GPS) with differential corrections supplied by the Omnistar differential service. Altitude control was derived from the radar altimeter.

Navigation solutions from the Ashtech receiver are sent at 38 kb/s to the logging computer once every half second.  The logging computer then calculates the cross 

track error, the distance between the intended flight path and the helicopter position, and displays this deviation from the required path on an analogue and digital position display directly in front of the pilot.  An analogue display of the radar altitude is also mounted in front of the pilot.

The flight navigation data recorded in the helicopter were post processed at the survey base using the commercial software “GRAFNAV” by Waypoint Consulting.  The GPS base stations were surveyed with reference to the Victorian Dept. of Lands GPS Base Station located at Melbourne, Victoria.  Positional data recorded at a GPS base are used to differentially correct the helicopter’s navigation data.  This new positional information is accurate to one metre for X and Y and 5 metres for Z, and is the basis for the further data processing.

3.4

SURVEY PLATFORM

Helicopter:
 Bell Helicopter 206B3 “Jet Ranger”

Registration:
 VH-JWF

Contracted From:
 Heli-Aust Pty Ltd, Bankstown Airport NSW

Endurance:
 3.2 hr

Survey Speed:
 30 m/s average

3.5

WEATHER DETAILS         

The survey areas experienced periods of predominantly clear weather, while strong winds, rain and low cloud or fog restricted or precluded flying on many days. Daily comments on weather are given in the “Remarks” column of Appendix 3. 

Diurnal magnetic field variations effected operations on other days as discussed in Section 5.7.  
3.6

SAFETY MANAGEMENT

Geo Instruments considers that flying safety results from the conscientious application of the Air Navigation Regulations in regard to Rules of the Air and observance of aircraft maintenance requirements. 

The helicopter carries an Emergency Location Transmitter (ELT). In addition the pilot and any other person in the aircraft carried a personal Emergency Position Identification Radio Beacon (EPIRB) which can be activated manually.

Two types of fire extinguisher were available at each refuelling base.  Safety meetings were held during the project to complement the daily SAR briefings.

Heli-Aust is required by law to have an Operations Manual approved by the relevant Civil Aviation Authority before any flying operation can be carried out and this document is available for inspection at the company’s office.  Routine checks by the Civil Aviation Authority ensure that all operations and maintenance meet the requirements of the law.  Further, each pilot has been extensively trained in low level and instrument flying.  Pilots are only employed after comprehensive assessment of experience and ability.

There were no aviation incidents during the implementation of the MRT airborne survey of the Areas C and E.

Vehicle usage and driving habits are constantly under review by the company’s management and particular attention is paid to remote area survival techniques.  Geo Instruments believes there is no substitute for experience, and no inexperienced staff are used in any phase of the operations unless they are accompanied by an experienced equivalent. There were no vehicle-related incidents during this program.

3.7

ENVIRONMENTAL MANAGEMENT

The aircraft operations are generally non-polluting except for noise associated with take-off and landing.  All operations were conducted during normal day time and no complaints were received regarding noise.  Extreme care was maintained during all refuelling operations to eliminate the risk of fuel spillage or fire. 

Ground operations are minor, usually focused around the survey bases. Common sense rules apply to these tasks with particular reference to public facilities, residential areas, access paths, etc.  Any staff responsible for damaging property or land are liable for dismissal.

There were no environmental incidents during this survey program.

4.

PERSONNEL

Survey management and geophysical personnel were provided by Geo Instruments Pty Ltd.  All helicopter survey pilots were provided by Heli-Aust Pty Ltd of Bankstown. In-field quality control was undertaken at Queenstown, Zeehan and Sheffield.  Data corrections, and image processing were undertaken by Geo Instruments Pty Ltd in the field and in Sydney.       

Field Operations

	Field Project Managers


	Zoltan Beldi 

Pat Healy



	Pilots
	Tony Feller

Sam Borg

Hamish Robertson


Data Processing

	Data Processing Manager

Data Processor/ Field QC


	Anton Rada




Supervision

	Client’s Representatives
	Bob Richardson




5.

GEOPHYSICAL EQUIPMENT

5.1

MAGNETOMETER

The helicopter survey was flown using a Geometrics G-822A ultra-high sensitivity Cesium Vapour  Magnetometer sensor system.  This sensor provides a Larmor signal that is processed by high precision counters embedded within the automatic digital compensator (which is described in 5.2 below) to provide an operating range of 20 000 to 100 000 nT.

The sensor, pre-amplifier and three axis fluxgate magnetometer for compensation were mounted in a “boom”, made entirely from aluminium, attached to the front of the helicopter. The distance from the sensor to the forward extremity of the helicopter was 3m.  Real time compensation for the aircraft’s magnetic field was achieved with the automatic digital compensation described below.

Magnetometer specifications:

	Resolution
	0.001 nT

	Still Air RMS Noise
	0.05 nT

	Digital Recording Resolution
	0.001 nT

	Magnetic Gradient Tolerance
	>20 000 nT / m

	Sample Time

	0.1 s 

	Sample Distance 
	2-4 m


5.2

AUTOMATIC COMPENSATOR

An RMS Instruments, automatic digital compensator, model AADCII, was used to correct for the magnetic interference caused by the aircraft itself and the effects of it manoeuvring in the earth’s magnetic field. The signal from the magnetometer is compensated in real time and preserved without aliasing or phase distortion. The raw, uncompensated magnetic data also are recorded. 

5.3

SPECTROMETER

An Exploranium GR-820 Gamma Ray Spectrometer was used to sample the full energy spectrum by 256 channels in addition to the standard energy windows  (regions of interest or ROI’s) for the gamma radiation from Tl208, Bi214, K40, Total Count and Cosmic sources. Values were recorded at the end of each second, corresponding to each fiducial.

The gamma ray spectrometer was interfaced to a NaI (Tl) thermally insulated detecting crystal pack with a total volume of 16.8 litres. The detector pack was mounted in the rear baggage compartment of the “Jet Ranger”. 

The GR-820 measures the pulses generated by the crystal detector and controls the gain of each individual detector element by reference to the natural radiation emanating from the ground. The isotope selected for the gain control is determined during the survey and depends on the concentration observed during flights covering tie lines. Thorium was chosen as the stabilising element for the spectrometer in the helicopter. 

All 256 channels of radiometric data are recorded, and in addition, five differential ROI windows are recorded, defined as follows:

	Element
	Energy Level (MeV)

	Total Count
	0.41 - 2.81

	K - 40
	1.37 - 1.57

	Bi - 214
	1.66 - 1.86

	Tl - 208
	2.41 - 2.81

	Cosmic
	3.00 - >6.00


The ROI window data and the raw 256 channel spectrum are not corrected for instrument dead time.  Note that the ROI window data are only used to determine the validity of the hand sample checks.  All other radiometric processing uses ROI data that are derived from the 256 channel spectral information which has been subject to prior energy calibration.

5.4

ALTIMETER, BAROMETER AND THERMOMETER

A Collins ALT-50 radar altimeter system was installed in the helicopter.  This controls the pilot's analogue indicator and provides a terrain clearance display from 0 to 750 metres (0 to 2,500 feet) above ground level. This is the primary instrument used to maintain a consistent terrain clearance.  The output of the altimeter is 13.1 mV/m and it can be read to a resolution of 1 mV for 0.076 metres.

The reference height above the geoid (WGS84) used for data purposes, was derived from the differentially corrected height value provided by the GPS receiver.

The GPS altitude was recorded in digital format by the acquisition system, in synchronisation with the spectrometer, every second.  The radar altimeter height was recorded every 0.1 second.

Barometric pressure was recorded every 0.1 second using a Vaisela pressure transducer with a range of 600 to 1600 Hpa and a resolution of 0.04 Hpa (equivalent to 0.4 metres).

A Geo Instruments thermometer with a resolution of 0.1oC was mounted underneath the helicopter cowling. Temperature was recorded every 0.1 second.

5.5

GPS NAVIGATION SYSTEM

An Ashtech G12 receiver integrated with an Omnistar Model LR3000 virtual base station was used for navigation. This unit is capable of tracking and receiving up to 12 GPS satellites simultaneously and deriving positions from the satellites in view. The accuracy is better than 5 m rms using differential GPS post processing.  Positions are generated at 0.2 second intervals  for the pilot indicator and are recorded at 0.5 second intervals. The GPS antenna was mounted approximately one metre behind the cesium vapour magnetometer sensor on the boom. 

A real time differential solution was obtained through the use of the Fugro “Omnistar” virtual base station differential GPS service. Corrections are transmitted via a geo-stationary satellite to the helicopter navigation and position displays. 

Navigation data recorded at a GPS base site at 1 second intervals were used to differentially correct the aircraft’s positional data. 
GPS co-ordinates were referenced to the WGS84 spheroid and converted to AGD66 coordinates during data processing.

5.6

DATA ACQUISITION SYSTEM

The Geo Instruments G2002  digital acquisition system is based on the IBM PC AT architecture.  The system is fitted with several modules tailored to condition the input data from the various sensing instruments.  A custom written software package facilitates the following;

(a)
Correct synchronisation of the data streams,

(b)
Formatting of all data received,

(c)
Extended error checking of all parameters,

(d)
Visual data presentation for monitoring purposes, 

(e)
Generation and distribution of synchronising fiducial numbers,

(f)
Recording of data to magnetic media, 


(g)
Calculation of position and provision of steering display for pilot. 

5.7

BASE STATION MAGNETOMETER

Two Geometrics G-823 cesium vapour magnetometers and a Geometrics G-856 magnetometer were available for use as base station magnetometers. At Queenstown, the primary base station was run on a hill immediately behind the football oval and the data were telemetred to the survey base at the motel.  The secondary base station was the Wynyard base station operated by Kevron Geophysics.

At Zeeham, the primary base station was located in an open area adjacent to the N-S runway at Zeehan airport, and telemetred to the Heemskirk Motor Inn.  The secondary base station was set up 200m from the primary station in an open area.

At Sheffield, the primary base station was set up on a rise NNE of the motel, between the motel and a trout dam, and results were telemetred to the office.  The secondary diurnal station was approximately 40m from the primary.

Maps showing the locations of the magnetometer base stations are included in Appendix 8.

Throughout much of the program, a tertiary diurnal base station was available from the concurrent fixed wing survey operations of Kevron Geophysics Pty. Ltd.

These instruments were used to record the diurnal variations in the earth’s magnetic field, and were run continuously throughout periods of survey flying. Power for each base magnetometer was provided by a bank of external batteries and solar panels.

Digital recordings from this instrument were made every 1 second with a resolution of 0.001 nT. The base station time was synchronised with the airborne magnetometer which in turn was synchronised to GPS UTC time and adjusted to display local time.

Diurnal activity was classed as quiet to active throughout much of the survey, however there were several periods of out of specification diurnal magnetic field variation. Line segments surveyed during these periods were reflown. Magnetic storms precluded any data acquisition on 13 February (half day), 5 March and 6 March (half day). This level of activity reflects the peak of the diurnal magnetic field cycle at this time.

Two examples of a diurnal base magnetometer record are presented in Appendix 8, one showing a relatively quiet day, while the other shows a magnetic storm.  A full set of diurnal records is provided separately in digital form.

6.

CALIBRATIONS

6.1

MAGNETOMETER

The Geometrics G-822A cesium vapour magnetometer operates on a split-beam principle with a constant relationship between the earth’s magnetic field and the Larmor frequency (the frequency with which gyromagnetic moments precess in a magnetic field). It is therefore not subject to instrumental drift and does not require calibration.

Post flight analysis indicated that the mean fourth difference noise level achieved was less than 0.000001nT, with a standard deviation of 0.0014 nT over the survey program. 

6.2

HEADING AND PARALLAX ERRORS

The heading error correction has been assessed for towed bird systems by flying a clover leaf pattern, on survey line headings, at high altitude (nominally 2,500 feet), using the GPS to control precise line positioning.  For boom-mounted systems, heading error is automatically removed by the operation of the AADC, and any small residual heading error is removed in tie line levelling.  The parallax errors are determined and subsequently refined for a particular acquisition system by empirical assessment during data processing.  For this survey, the applied parallax corrections are:

· Magnetic data

4 records (0.4 sec.)

· Radar altimeter data
7 records (0.7 sec.)

· Radiometric data
1.3 records (1.3 sec.)

6.3

MAGNETIC COMPENSATION PROCEDURE

Magnetic compensation was undertaken prior to the start of the survey and after  any equipment was changed. The procedure for deriving the compensation for the automatic airborne digital compensator (AADC) is as follows:










The aircraft is configured in the mode used for the survey, that is, all survey equipment is switched on.  The aircraft battery must be in fully charged state and no extraneous objects must be on board which may affect the magnetic signature of the aircraft. The aircraft is flown at altitude in an area which ensures a geomagnetic gradient of less than 20 nT/km.  Once this parameter is achieved the aircraft is manoeuvred in the pitch, roll and yaw planes successively whilst heading in all four cardinal directions.  During these manoeuvres, the AADC acquires the data from the magnetometer sensor and the three component fluxgate magnetometer in a special 

calibration mode.  At the conclusion of the manoeuvres, the AADC performs a series of calculations and derives a set of coefficients which are then applied to all successive magnetometer readings on survey to remove the varying effect of the aircraft’s manoeuvres in the earth’s magnetic field.

A final set of 10o pitch, roll and yaw manoeuvres is flown for 30 seconds on each heading, in the opposing flight directions of both the survey traverse lines and the tie lines in order to verify the improvement provided by the compensation.  

A typical compensation box is presented in Appendix 7.

6.4

RADIOMETRICS

6.4.1

Calibration Factors 

The spectrometer system was calibrated over the CSIRO calibration pads at Londonderry, NSW, on 15 December 2000. The Bairnsdale Hover Range in Victoria was used as the hover calibration site on 2 January 2001.  Details of all calibration procedures and results are presented in Appendix 6.

6.4.2

Daily, Pre Flight and Post Flight Checks

Markers were placed at each survey base so that the aircraft could park in the same place each day to ensure consistency between daily pre flight and post flight checks. The detector was aligned prior to each day's flight using a thorium source and checked for drift at the conclusion of the day. In flight, drift is kept to a minimum by the automatic gain control mechanism built into the GR-820 spectrometer. This constantly monitors the selected reference peak and adjusts the gains of the crystal detectors. An alarm is generated whenever the gain drift exceeds nominal tolerances and the GR-820 is unable to correct the drift. 

Pre flight and post flight checks of sensitivity and stability were undertaken using pure uranium and pure thorium samples.  The background was recorded first with the samples well out of detection range, then with the thorium and uranium sources in range in turn, and then background again. The background-corrected thorium sample responses were reviewed each day to confirm compliance with the survey specifications.   

The complete set of sample test results are presented in Appendix 11.

Test line data were subjected to full radiometric processing prior to assessment, including NASVD noise reduction, energy calibration, cosmic and aircraft background removal, radon removal, Compton stripping and height attenuation. 

The windowed thorium results for all test lines flown are presented in Appendix 12.


6.4.3

Daily Test Line           

A test line of at least 100 seconds duration was established on the outskirts of each operating base. The start and end WGS84 coordinates of the test lines are given below:

	
	Start
	End

	Base
	Easting 
	Northing
	Easting 
	Northing

	Queenstown
	379140
	5340605
	375555
	5341410

	Zeehan
	363010
	5361750
	365470
	5364770

	Sheffield
	444520
	5413825
	449500
	5415770


The test line was flown before and following each day’s surveying to assess the repeatability of the system pre- and post- data collection.  The helicopter test line data files are prefixed by “E” for the pre-survey test line and “G” for the post-survey test line.  

Test line statistics are presented in Appendix II.

6.5

POSITION

6.5.1

Positional Control of Survey Data                

At Queenstown, it was not possible to maintain a precision GPS base antenna at the survey base because the surrounding hills blocked satellite transmissions.  Accordingly the Department of Lands GPS base station in Melbourne provided the required data for differential corrections.  The Melbourne base coordinates are: 

–37:48:28.97920S 
144:57:48.22380E 
82.05 metres (WGS 84).

At Zeehan , the GPS base station was positioned on an outside wall near Room 36 of the Heemskirk Hotel.  The coordinates of the base station are: 

-41:53:33.76539S 
145:20:41.89141 
166.628 metres (WGS 84).

At Sheffield, the GPS base station was located on the outside wall of Room 4 at the Kentish Hills Retreat, WGS 84 coordinates: 

– 41:22:38.7171S 
146:19:07.4178E 
259.61 metres.

The successful operation of the GPS positioning system is confirmed by the presentation of a cumulative plot of the parked position of each helicopter at marked ground locations. Examples of the plotted easting, northing and elevation of VH-JWF as recorded during on-ground radiometric calibrations are presented in Appendix 9. 

6.5.2

Altimeters


The radar altimeter and barometric altimeter were calibrated against GPS height by multi-level flights over Lake King near Bairnsdale prior to mobilising to the project area (see Appendix 6).

7.

DATA PROCESSING
7.1

IN-FIELD DATA VERIFICATION AND POST-FLIGHT PROCESSING


The  geophysicist / data processor  at the survey base conducted an analysis of the most recently acquired data using both proprietary company software and commercial software including Intrepid and ERMapper.

The field processing facility was capable of the following activities :!
· post flight verification of all acquired data 

· making backup copies of the field data

· reading and listing sections of the digital data

· merging location data with magnetics and radiometrics

· assessing profiles of all data on a line by line basis 

· displaying spectra data from digital records

· assessing diurnal magnetic data

· correcting compensated magnetic data for diurnal variations

· gridding magnetic data at 40 or 50 m cell size

· conversion of radar altimeter data to STP

· NASVD noise reduction of 256 channel data

· dead time correction

· aircraft and cosmic background removal

· radon removal

· stripping

· region of interest selection for potassium, uranium and thorium

· generation of field located data files.

· production and plotting of contracted quality control maps, including:



flight path and ground clearance map



flight path and line specification map



stacked profile compensated magnetic noise map



diurnal monitor plots



test line gamma plots 



source and background gamma plots


raw navigation precision and gap map



tie line and flight line cross-over map



radiometric summed spectra plots for each line



grids of raw parameters 

7.2

FINAL PROCESSING                          
The final data processing was undertaken by Geo Instruments Pty Ltd using Intrepid software.  Intrepid is a geophysical processing system developed by Desmond Fitzgerald and Associates Pty Ltd in association with AGSO and various Australian industry groups.  The Intrepid system used was Version V3.5 cut 75, which was the most advanced edition of the software available at the time of this survey.

7.2.1

Flight Path Recovery


Processing of the differential GPS location data entails the following steps:

a) Post-flight differential GPS corrections using “Grafnav” differential position processing software.

b) No fiducial synchronisation is required as both range data and fiducials are synchronised to GPS time.

c) Merging of positional data with geophysical data.

7.2.2

Magnetic Processing 


The final magnetic data processing entails the following steps:

a)
System parallax removal

b)
Diurnal variation removal.

c)
IGRF removal.

d)
Addition of the mean diurnal value.

e)
Addition of mean IGRF value.

f)
Tie line levelling.

g)
Micro levelling.

h)
Gridding using a 40 m cell size. 

The magnetic data have been corrected for regional gradient by subtraction of the IGRF Model for 2001.2 derived from the secular variation model 2000-2005.  The IGRF was calculated at 30 m intervals along the lines with respect to GPS height and interpolated for each data observation. 

Diurnal variations and system parallax have been removed. Tie line levelling and microlevelling has been applied as described below. The mean diurnal field value is 61,870nT  Gridding  was accomplished using a 40 metre cell size and the Akima spline gridding algorithm. 

The magnetic data were levelled using standard tie line levelling procedures in the Intrepid software.  The steps involved in the tie line levelling were as follows:

a) A primary tie line was chosen as a reference tie.

b) All other ties were levelled to this tie line using 2nd degree polynomial adjustments.

c) Lines were adjusted on a flight by flight basis to minimise the differences at line/tie crossover points, using 2nd degree polynomial adjustments.

d) Finally the lines were adjusted individually to minimise crossover differences, using 2nd degree polynomial adjustments.

7.2.3

Radiometric Data Processing 

7.2.3.1 Processing  of 256 Channel Spectral Data

Correction of radiometric data involves the reduction of the 256 channels of raw gamma spectrometer data using the guidelines of Grasty and Minty (1995) and the Noise-Adjusted Singular Value Decomposition  (NASVD) noise reduction method.  The specific processing steps are described below:

(a)
Noise-Adjusted Singular Value Decomposition (NASVD) Smoothing

The signal to noise ratio of the multi channel spectra can be substantially enhanced using Noise-Adjusted Singular Value Decomposition (NASVD) as described by Hovgaard and Grasty (1997), Schneider (1998) and Minty (1998).  This method involves a general linear transformation of groups of spectra (a whole line or flight), using NASVD to compute the different spectral shapes that make up the measured multi-channel spectra.  New multi-channel spectra are created by recombining the statistically significant spectral components.  Each spectral component contributes an unequal amount to the features observed in the measured multi-channel spectrum, until a point is reached where the spectral components represent only noise.  Six components were used for processing Area C and Area E.

The 1st spectral component is the spectral shape that represents most of the features in the measured multi-channel spectra.  The 2nd spectral component represents those features not described by the 1st spectral component, etc.  By excluding from the recombination those spectral components that do not represent significant features in the measured multi-channel spectra, the resulting reconstructed multi-channel spectra have a much larger signal to noise ratio than the measured multi-channel spectra.
 (b)
Dead Time Corrections


The raw 256 channel spectra were corrected for spectrometer dead time using the recorded live time and the standard formula:


N = n / (1 – t) 


N
=    corrected counts in each second;


n
=
all counts processed in each second by the ADC; and

t
=
the recorded dead time, the time taken to process all pulses 




reaching the detector in one second.

Where the live time (L) is recorded, the dead time t is replaced by (1 - L).

(c)
Energy Calibration
Energy calibration was undertaken line by line using a maximum of 3 calibration peaks; and a minimum of 2 calibration peaks dependent upon their clear identification in the spectra.  The 3 calibration peaks used were Bi 214 at 0.609 Mev, K-40 at 1.46 Mev and Tl-208 at 2.615 Mev

(d)
Cosmic and Aircraft Background Correction 
Cosmic and aircraft background removal utilised the data recorded in Bairnsdale and required smoothing of the cosmic channel using a 20 point moving average filtered version of the cosmic channel.  The combined correction is calculated using:


N
=
a + bC,


where:


N
=
the combined cosmic and aircraft background in each spectral window;


a
=
the aircraft background in the window 


C
=
the cosmic channel count; and


b
=
the cosmic stripping factor for the window.


The values of a and b for each window are determined from the calibration flights over the sea.  Cosmic coefficients and aircraft background coefficents were derived using INTREPID CAL256 program which produces a 256 channel spectra for aircraft background corrections and a 256 channel spectra for cosmic background corrections (see Appendix 13). 

(e) Atmospheric Radon 

The influence of atmospheric radon has been minimised using the spectral ratio method described by Minty (1992). The radon coefficients used in the Minty method were:

	Calibration Constant C1
	Calibration Constant C2
	Integration Time

	1.90
	0.65
	100


(f)
Extraction of Four Standard Windows
The fully processed 256 channel spectra were reduced to the four IAEA (1991) standard windows or Regions of Interest (ROI):


Total Count
0.41 to
2.81 Mev (channels 34 to 233)


Potassium
1.37 to
1.57 Mev (channels 115 to 131)


Uranium
1.66 to
1.86 Mev (channels 139 to 155)


Thorium
2.41 to
2.81 Mev (channels 202 to 233)

7.2.3.2  Standard IAEA Window Processing

(a)
Spectral Stripping of Standard Window Data

Corrections for Compton stripping and height attenuation (to 55 m AGL) were applied to the windowed data using constants derived from the pad tests in Canberra and the hover test in Victoria and calculated STP-height. 
The stripping coefficients were determined by measurement over the AGSO calibration pads and are presented below and in Appendix 6 of this report.  Due to scattering of gamma rays in the air, the three principle stripping ratios 
((, ( and () increase with altitude above the ground.  The rates of increase are based on both theory and experiment:

	Stripping Ratio
	Increase at STP per metre

	(
	 0.00049

	(
	 0.00065

	(
	 0.00069


Following adjustment of the stripping ratios for altitude, the corrected (stripped) count rates in the potassium, uranium and thorium channels (NKC, NUC and NThC) are given by Grasty and Minty (1995) as follows:


NKC =  [NTh((( - ()+Nu(a( - ()+NK(1 - a()] / A


NUC =  [NTh(g( - ()+NU - NKg)] / A


NThC = [NTh(1 - g() - NUa+NKag] / A


Where A = 1 - g( - a(( - g().

and NTh , NU and NK are counts measured in the thorium, uranium and potassium channels respectively.

The Compton coefficients were: 


alpha 
0.2728
      a
0.0633



beta 
0.4435
b
0.0000


gamma 
0.7861
g
0.0014

(b)
Height Corrections
The stripped count rates vary exponentially with aircraft altitude.  Adjustments for variation in altitude were made using the formula:


Nc
= Noe -( (H - h)
Where 
No
= uncorrected counts,


Nc
= count rate normalised to height H,


h
= measured height above the tree canopy,


H
= nominal flight height,


(
= attenuation coefficient for the channel being corrected.

The height attenuation factors per metre were: 


Total Count
0.00630



Potassium
0.00910



Uranium
0.00510


Thorium
0.00730


(c)
Conversion to Ground Radioelement Concentrations

The corrected windowed counts were converted to equivalent ground concentrations of potassium, uranium and thorium using the following expression:


C =

N / S

where:


C
=
equivalent concentration of the radioelement (Nanograys/hr, K%, eU ppm or eTh ppm);


S
=
broad source sensitivity for the window; and


N
=
count rate for each window, after deadtime, background stripping and height correction.

The broad source sensitivities were derived from the hover measurements conducted in Bairnsdale on 2 January, 2001.  The factors for 73m mean survey elevation are: 

	Total Count
	1 nanoGray/hr =
	19.97cps

	Potassium
	1% =
	76.00 cps

	Uranium
	1 ppm = 
	6.88 cps

	Thorium
	1 ppm =
	4.20 cps


 (d)
Gridding and Microlevelling
The MRT 2001 data were gridded at 40 m mesh size for all areas using the Akima spline gridding algorithm.  These grids were viewed in ERMapper to detect and rectify any residual levelling problems.  Where appropriate the grids were decorrugated to remove double line busts.  The line data were then microlevelled.

7.2.3.3 Ancillary Processing

(a)     Calculation of Effective Height

The Effective Height, which is the aircraft terrain clearance corrected to Standard Temperature and Pressure was determined as follows:

· Filtering of the temperature field was applied to remove spikes and smooth out the instrument noise.

· Filtering of the barometric pressure field was applied to remove spikes and to smooth out the instrument noise.

· Filtering of the radar altimeter was applied to remove spikes, spurious reflections from groups of tree and very narrow gullies and to smooth out the instrument noise.

· The formula option in the spread sheet editor was used to combine the terrain clearance, pressure and temperature.




h x P x 273


he =  _____________________



1013 x (T + 273)


where:


he
=
the effective height;


h
=
the observed radar altitude in metres;


T
=
the measured air temperature in degrees C;


P
=
the barometric pressure in millibars.

7.2.4

Digital Terrain Model (DTM) Processing 
The digital terrain model is computed from the difference in the height of the aircraft above the ellipsoid as measured by GPS and the height above the ground as measured by the radar altimeter.  

The raw GPS range data recorded internally every one second and ground GPS receivers were post-processed on a daily basis using Waypoint Consulting’s “GRAFNAV” software. “GRAFNAV” calculates the position of the aircraft GPS antenna, including longitude, latitude and height relative to the WGS84 reference ellipsoid for each set of range data (every one second).

No fiducial synchronisation correction is required as the fiducials and GPS are synchronised to GPS time.

A radar altimeter provided the aircraft’s ground clearance, the altimeter data being sampled every tenth of a second.  The radar altimeter results are lightly smoothed to remove any spikes, spurious reflections or instrument noise.

The raw ground elevation data were then calculated as the difference between the height of the aircraft above the ellipsoid and the height of the aircraft above the ground.  These raw elevation data calculated every one second are relative to the WGS84 reference ellipsoid and are converted to the Australian Height Datum (AHD) by applying N value corrections obtained from Auslig.

The elevation data did not require correction for the vertical separation between the antenna of the aircraft’s GPS receiver and the radar altimeter as the GPS antenna and the radar altimeter sensor are both located on the boom. 

The digital terrain model information was gridded using the bi-cubic spline gridding algorithm, and 40 metre grid cell size.

DISCLAIMER Not to be used for navigation

This digital terrain model (DTM) has been computed from data generated during the course of an airborne geophysical survey flown at a nominal line spacings and data  has been interpolated/gridded between such lines. Every effort has been made to make the model a useful general reference. No guarantee can be made that this model is a true representation of height above sea level and it contains radar altimeter responses from buildings and dense timber. 

Users of this product should be aware of the topographic limitations mapped here within.  Do not use this DTM for navigation purposes.

8.

DELIVERED ITEMS 
8.1.
MAP PRODUCTS

All hard copies and digital data show datum co-ordinates in the Australian Geodetic Datum 1966 (AGD66).  

Compilation of the data involved the production of quality control products as detailed below:

1:100 000 scale Quality Control maps (also supplied as HPGL plot files)

· Flight path and ground clearance as colour QC products 

· Flight path and line specification map

· Stacked profile compensated magnetic noise map

· Raw navigation precision and gap map

· Tie line and flight line cross-over map


In addition, diurnal monitor plots, test line gamma plots, source and background gamma plots, radiometric summed spectra plots for each line and grid files of raw parameters were supplied. 

8.2
DIGITAL DATA

Raw Field Data - All raw field data were transferred to CD-ROM suitable for archiving.

Field Corrected Located Data Tapes (one copy), containing fully merged data were delivered on CD-ROM containing the following;

· raw field data as .ref files

· flight path interpolated to fit time of magnetometer readings as .ref files

· the partly levelled magnetic data and appropriate parallax correction, raw and smoothed magnetic base station data 

· corrected four channel gamma data and appropriate parallax corrections

· a file listing all accepted lines (fid to fid) and tie lines.



Preliminary Grid Files in ER Mapper format, produced from the Field Corrected Located Data Tape were available for evaluation.


Calibration Data are included in the located data files


Located Data on CDROM comprising:

Item 1:  0.1 second final magnetics with all raw variables carried through such as to allow full reprocessing. 


Item 2: 1.0 second final 4 channel gamma spectrometric and a 1.0 second final magnetic channel and all relevant variables carried through such as to allow full reprocessing.


Item 3:  1.0 second final gamma spectrometric including 256 channel raw gamma data and a 1.0 second final magnetic channel and all relevant variables carried through such as to allow full reprocessing.


Final Grid Tape  ER Mapper format on CDROM:


The grids at 40 m mesh include:


(a)
Final magnetics


(b)
First vertical gradient of magnetics calculated from the TMI profiles


(c)
Total count nanograys per hour 


(d)
Equivalent potassium percent 


(e)
Equivalent uranium ppm 


(f)
Equivalent thorium ppm 


(g)
Digital terrain model generated from GPS data 


(h)
Terrain clearance

8.3
ANALOGUE DATA


Field Quality Control results were provided to facilitate an objective assessment of the quality of the survey data.  The weekly field logistics reports have provided succinct descriptions of survey progress and problems.

Plots of Total Count, Potassium, Uranium and Thorium include pre and post

flight calibrations for background, Thorium and the test line.  The plots show

minimum, maximum and mean values for each day, and show all of the data

collected to date.

Verification plots were provided regularly to illustrate the magnetometer noise levels, navigational accuracy and terrain clearance.

A table which shows the relationships between flights, line numbers, start of line coordinates and fiducials, and also end of line coordinates and fiducials, is given in Appendix 4.

8.4
LOGISTICS REPORT

This Logistics Report describes the following aspects of the acquisition and 

processing undertaken for this project:

· Survey location (flight path locality map) 

· Description of equipment and aircraft used

· Description of personnel employed on job

· Summary of survey parameters and tolerances

· Flying schedules/dates and operators flight logs

· Test flight details and results

· Description of calibration range and data from calibration range

· Calibration methods for all navigational, environmental and geophysical data collected and methods used 

· Pre and post flight calibration results showing flight, U, Th, K, Total Count giving min, max and mean values 

· Flight line/fiducial range, line length, calibration numbers, field tape number and date summary table

· Operational information 

· Sample base station plots

· Navigational methods 

· Description of data processing/reduction procedures 

· A comprehensive description of the located data 

· Full description of field and processed data tape formats

9.

REFERENCES

Grasty, R.L., 1975 - Uranium measurement by airborne gamma-ray spectrometry.  Geophysics, 40, 503-519.

Grasty, R.L. and Minty, B.R.S., 1995 - A guide to the technical specifications for airborne gamma-ray surveys.  Australian Geological Survey Organisation Record 1995/60

Hovgaard, J. and Grasty, R.L., 1997 - Reducing statistical noise in airborne gamma-ray data through spectral component analysis. In “Proceedings of Exploration 97: Fourth Diennial Conference on Mineral Exploration” edited by A.G. Gubins, 1997, 753-764.

IAEA, 1991 - Airborne gamma ray spectrometer surveying.  Technical report series 323, International Atomic Energy Agency, Vienna.

Minty, B.R.S., Morse, M.P., and Richardson, L.M., 1990 - Portable calibration sources for airborne gamma-ray spectrometers.  Exploration Geophysics, 21, 187-195.

Minty, B.R.S., 1992 - Airborne gamma-ray spectrometric background estimation using full spectrum analysis.  Geophysics, 57, 279-287. 

Minty, B.R.S., 1997 - Multi-channel models for the estimation of radon background in airborne gamma-ray spectrometry. Preprint of publication in press.

Minty, B.R.S., 1998 - Recent developments in the processing of airborne gamma-ray spectrometric data.  Preview, Issue No. 75 August/September 1998, 12-24.

Schneider, M., (1998) Multi-channel Gamma-ray Spectrometric Correction and Calibration Techniques.  Preview, Issue 73, April 1998, 15-19.

APPENDIX   1

Location of Areas C and E Northwest Tasmania


[image: image1.wmf]
MRT  MAGNETIC  AND  RADIOMETRIC  SURVEY  AREAS  2000

(Note:  Only areas C and E are helicopter, A, B and D are fixed wing)

[image: image2.wmf] Area C – Western Tasmania


[image: image3.wmf] Area E – D’Aguilar Range

APPENDIX   2

 Tables of Area Boundary Lines and Flight Plans

TABLE OF AREA BOUNDARY LINES

Table 1
Co-ordinates of the vertices of Area C  Western Tasmania

Projection: TMAMG55, Datum AGD66
	        mE          mN
	        mE          mN

	360000.0    5440000.0

360000.0    5450000.0

389000.0    5450000.0

389000.0    5430000.0

421000.0    5430000.0

421000.0    5420000.0

445000.0    5420000.0

445000.0    5390000.0

416000.0    5390000.0

416000.0    5397000.0

410000.0    5397000.0

410000.0    5392000.0

398000.0    5388000.0

398000.0    5385600.0

407000.0    5384600.0

405000.0    5373600.0

397000.0    5368000.0

390000.0    5368000.0

393500.0    5349000.0


	403000.0    5347000.0

399000.0    5336000.0

395000.0    5336000.0

395000.0    5325000.0

388000.0    5325000.0

388000.0    5310000.0

380000.0    5310000.0

380000.0    5314000.0

374000.0    5315091.0

374000.0    5340000.0

353787.0    5340000.0

353500.0    5345000.0

335500.0    5369000.0

329000.0    5380000.0

351500.0    5380000.0

351500.0    5404000.0

341000.0    5410000.0

341000.0    5437000.0

338000.0    5440000.0

360000.0    5440000.0


Table 2
Co-ordinates of the vertices of Area E  D’Aquilar Range

Projection: TMAMG55, Datum AGD66
	        mE           mN

	379000.0    5292000.0

387000.0    5292000.0

393181.0    5275000.0

379000.0    5275000.0

379000.0    5292000.0




APPENDIX   3

Survey Progress Summary

SURVEY PROGRESS SUMMARY

	DOY
	DATE
	FLIGHT
	KMS
	REMARKS

	01
	1/1
	-
	-
	Mobilisation to Bruthen hover range 

	02
	2/1
	1
	Nil
	Calibrations on hover range

	03
	3/1
	-
	-
	Ferry to Queenstown

	04
	4/1
	-
	-
	Set up operating base

	05
	5/1
	2,3
	184
	Cosmic calibration, low cloud ½ standby day

	06
	6/1
	4,5
	686
	Fog and low cloud in AM

	07
	7/1
	6,7
	651
	Fog and low cloud in PM

	08
	8/1
	8
	995
	Fog and low cloud to late AM

	09
	9/1
	9,10
	735
	

	10
	10/1
	11,12
	830
	

	11
	11/1
	13,14
	393
	One pilot only available

	12
	12/1
	15,16
	682
	

	13
	13/1
	17,18
	753
	

	14
	14/1
	19
	-
	Flight aborted due high wind/rain – standby day

	15
	15/1
	-
	-
	No flight due to weather – standby day

	16
	16/1
	20,21
	914
	

	17
	17/*1
	22
	400
	Helicopter 100 hourly

	18
	18/1
	23,24
	833
	

	19
	19/1
	25,26
	783
	

	20
	20/1
	-
	-
	No flight due weather – standby day

	21
	21/1
	27,28,29
	944
	

	22
	22/1
	30,31
	764
	Fog in a.m.

	23
	23/1
	32,33
	912
	Move base to Zeehan

	24
	24/1
	-
	-
	Standby due to weather and diurnal

	25
	25/1
	34
	351
	Bad weather in a.m.

	26
	26/1
	35
	220
	Aborted due to weather - ½ day standby

	27
	27/1
	36,37
	562
	Rain in a.m. First flight aborted.

	28
	28/1
	38,39
	377
	Rain in a.m. First flight aborted

	29
	29/1
	-
	-
	Bad weather, standby day

	30
	30/1
	40,41
	1,111
	

	31
	31/1
	42,43
	794
	

	32
	1/2
	44
	215
	100 hourly service on helicopter

	33
	2/2
	45,46
	1,147
	

	34
	3/2
	47,48
	1,120
	

	35
	4/2
	49,50
	806
	

	36
	5/2
	51,52
	988.9
	

	37
	6/2
	53,54
	914.8
	

	38
	7/2
	55
	117.8
	Standby due to weather

	39
	8/2
	56,57`
	304.8
	High wind restricted production


SURVEY PROGRESS SUMMARY (Continued)

	40
	9/2
	58
	362.8
	Late start due to weather

	41
	10/2
	-
	-
	No production due to weather, standby day

	42
	11/2
	59,60
	1,112.6
	

	43
	12/2
	61,62
	1,042
	

	44
	13/2
	63
	213
	Bad weather and diurnal - ½ standby day

	45
	14/2
	-
	-
	Move base to Sheffield

	46
	15/2
	64,65
	1482
	

	47
	16/2
	66,67
	1,445
	

	48
	17/2
	68,69,70
	1,258
	

	49
	18/2
	71,72
	1,226
	

	50
	19/2
	73,74
	1,193
	

	51
	20/2
	75
	585
	

	52
	21/2
	76
	701
	

	53
	22/2
	77,78
	1,229
	

	54
	23/2
	79,80
	979
	

	55
	24/2
	81,82
	752
	Flight aborted due to diurnal

	56
	25/2
	83,84
	774
	

	57
	26/2
	-
	-
	100 hour helicopter service

	58
	27/2
	85
	203.6
	Service completed in morning

	59
	28/2
	86,87
	179.2
	Operations abandoned due to high wind, ½ standby day

	60
	1/3
	88,89
	1,040.0
	

	61
	2/3
	90,91
	690.8
	

	62
	3/3
	92,93
	987.8
	

	63
	4/3
	94
	321.7
	Flying abandoned due to base mag

	64
	5/3
	-
	-
	No survey ops due base mag

	65
	6/3
	95
	322.0
	Survey ops aborted due base mag

	66
	7/3
	96,97
	1197.8
	773.4 kilometres of reflies from F075

	67
	8/3
	98,99
	508.2
	Survey Ops suspended due to base mag

	68
	9/3
	100
	482.4
	Surveys ops aborted due to rain

	69
	10/3
	102,103
	240.8
	Plus 160.8km of reflies due base mag.  Raining ½ standby day

	70
	11/3
	104,105
	1028.4
	Plus 111.8km of reflies due base mag

	71
	12/3
	-
	-
	Raining – standby day

	72
	13/3
	106,107
	439.2
	

	73
	14/3
	108,109
	670.1
	


SURVEY PROGRESS SUMMARY (Continued)

	74
	15/3
	110
	498.0
	

	75
	16/3
	111
	319.8
	

	76
	17/3
	-
	-
	Bad weather – standby day

	77
	18/3
	112
	532.4
	

	78
	19/3
	113
	681.4
	

	79
	20/3
	-
	-
	Intense magnetic storm – standby day

	80
	21/3
	114
	314.1
	Flying suspended due to weather

	81
	22/3
	115,116
	317.4
	Final production and calibrations

	Total: 44,473 kilometres
	Percentage completed:                100%


APPENDIX   4

Catalogue of Survey Lines 

Listing of All Maffra Survey Lines

	Flight
	Line
	BaseMag  
	Length
	StartFID 
	EndFID
	StartX
	EndX
	StartY
	EndY

	
	
	
	
	
	
	
	
	
	

	10
	10011
	Basemag#1
	46.754
	63422
	102800
	501174
	454449
	5851006
	5851001

	10
	10021
	Basemag#1
	46.751
	102822
	138300
	454485
	501208
	5850809
	5850802

	10
	10031
	Basemag#1
	46.767
	138322
	173200
	454500
	501235
	5850606
	5850600

	10
	10041
	Basemag#1
	46.762
	173222
	207750
	501170
	454436
	5850403
	5850399

	11
	10051
	Basemag#1
	46.734
	59972
	98700
	454485
	501191
	5850204
	5850199

	11
	10061
	Basemag#1
	46.764
	98722
	139100
	501203
	454468
	5850002
	5850002

	11
	10071
	Basemag#1
	46.81
	139122
	181300
	454477
	501224
	5849800
	5849803

	11
	10081
	Basemag#1
	40.608
	185432
	224100
	495023
	454451
	5849602
	5849638

	24
	10082
	Basemag#1
	6.239
	71272
	75420
	501199
	494963
	5849603
	5849601

	13
	10091
	Basemag#1
	46.76
	75422
	111300
	454515
	501242
	5849409
	5849402

	13
	10101
	Basemag#1
	46.806
	111322
	147650
	501188
	454414
	5849200
	5849200

	13
	10111
	Basemag#1
	46.763
	147672
	182450
	454485
	501202
	5849000
	5849007

	14
	10121
	Basemag#1
	46.77
	65822
	105400
	501186
	454443
	5848802
	5848799

	14
	10131
	Basemag#1
	46.824
	105422
	147400
	454477
	501261
	5848604
	5848600

	14
	10141
	Basemag#1
	46.819
	147422
	191250
	454483
	501244
	5848403
	5848401

	14
	10151
	Basemag#1
	46.764
	191272
	232100
	501196
	454464
	5848200
	5848200

	14
	10161
	Basemag#1
	46.764
	232122
	269800
	454484
	501208
	5848005
	5848006


	Catalogue of Lines Within TAS2001 DataBase AREA C Western Tasmania
	
	

	( 972 flight lines in dataset )
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	

	  Flights : 3 to 115  Lines : 10011 to 71051
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	

	Flight
	Line
	Dist
	Gaps
	Dist
	StartFID
	EndFID
	StartX
	EndX
	StartY
	EndY

	98
	10011
	29.418
	0
	0
	7372
	21560
	389187
	359776
	5450204
	5450198

	107
	10021
	29.436
	0
	0
	12
	18160
	389202
	359778
	5450001
	5450000

	107
	10031
	29.515
	0
	0
	18172
	33160
	359796
	389303
	5449810
	5449800

	107
	10041
	29.452
	0
	0
	33172
	51360
	389184
	359744
	5449601
	5449599

	107
	10051
	29.474
	0
	0
	51372
	66460
	359798
	389263
	5449410
	5449400

	107
	10061
	29.492
	0
	0
	66472
	84610
	389188
	359707
	5449206
	5449201

	107
	10071
	29.492
	0
	0
	84622
	99360
	359814
	389298
	5449006
	5449005

	107
	10081
	29.51
	0
	0
	99372
	117210
	389197
	359699
	5448803
	5448803

	107
	10091
	29.5
	0
	0
	117222
	133210
	359797
	389286
	5448605
	5448604

	107
	10101
	29.488
	0
	0
	133222
	150710
	389201
	359724
	5448402
	5448399

	107
	10111
	29.404
	0
	0
	150722
	165460
	359812
	389209
	5448203
	5448199

	108
	10121
	29.465
	0
	0
	20272
	36260
	389175
	359720
	5448005
	5448002

	108
	10131
	29.45
	0
	0
	36272
	52160
	359796
	389237
	5447806
	5447804

	108
	10141
	29.453
	0
	0
	52172
	69360
	389173
	359732
	5447604
	5447603

	108
	10151
	29.438
	0
	0
	69372
	87210
	359809
	389235
	5447405
	5447404

	108
	10161
	29.479
	0
	0
	87222
	105910
	389191
	359728
	5447202
	5447196

	110
	10174
	29.412
	0
	0
	88372
	104660
	359808
	389210
	5447001
	5447003

	110
	10182
	29.443
	0
	0
	119222
	134960
	359798
	389233
	5446804
	5446801

	110
	10192
	29.386
	0
	0
	134972
	148910
	389166
	359787
	5446604
	5446602

	108
	10201
	29.456
	0
	0
	173372
	189010
	359792
	389240
	5446403
	5446405

	108
	10211
	29.481
	0
	0
	157822
	173360
	389191
	359718
	5446206
	5446199

	108
	10221
	29.445
	0
	0
	141972
	157810
	359797
	389233
	5446005
	5446006

	108
	10231
	29.394
	0
	0
	124922
	141960
	389174
	359790
	5445801
	5445801

	108
	10241
	29.477
	0
	0
	108272
	124910
	359806
	389273
	5445605
	5445606

	110
	10251
	29.428
	0
	0
	7272
	22660
	389163
	359744
	5445398
	5445402

	110
	10261
	29.449
	0
	0
	22672
	39410
	359800
	389237
	5445204
	5445203

	110
	10271
	29.48
	0
	0
	39422
	54760
	389179
	359710
	5445003
	5445000

	110
	10281
	29.503
	0
	0
	54772
	72510
	359793
	389285
	5444802
	5444799

	110
	10291
	29.448
	0
	0
	72522
	88360
	389194
	359756
	5444602
	5444606

	110
	10301
	29.456
	0
	0
	104672
	119210
	389176
	359728
	5444400
	5444403

	110
	10311
	29.448
	0
	0
	148922
	164760
	359796
	389234
	5444202
	5444201

	115
	10321
	29.418
	0
	0
	7222
	22460
	389171
	359762
	5443999
	5444002

	115
	10331
	29.423
	0
	0
	22472
	37560
	359785
	389200
	5443804
	5443804

	115
	10341
	29.526
	0
	0
	37572
	53460
	389192
	359679
	5443604
	5443602

	115
	10351
	29.434
	0
	0
	53472
	68410
	359799
	389224
	5443404
	5443402

	115
	10361
	29.489
	0
	0
	68422
	83460
	389203
	359723
	5443203
	5443200

	114
	10371
	29.402
	0
	0
	50922
	66760
	359808
	389200
	5443006
	5443004

	114
	10381
	29.394
	0
	0
	36372
	50910
	389169
	359784
	5442804
	5442797

	114
	10391
	29.469
	0
	0
	21422
	36360
	359795
	389256
	5442601
	5442600

	114
	10401
	29.411
	0
	0
	7172
	21410
	389153
	359750
	5442405
	5442400

	113
	10411
	29.471
	0
	0
	318972
	331560
	359816
	389282
	5442208
	5442199

	113
	10421
	29.444
	0
	0
	305422
	318960
	389200
	359762
	5441998
	5442002

	113
	10431
	29.41
	0
	0
	198672
	212610
	359795
	389199
	5441797
	5441800

	113
	10441
	29.425
	0
	0
	185022
	198660
	389167
	359749
	5441602
	5441605

	113
	10451
	29.499
	0
	0
	170722
	185010
	359796
	389288
	5441400
	5441398

	113
	10461
	29.452
	0
	0
	157172
	170710
	389177
	359731
	5441204
	5441204

	109
	10471
	29.511
	0
	0
	89822
	103310
	359793
	389297
	5441004
	5440999

	109
	10481
	29.472
	0
	0
	75722
	89810
	389181
	359716
	5440800
	5440798

	109
	10491
	29.425
	0
	0
	62722
	75710
	359802
	389221
	5440602
	5440599

	109
	10501
	29.429
	0
	0
	48772
	62710
	389170
	359747
	5440404
	5440401

	109
	10511
	51.468
	0
	0
	103322
	127810
	389163
	337708
	5440199
	5440201

	109
	10521
	51.426
	0
	0
	127822
	151060
	337830
	389246
	5440002
	5439999

	113
	10531
	51.407
	0
	0
	13072
	37210
	389162
	337765
	5439798
	5439799

	113
	10541
	51.275
	0
	0
	37222
	62760
	338000
	389264
	5439601
	5439600

	113
	10552
	51.059
	0
	0
	62872
	86610
	389168
	338119
	5439404
	5439403

	113
	10561
	50.862
	0
	0
	86622
	110660
	338419
	389270
	5439204
	5439203

	113
	10571
	50.616
	0
	0
	110672
	133510
	389185
	338579
	5439004
	5439002

	113
	10581
	50.444
	0
	0
	133522
	157160
	338827
	389261
	5438804
	5438801

	113
	10591
	50.293
	0
	0
	212622
	235860
	389177
	338894
	5438601
	5438603

	113
	10601
	50.066
	0
	0
	235872
	259010
	339211
	389267
	5438404
	5438410

	113
	10611
	49.896
	0
	0
	259022
	282210
	389186
	339300
	5438203
	5438201

	113
	10621
	49.693
	0
	0
	282222
	305410
	339632
	389315
	5438003
	5438001

	114
	10631
	49.513
	0
	0
	66772
	90910
	389197
	339697
	5437802
	5437802

	114
	10641
	49.241
	0
	0
	90922
	116260
	340000
	389228
	5437602
	5437603

	114
	10651
	49.037
	0
	0
	116272
	139860
	389143
	340120
	5437403
	5437403

	114
	10661
	48.531
	0
	0
	139872
	164510
	340408
	388897
	5437198
	5437237

	114
	10662
	5.612
	0
	0
	164522
	167210
	383665
	389275
	5437202
	5437200

	115
	10671
	48.632
	0
	0
	83472
	106460
	340612
	389232
	5437001
	5437004

	115
	10681
	48.474
	0
	0
	106472
	129260
	389163
	340702
	5436788
	5436798

	115
	10692
	48.453
	0
	0
	129272
	151660
	340812
	389254
	5436608
	5436601

	112
	10701
	48.487
	0
	0
	256672
	281360
	389187
	340716
	5436406
	5436401

	112
	10711
	48.434
	0
	0
	233522
	256660
	340823
	389246
	5436203
	5436199

	112
	10721
	48.469
	0
	0
	208972
	233510
	389174
	340719
	5436003
	5436002

	112
	10731
	48.436
	0
	0
	183972
	208960
	340795
	389216
	5435805
	5435807

	112
	10741
	48.396
	0
	0
	158072
	183960
	389166
	340785
	5435600
	5435600

	112
	10751
	48.466
	0
	0
	132872
	158060
	340818
	389268
	5435409
	5435399

	112
	10761
	48.513
	0
	0
	106172
	132860
	389193
	340697
	5435202
	5435200

	112
	10771
	48.421
	0
	0
	80222
	106160
	340806
	389210
	5435005
	5434999

	112
	10781
	48.469
	0
	0
	53322
	80210
	389168
	340715
	5434806
	5434803

	112
	10791
	31.247
	0
	0
	34872
	53310
	340814
	372049
	5434606
	5434599

	115
	10792
	24.948
	0
	0
	151672
	165010
	364337
	389275
	5434608
	5434597

	112
	10801
	48.437
	0
	0
	7272
	34860
	389167
	340748
	5434401
	5434395

	111
	10811
	48.454
	0
	0
	158772
	188060
	340799
	389229
	5434195
	5434202

	111
	10821
	48.472
	0
	0
	134222
	158760
	389197
	340742
	5434011
	5433994

	111
	10831
	48.438
	0
	0
	104322
	134210
	340794
	389212
	5433806
	5433801

	111
	10841
	48.391
	0
	0
	80322
	104310
	389158
	340781
	5433608
	5433603

	111
	10851
	48.436
	0
	0
	51572
	80310
	340806
	389223
	5433401
	5433403

	111
	10861
	48.494
	0
	0
	26072
	51560
	389178
	340700
	5433206
	5433200

	109
	10871
	48.401
	0
	0
	24822
	48760
	340815
	389205
	5433002
	5432998

	109
	10881
	48.454
	0
	0
	12
	24810
	389198
	340759
	5432805
	5432803

	112
	10892
	48.481
	0
	0
	281372
	306360
	340814
	389282
	5432605
	5432606

	106
	10902
	48.443
	0
	0
	104672
	129660
	340798
	389225
	5432400
	5432398

	106
	10912
	48.413
	0
	0
	76372
	104560
	389180
	340784
	5432208
	5432199

	105
	10921
	48.457
	0
	0
	245322
	274310
	389194
	340759
	5432005
	5432003

	106
	10932
	48.419
	0
	0
	51672
	76360
	340804
	389209
	5431802
	5431802

	105
	10941
	48.478
	0
	0
	189872
	216560
	389173
	340711
	5431598
	5431599

	79
	10951
	48.531
	0
	0
	168822
	193860
	340807
	389316
	5431413
	5431403

	79
	10961
	48.446
	0
	0
	142322
	168810
	389173
	340752
	5431196
	5431199

	79
	10971
	48.45
	0
	0
	115422
	142310
	340810
	389234
	5431006
	5431001

	79
	10981
	48.451
	0
	0
	87472
	115410
	389175
	340748
	5430796
	5430802

	79
	10991
	48.431
	0
	0
	59322
	87460
	340822
	389230
	5430606
	5430605

	79
	11001
	48.529
	0
	0
	30872
	59310
	389195
	340689
	5430398
	5430397

	80
	11011
	80.5
	0
	0
	12
	42960
	421182
	340714
	5430207
	5430201

	80
	11021
	80.463
	0
	0
	42972
	86160
	340807
	421242
	5430004
	5430000

	80
	11031
	80.515
	0
	0
	86172
	130510
	421193
	340707
	5429801
	5429802

	80
	11041
	80.511
	0
	0
	130522
	172910
	340821
	421304
	5429604
	5429602

	83
	11051
	80.466
	0
	0
	7422
	52610
	421191
	340768
	5429412
	5429402

	83
	11061
	80.44
	0
	0
	52622
	102460
	340810
	421205
	5429201
	5429193

	83
	11071
	80.5
	0
	0
	102472
	148160
	421194
	340735
	5429004
	5428998

	83
	11081
	80.497
	0
	0
	148172
	192860
	340787
	421234
	5428803
	5428807

	94
	11091
	80.525
	0
	0
	7322
	52310
	421199
	340703
	5428604
	5428601

	94
	11101
	80.507
	0
	0
	52322
	96860
	340809
	421291
	5428403
	5428399

	94
	11111
	80.482
	0
	0
	96872
	139160
	421183
	340725
	5428204
	5428200

	94
	11121
	80.514
	0
	0
	139172
	181310
	340794
	421286
	5428006
	5427998

	95
	11131
	80.494
	0
	0
	2872
	47110
	421176
	340709
	5427806
	5427802

	95
	11141
	80.475
	0
	0
	47122
	96810
	340803
	421243
	5427605
	5427606

	102
	11152
	80.441
	0
	0
	7422
	50710
	421170
	340758
	5427408
	5427401

	102
	11162
	80.525
	0
	0
	50722
	98010
	340794
	421284
	5427206
	5427207

	102
	11171
	80.513
	0
	0
	98022
	141310
	421173
	340691
	5427006
	5427003

	102
	11181
	80.444
	0
	0
	141322
	189560
	340805
	421213
	5426799
	5426802

	103
	11191
	47.143
	0
	0
	12
	25760
	421179
	374052
	5426604
	5426596

	104
	11192
	39.785
	0
	0
	117972
	137660
	380546
	340770
	5426604
	5426601

	103
	11201
	45.345
	0
	0
	25772
	51060
	375905
	421229
	5426405
	5426399

	104
	11202
	42.889
	0
	0
	137672
	159410
	340820
	383698
	5426405
	5426401

	104
	11211
	80.497
	0
	0
	159422
	198360
	421182
	340705
	5426204
	5426199

	104
	11221
	80.478
	0
	0
	198372
	240910
	340785
	421240
	5426004
	5426007

	104
	11231
	80.457
	0
	0
	240922
	280110
	421172
	340735
	5425804
	5425804

	104
	11241
	80.383
	0
	0
	280122
	319010
	340831
	421192
	5425601
	5425598

	105
	11252
	80.512
	0
	0
	222
	45410
	421188
	340707
	5425401
	5425404

	106
	11262
	80.423
	0
	0
	7172
	51660
	421187
	340791
	5425209
	5425202

	101
	11271
	80.508
	0
	0
	223022
	267910
	340814
	421290
	5425008
	5425001

	101
	11281
	80.411
	0
	0
	183172
	223010
	421156
	340767
	5424803
	5424796

	101
	11291
	80.478
	0
	0
	137422
	183160
	340793
	421241
	5424605
	5424599

	101
	11301
	80.521
	0
	0
	97122
	137410
	421175
	340677
	5424402
	5424401

	101
	11311
	80.424
	0
	0
	47872
	97110
	340810
	421198
	5424201
	5424200

	101
	11321
	80.473
	0
	0
	7472
	47860
	421185
	340734
	5423999
	5424001

	99
	11331
	80.464
	0
	0
	86772
	126610
	421178
	340737
	5423803
	5423803

	99
	11341
	80.433
	0
	0
	39572
	86760
	340805
	421204
	5423607
	5423603

	99
	11351
	80.484
	0
	0
	12
	39560
	421171
	340710
	5423400
	5423403

	97
	11361
	40.834
	0
	0
	320272
	341210
	380380
	421202
	5423207
	5423203

	105
	11362
	45.841
	0
	0
	45422
	71110
	340790
	386615
	5423201
	5423204

	97
	11371
	40.516
	0
	0
	300322
	320260
	421190
	380686
	5423003
	5423001

	105
	11372
	46.039
	0
	0
	71122
	96110
	386754
	340730
	5423005
	5423003

	97
	11381
	80.457
	0
	0
	256972
	300310
	340815
	421248
	5422805
	5422800

	97
	11391
	80.458
	0
	0
	215472
	256960
	421188
	340754
	5422600
	5422601

	97
	11401
	80.441
	0
	0
	170272
	215460
	340804
	421218
	5422404
	5422402

	93
	11411
	80.469
	0
	0
	329172
	371310
	340787
	421235
	5422206
	5422205

	93
	11421
	80.482
	0
	0
	287322
	329160
	421195
	340736
	5422003
	5422002

	93
	11431
	80.41
	0
	0
	242372
	287310
	340816
	421201
	5421801
	5421804

	92
	11441
	80.485
	0
	0
	140322
	189610
	340800
	421248
	5421607
	5421605

	92
	11451
	80.466
	0
	0
	97022
	140310
	421201
	340763
	5421406
	5421397

	92
	11461
	80.495
	0
	0
	48922
	97010
	340785
	421245
	5421201
	5421204

	92
	11471
	80.424
	0
	0
	7172
	48910
	421161
	340764
	5420999
	5421000

	91
	11481
	80.501
	0
	0
	116672
	159360
	340799
	421267
	5420802
	5420800

	90
	11491
	80.482
	0
	0
	190072
	236810
	421189
	340738
	5420602
	5420599

	93
	11502
	80.51
	0
	0
	197572
	242360
	421190
	340708
	5420404
	5420403

	93
	11512
	104.499
	0
	0
	12
	62110
	445174
	340719
	5420202
	5420203

	88
	11521
	54.55
	0
	0
	235222
	266160
	445192
	390668
	5420000
	5420000

	91
	11522
	55.324
	0
	0
	87322
	116660
	396031
	340726
	5419999
	5420001

	88
	11531
	55.242
	0
	0
	266172
	296760
	390076
	445276
	5419753
	5419802

	91
	11532
	55.224
	0
	0
	58422
	87310
	340790
	395998
	5419804
	5419808

	91
	11541
	104.443
	0
	0
	12
	58410
	445179
	340772
	5419605
	5419599

	86
	11551
	30.35
	0
	0
	112672
	132260
	414946
	445280
	5419399
	5419402

	93
	11552
	79.551
	0
	0
	62122
	110110
	340777
	420297
	5419403
	5419400

	86
	11561
	30.311
	0
	0
	89672
	112660
	445196
	414904
	5419206
	5419197

	89
	11562
	79.942
	0
	0
	26
	45810
	420674
	340765
	5419204
	5419201

	86
	11571
	30.661
	0
	0
	71522
	89660
	414640
	445290
	5419007
	5419005

	89
	11572
	79.567
	0
	0
	60322
	106460
	340783
	420319
	5419004
	5418997

	79
	11581
	28.825
	0
	0
	4772
	24210
	445200
	416394
	5418804
	5418804

	90
	11582
	84.425
	0
	0
	7372
	57260
	425093
	340700
	5418803
	5418800

	86
	11591
	88.248
	0
	0
	7522
	71510
	445174
	356977
	5418605
	5418597

	89
	11592
	23.117
	0
	0
	45822
	60310
	363860
	340753
	5418597
	5418600

	99
	11602
	104.43
	0
	0
	126622
	187610
	340807
	445196
	5418401
	5418397

	80
	11611
	59.613
	0
	0
	261822
	292710
	400372
	340778
	5418200
	5418201

	81
	11612
	49.524
	0
	0
	17972
	47160
	445190
	395689
	5418203
	5418204

	80
	11621
	59.449
	0
	0
	230672
	261810
	340795
	400225
	5418006
	5418010

	81
	11622
	49.892
	0
	0
	47172
	75110
	395389
	445259
	5418005
	5417993

	80
	11631
	104.452
	0
	0
	172922
	230660
	445184
	340775
	5417807
	5417802

	77
	11641
	104.438
	0
	0
	121822
	175860
	445190
	340784
	5417606
	5417599

	77
	11651
	104.521
	0
	0
	63222
	121810
	340794
	445278
	5417401
	5417400

	77
	11661
	104.45
	0
	0
	7672
	63210
	445197
	340784
	5417201
	5417200

	66
	11671
	104.532
	0
	0
	251172
	302714
	340808
	445305
	5417009
	5417003

	66
	11681
	104.51
	0
	0
	195922
	251160
	445200
	340739
	5416801
	5416800

	66
	11691
	104.446
	0
	0
	140872
	195910
	340803
	445210
	5416603
	5416600

	66
	11701
	104.517
	0
	0
	86522
	140860
	445203
	340720
	5416404
	5416399

	66
	11711
	83.571
	0
	0
	44822
	86510
	361745
	445288
	5416188
	5416201

	78
	11712
	30.959
	0
	0
	204622
	224160
	340796
	371734
	5416199
	5416201

	64
	11721
	104.485
	0
	0
	76172
	130610
	340806
	445239
	5416009
	5416007

	64
	11731
	72.177
	0
	0
	34572
	76160
	412918
	340783
	5415803
	5415797

	64
	11732
	37.539
	0
	0
	130622
	154610
	445207
	407694
	5415796
	5415794

	64
	11741
	104.535
	0
	0
	198422
	252310
	340799
	445277
	5415610
	5415608

	64
	11751
	104.548
	0
	0
	252322
	313860
	445202
	340734
	5415405
	5415395

	64
	11761
	104.475
	0
	0
	313872
	367110
	340807
	445218
	5415202
	5415206

	65
	11771
	104.435
	0
	0
	12
	59360
	445176
	340788
	5415005
	5414999

	65
	11781
	104.522
	0
	0
	59372
	113310
	340809
	445288
	5414804
	5414800

	65
	11791
	104.491
	0
	0
	113322
	171260
	445166
	340715
	5414602
	5414601

	65
	11801
	104.443
	0
	0
	171272
	226410
	340786
	445193
	5414403
	5414398

	65
	11811
	104.474
	0
	0
	226422
	284510
	445182
	340749
	5414203
	5414201

	65
	11821
	104.531
	0
	0
	284522
	338860
	340794
	445288
	5414004
	5414000

	65
	11831
	104.443
	0
	0
	338872
	394660
	445190
	340788
	5413805
	5413799

	65
	11841
	104.445
	0
	0
	394672
	445810
	340799
	445213
	5413607
	5413598

	66
	11851
	66.511
	0
	0
	7472
	44810
	445172
	378692
	5413401
	5413411

	78
	11852
	50.988
	0
	0
	177422
	204610
	391679
	340715
	5413403
	5413400

	108
	11853
	20.059
	0
	0
	7822
	20260
	420750
	400700
	5413402
	5413401

	71
	11861
	104.532
	0
	0
	7672
	70610
	445198
	340710
	5413202
	5413198

	71
	11871
	104.505
	0
	0
	70622
	135560
	340784
	445242
	5413003
	5412999

	96
	11882
	104.496
	0
	0
	7322
	62160
	445193
	340729
	5412804
	5412796

	96
	11892
	104.494
	0
	0
	62172
	118310
	340813
	445273
	5412603
	5412600

	96
	11902
	104.497
	0
	0
	201722
	257260
	445194
	340731
	5412401
	5412400

	96
	11912
	104.524
	0
	0
	257272
	315860
	340812
	445294
	5412203
	5412202

	97
	11922
	104.451
	0
	0
	12
	58210
	445176
	340763
	5412002
	5412001

	97
	11932
	104.533
	0
	0
	58222
	117460
	340785
	445283
	5411802
	5411798

	77
	11941
	43.384
	0
	0
	175872
	202960
	340813
	384179
	5411605
	5411600

	77
	11942
	67.195
	0
	0
	202972
	241310
	378091
	445262
	5411596
	5411603

	71
	11951
	43.31
	0
	0
	190072
	215060
	340803
	384096
	5411405
	5411402

	71
	11952
	66.725
	0
	0
	215072
	250632
	378567
	445266
	5411406
	5411401

	71
	11961
	104.457
	0
	0
	135572
	190060
	445200
	340775
	5411203
	5411205

	70
	11971
	104.474
	0
	0
	61972
	120810
	340785
	445221
	5411005
	5410999

	70
	11981
	104.507
	0
	0
	12
	61960
	445183
	340725
	5410801
	5410797

	68
	11991
	104.549
	0
	0
	7272
	65310
	445209
	340707
	5410603
	5410602

	64
	12001
	31.153
	0
	0
	13622
	34560
	445204
	414078
	5410412
	5410412

	64
	12002
	37.102
	0
	0
	154622
	175710
	406650
	369570
	5410386
	5410391

	64
	12003
	34.569
	0
	0
	175722
	198410
	375276
	340747
	5410380
	5410399

	76
	12004
	22.888
	0
	0
	14772
	28110
	422944
	400072
	5410408
	5410395

	68
	12011
	104.509
	0
	0
	65322
	125710
	340789
	445245
	5410207
	5410208

	68
	12021
	104.497
	0
	0
	125722
	185660
	445203
	340762
	5410015
	5410000

	69
	12031
	104.442
	0
	0
	153222
	212660
	340827
	445227
	5409805
	5409800

	71
	12041
	104.144
	0
	0
	251272
	314060
	445171
	341078
	5409601
	5409603

	71
	12051
	103.746
	0
	0
	314072
	377210
	341504
	445197
	5409403
	5409406

	72
	12062
	103.505
	0
	0
	62222
	122110
	341841
	445278
	5409211
	5409195

	72
	12071
	103.118
	0
	0
	122122
	177060
	445198
	342131
	5408997
	5409003

	81
	12082
	102.707
	0
	0
	75122
	134960
	445200
	342543
	5408804
	5408800

	81
	12091
	102.364
	0
	0
	320622
	376060
	342926
	445242
	5408604
	5408603

	85
	12101
	102.105
	0
	0
	2922
	69110
	445207
	343159
	5408403
	5408401

	85
	12111
	101.653
	0
	0
	69122
	129360
	343598
	445206
	5408200
	5408201

	90
	12121
	101.288
	0
	0
	135422
	190060
	343955
	445203
	5408003
	5408004

	93
	12131
	100.944
	0
	0
	141022
	197560
	344315
	445223
	5407802
	5407805

	97
	12141
	100.643
	0
	0
	117472
	170260
	445181
	344581
	5407606
	5407601

	82
	12151
	52.151
	0
	0
	66072
	102560
	445189
	393089
	5407399
	5407404

	93
	12152
	60.204
	0
	0
	110122
	141010
	405096
	344911
	5407401
	5407400

	81
	12161
	62.207
	0
	0
	286422
	320610
	407446
	345269
	5407206
	5407201

	82
	12162
	18.03
	0
	0
	12
	15160
	445191
	427194
	5407201
	5407191

	82
	12163
	30.397
	0
	0
	15172
	37560
	431817
	401456
	5407207
	5407198

	81
	12171
	61.679
	0
	0
	253472
	286410
	345702
	407355
	5407003
	5407024

	82
	12172
	45.134
	0
	0
	37572
	66060
	400159
	445254
	5407005
	5406992

	81
	12181
	99.208
	0
	0
	191022
	253460
	445189
	346033
	5406804
	5406800

	81
	12192
	98.912
	0
	0
	134972
	191010
	346408
	445265
	5406602
	5406599

	78
	12201
	33.562
	0
	0
	155922
	177410
	346758
	380296
	5406394
	5406400

	78
	12202
	72.822
	0
	0
	224172
	269360
	372464
	445237
	5406413
	5406400

	78
	12211
	98.212
	0
	0
	99172
	155910
	445200
	347047
	5406205
	5406203

	78
	12221
	67.053
	0
	0
	34622
	74760
	347438
	414442
	5406002
	5405978

	78
	12222
	36.54
	0
	0
	74772
	99160
	408703
	445210
	5406003
	5406005

	78
	12231
	67.047
	0
	0
	12
	34610
	414779
	347764
	5405809
	5405802

	78
	12232
	35.85
	0
	0
	269372
	296910
	445194
	409374
	5405809
	5405801

	77
	12241
	97.141
	0
	0
	295322
	351360
	348142
	445237
	5405599
	5405609

	77
	12251
	96.777
	0
	0
	241322
	295310
	445178
	348439
	5405404
	5405398

	76
	12261
	96.445
	0
	0
	374322
	424132
	348844
	445227
	5405191
	5405200

	76
	12271
	96.15
	0
	0
	314522
	374310
	445192
	349111
	5405001
	5404993

	76
	12282
	95.73
	0
	0
	263272
	314510
	349539
	445212
	5404798
	5404803

	76
	12291
	95.388
	0
	0
	204572
	263110
	445174
	349849
	5404610
	5404600

	73
	12301
	94.995
	0
	0
	7672
	58210
	445165
	350211
	5404399
	5404398

	72
	12311
	94.708
	0
	0
	11222
	61460
	445190
	350530
	5404205
	5404198

	73
	12321
	94.308
	0
	0
	58222
	104910
	350981
	445251
	5404003
	5404002

	74
	12331
	38.065
	0
	0
	154672
	173410
	351298
	389353
	5403806
	5403806

	74
	12332
	61.382
	0
	0
	173422
	208560
	383868
	445224
	5403803
	5403803

	74
	12341
	93.905
	0
	0
	104322
	154660
	445167
	351291
	5403602
	5403600

	74
	12351
	94.006
	0
	0
	54022
	104310
	351320
	445293
	5403400
	5403403

	74
	12361
	93.987
	0
	0
	12
	54010
	445183
	351245
	5403206
	5403198

	73
	12371
	93.971
	0
	0
	330522
	376610
	351286
	445219
	5403011
	5402998

	73
	12381
	94.004
	0
	0
	283472
	330510
	445192
	351223
	5402815
	5402799

	73
	12391
	93.98
	0
	0
	235572
	283460
	351279
	445219
	5402592
	5402609

	73
	12403
	69.025
	0
	0
	185072
	219010
	445180
	376186
	5402407
	5402404

	73
	12404
	30.937
	0
	0
	219022
	235560
	382133
	351208
	5402399
	5402396

	69
	12411
	93.954
	0
	0
	102022
	153210
	445164
	351244
	5402202
	5402197

	69
	12421
	93.985
	0
	0
	52072
	102010
	351298
	445248
	5402003
	5401978

	69
	12431
	93.951
	0
	0
	12
	52060
	445174
	351266
	5401808
	5401799

	68
	12441
	64.207
	0
	0
	286072
	319560
	351275
	415447
	5401596
	5401606

	68
	12442
	35.105
	0
	0
	319572
	338010
	410159
	445247
	5401598
	5401607

	68
	12451
	93.967
	0
	0
	235772
	286060
	445184
	351265
	5401404
	5401402

	68
	12462
	94.069
	0
	0
	185822
	235760
	351278
	445293
	5401233
	5401198

	67
	12471
	93.983
	0
	0
	355222
	399110
	351279
	445224
	5401010
	5401010

	67
	12481
	94.011
	0
	0
	301922
	355210
	445201
	351240
	5400800
	5400792

	67
	12491
	93.963
	0
	0
	254222
	301910
	351283
	445203
	5400584
	5400599

	67
	12501
	93.99
	0
	0
	200372
	254210
	445181
	351239
	5400408
	5400395

	67
	12511
	94.003
	0
	0
	153372
	200360
	351305
	445268
	5400205
	5400204

	67
	12521
	94.042
	0
	0
	100672
	153360
	445190
	351203
	5400001
	5400000

	67
	12531
	93.94
	0
	0
	52222
	100660
	351310
	445209
	5399802
	5399804

	67
	12541
	93.988
	0
	0
	12
	52210
	445185
	351247
	5399612
	5399597

	76
	12552
	94.045
	0
	0
	109922
	159010
	351277
	445280
	5399419
	5399401

	63
	12561
	81.087
	0
	0
	63672
	109810
	445192
	364131
	5399204
	5399201

	76
	12562
	28.424
	0
	0
	92722
	109910
	379681
	351274
	5399195
	5399201

	63
	12571
	80.314
	0
	0
	18522
	63660
	364971
	445257
	5399006
	5399001

	76
	12572
	28.609
	0
	0
	76122
	92710
	351281
	379876
	5399005
	5399005

	62
	12581
	20.443
	0
	0
	279822
	291810
	445174
	424741
	5398808
	5398800

	76
	12582
	84.726
	0
	0
	28122
	76110
	435934
	351254
	5398810
	5398795

	62
	12591
	93.946
	0
	0
	223222
	279810
	351291
	445195
	5398597
	5398600

	62
	12601
	66.941
	0
	0
	170572
	205460
	445190
	378272
	5398406
	5398401

	62
	12602
	29.633
	0
	0
	205472
	223210
	380901
	351279
	5398401
	5398401

	62
	12611
	94.045
	0
	0
	113922
	170560
	351280
	445286
	5398201
	5398199

	62
	12621
	93.94
	0
	0
	60972
	113910
	445176
	351274
	5398005
	5398003

	62
	12631
	94.016
	0
	0
	12
	60960
	351297
	445263
	5397807
	5397798

	61
	12641
	94.054
	0
	0
	277172
	337160
	351295
	445270
	5397610
	5397604

	61
	12651
	94
	0
	0
	220722
	277160
	445187
	351253
	5397404
	5397400

	61
	12661
	94.001
	0
	0
	158422
	220710
	351289
	445212
	5397202
	5397199

	72
	12671
	94.03
	0
	0
	177072
	234310
	351276
	445241
	5397002
	5397000

	57
	12681
	27.995
	0
	0
	39122
	58560
	410187
	382213
	5396804
	5396800

	61
	12682
	38.699
	0
	0
	7372
	30760
	389955
	351279
	5396803
	5396795

	72
	12691
	29.453
	0
	0
	234322
	254910
	445193
	415763
	5396791
	5396804

	60
	12701
	59.013
	0
	0
	298222
	329310
	351304
	410288
	5396606
	5396605

	72
	12711
	29.539
	0
	0
	254922
	275710
	415786
	445297
	5396611
	5396599

	60
	12721
	58.982
	0
	0
	261022
	298210
	410188
	351245
	5396399
	5396400

	72
	12731
	29.459
	0
	0
	275722
	297160
	445200
	415771
	5396405
	5396394

	60
	12741
	58.963
	0
	0
	225922
	261010
	351284
	410211
	5396202
	5396205

	72
	12751
	29.426
	0
	0
	297172
	319110
	415811
	445204
	5396217
	5396201

	60
	12761
	21.124
	0
	0
	186372
	199660
	410197
	389089
	5396017
	5396006

	60
	12762
	41.63
	0
	0
	199672
	225910
	392878
	351276
	5396005
	5395999

	72
	12771
	29.471
	0
	0
	319122
	341460
	445203
	415770
	5395991
	5396006

	60
	12781
	59.006
	0
	0
	151872
	186360
	351289
	410248
	5395796
	5395793

	72
	12791
	29.527
	0
	0
	341472
	363860
	415791
	445276
	5395807
	5395804

	60
	12801
	58.999
	0
	0
	113122
	151860
	410202
	351251
	5395603
	5395601

	73
	12812
	29.412
	0
	0
	104922
	126710
	445174
	415784
	5395606
	5395599

	60
	12821
	59.064
	0
	0
	77972
	113110
	351288
	410301
	5395407
	5395401

	73
	12831
	29.512
	0
	0
	126722
	146760
	415801
	445285
	5395400
	5395398

	60
	12841
	59.006
	0
	0
	37422
	77960
	410199
	351252
	5395214
	5395202

	73
	12851
	29.441
	0
	0
	146772
	167210
	445193
	415778
	5395220
	5395204

	60
	12861
	59.034
	0
	0
	12
	37410
	351293
	410281
	5395010
	5395002

	73
	12871
	29.458
	0
	0
	167222
	185060
	415785
	445223
	5394995
	5395005

	59
	12881
	58.934
	0
	0
	356522
	393060
	410198
	351289
	5394797
	5394800

	74
	12891
	29.474
	0
	0
	208572
	229610
	445156
	415699
	5394807
	5394800

	59
	12901
	58.998
	0
	0
	320572
	356510
	351297
	410269
	5394604
	5394610

	74
	12911
	29.497
	0
	0
	229622
	249360
	415818
	445299
	5394606
	5394601

	59
	12921
	59.027
	0
	0
	281122
	320560
	410205
	351212
	5394369
	5394401

	74
	12931
	29.439
	0
	0
	249372
	269410
	445187
	415765
	5394403
	5394403

	59
	12941
	58.883
	0
	0
	238572
	281110
	351285
	410133
	5394203
	5394199

	74
	12951
	29.532
	0
	0
	269422
	289610
	415779
	445296
	5394205
	5394208

	59
	12961
	23.186
	0
	0
	195772
	210010
	410198
	387023
	5394010
	5394000

	59
	12962
	38.411
	0
	0
	210022
	238560
	389659
	351271
	5394006
	5394000

	74
	12971
	29.432
	0
	0
	289622
	309960
	445194
	415781
	5394006
	5394000

	59
	12981
	58.952
	0
	0
	156922
	195760
	351300
	410224
	5393800
	5393797

	74
	12991
	18.62
	0
	0
	309972
	321698
	415799
	434409
	5393803
	5393797

	74
	12992
	16.807
	0
	0
	326922
	337560
	428439
	445239
	5393805
	5393801

	59
	13001
	58.975
	0
	0
	120322
	156910
	410192
	351241
	5393601
	5393597

	96
	13013
	29.438
	0
	0
	118322
	134060
	445185
	415761
	5393605
	5393602

	59
	13021
	58.969
	0
	0
	80372
	120310
	351303
	410243
	5393406
	5393405

	96
	13032
	29.519
	0
	0
	134072
	150410
	415789
	445297
	5393400
	5393401

	58
	13041
	59.039
	0
	0
	118222
	157510
	410211
	351228
	5393207
	5393203

	96
	13052
	29.431
	0
	0
	150422
	167810
	445178
	415760
	5393207
	5393203

	58
	13061
	58.965
	0
	0
	85372
	118210
	351300
	410219
	5393025
	5393001

	96
	13072
	29.489
	0
	0
	167822
	185460
	415780
	445257
	5393004
	5393005

	58
	13081
	58.97
	0
	0
	44822
	85360
	410187
	351274
	5392805
	5392803

	96
	13092
	29.404
	0
	0
	185472
	201710
	445170
	415777
	5392801
	5392800

	58
	13101
	58.964
	0
	0
	7022
	44810
	351310
	410216
	5392604
	5392606

	76
	13111
	29.469
	0
	0
	159022
	183610
	445189
	415756
	5392608
	5392596

	57
	13121
	58.939
	0
	0
	12
	39110
	351305
	410203
	5392403
	5392401

	76
	13131
	29.472
	0
	0
	183622
	204560
	415796
	445245
	5392403
	5392410

	56
	13142
	58.954
	0
	0
	121272
	159910
	410176
	351259
	5392205
	5392197

	77
	13151
	29.474
	0
	0
	351372
	370260
	445194
	415738
	5392207
	5392199

	55
	13161
	58.996
	0
	0
	49722
	86760
	410174
	351209
	5392007
	5391999

	84
	13171
	29.501
	0
	0
	88222
	108410
	445197
	415714
	5392007
	5391997

	105
	13172
	13.004
	0
	0
	140872
	151110
	428741
	415747
	5392017
	5391999

	55
	13181
	58.981
	0
	0
	7322
	49710
	351326
	410271
	5391803
	5391803

	84
	13191
	29.414
	0
	0
	67922
	88210
	415796
	445194
	5391805
	5391806

	54
	13201
	58.382
	0
	0
	228172
	265610
	409582
	351258
	5391614
	5391595

	111
	13213
	29.458
	0
	0
	7322
	26060
	445207
	415764
	5391606
	5391601

	54
	13221
	57.773
	0
	0
	188272
	228160
	351293
	409001
	5391401
	5391404

	105
	13232
	29.473
	0
	0
	171572
	189860
	445201
	415743
	5391404
	5391400

	54
	13241
	57.225
	0
	0
	149972
	188260
	351299
	408457
	5391202
	5391201

	83
	13251
	29.485
	0
	0
	305672
	326060
	445194
	415734
	5391202
	5391202

	54
	13261
	56.564
	0
	0
	114972
	149960
	407790
	351272
	5391009
	5391005

	83
	13271
	29.424
	0
	0
	283622
	305660
	415805
	445201
	5391006
	5391009

	54
	13281
	55.967
	0
	0
	77122
	114960
	351320
	407230
	5390806
	5390800

	83
	13291
	29.46
	0
	0
	262272
	283610
	445183
	415750
	5390813
	5390803

	54
	13301
	55.419
	0
	0
	42172
	77110
	406588
	351209
	5390614
	5390599

	83
	13311
	29.504
	0
	0
	240972
	262260
	415813
	445284
	5390605
	5390599

	54
	13321
	53.691
	0
	0
	12
	38360
	351296
	404936
	5390402
	5390434

	54
	13322
	4.693
	0
	0
	38372
	42160
	401373
	406060
	5390411
	5390399

	78
	13331
	29.563
	0
	0
	339872
	360310
	415783
	445315
	5390405
	5390400

	53
	13341
	54.189
	0
	0
	250472
	282760
	405376
	351214
	5390203
	5390201

	78
	13351
	29.463
	0
	0
	318272
	339860
	445205
	415764
	5390187
	5390202

	53
	13361
	53.585
	0
	0
	213572
	250460
	351292
	404846
	5390002
	5390004

	78
	13371
	29.519
	0
	0
	296922
	318260
	415791
	445270
	5390023
	5390001

	53
	13381
	21.905
	0
	0
	179822
	193060
	404196
	382301
	5389806
	5389801

	53
	13382
	33.536
	0
	0
	193072
	213560
	384751
	351231
	5389802
	5389794

	53
	13391
	52.377
	0
	0
	144272
	179810
	351301
	403650
	5389604
	5389602

	53
	13401
	51.74
	0
	0
	113122
	144260
	402973
	351255
	5389406
	5389399

	53
	13411
	51.162
	0
	0
	75672
	113110
	351307
	402434
	5389206
	5389203

	53
	13421
	50.567
	0
	0
	44072
	75660
	401794
	351251
	5389008
	5388999

	53
	13431
	49.938
	0
	0
	7272
	44060
	351310
	401212
	5388805
	5388804

	52
	13441
	49.351
	0
	0
	310172
	340960
	351298
	400626
	5388599
	5388609

	52
	13451
	48.75
	0
	0
	277622
	310160
	399976
	351254
	5388403
	5388397

	52
	13461
	48.115
	0
	0
	249122
	277610
	351303
	399397
	5388204
	5388200

	52
	13471
	47.149
	0
	0
	217754
	249110
	398383
	351258
	5388011
	5388000

	52
	13481
	47.001
	0
	0
	186622
	217560
	351292
	398269
	5387804
	5387803

	52
	13491
	46.945
	0
	0
	154372
	186610
	398189
	351276
	5387602
	5387601

	52
	13501
	46.988
	0
	0
	123022
	154360
	351298
	398249
	5387404
	5387404

	52
	13511
	46.932
	0
	0
	91322
	123010
	398191
	351286
	5387202
	5387196

	52
	13521
	46.959
	0
	0
	60022
	91310
	351294
	398230
	5387009
	5387013

	52
	13531
	47.015
	0
	0
	30672
	60010
	398192
	351207
	5386803
	5386799

	52
	13542
	46.97
	0
	0
	12
	30660
	351286
	398232
	5386605
	5386600

	51
	13551
	46.936
	0
	0
	288122
	318760
	398187
	351294
	5386395
	5386393

	51
	13561
	47.029
	0
	0
	256422
	288110
	351291
	398265
	5386202
	5386196

	51
	13571
	46.957
	0
	0
	223172
	256410
	398185
	351286
	5386011
	5385995

	51
	13581
	46.973
	0
	0
	191572
	223160
	351296
	398223
	5385795
	5385799

	51
	13591
	48.793
	0
	0
	119972
	151960
	351311
	400053
	5385604
	5385610

	51
	13601
	50.625
	0
	0
	86322
	119960
	401814
	351248
	5385399
	5385402

	50
	13612
	52.396
	0
	0
	340272
	378060
	403608
	351264
	5385205
	5385197

	50
	13621
	54.203
	0
	0
	302822
	340160
	351279
	405435
	5385021
	5385006

	50
	13631
	56.007
	0
	0
	258422
	302810
	407207
	351261
	5384798
	5384799

	50
	13641
	56.027
	0
	0
	219122
	258410
	351277
	407245
	5384603
	5384605

	50
	13651
	29.009
	0
	0
	176622
	195260
	407207
	378229
	5384403
	5384397

	50
	13652
	30.601
	0
	0
	195272
	219110
	381816
	351253
	5384398
	5384398

	50
	13661
	55.962
	0
	0
	138672
	176610
	351309
	407205
	5384211
	5384206

	50
	13671
	55.958
	0
	0
	97822
	138660
	407122
	351230
	5383998
	5384001

	50
	13681
	55.872
	0
	0
	59872
	97810
	351291
	407108
	5383802
	5383809

	50
	13691
	55.873
	0
	0
	19222
	59860
	407065
	351251
	5383584
	5383597

	49
	13701
	29.654
	0
	0
	169672
	188010
	351298
	380939
	5383403
	5383405

	50
	13702
	29.803
	0
	0
	12
	19210
	377252
	407032
	5383402
	5383406

	49
	13711
	55.738
	0
	0
	133472
	169660
	406967
	351257
	5383205
	5383200

	49
	13721
	55.668
	0
	0
	99872
	133460
	351310
	406955
	5383002
	5383001

	49
	13731
	55.701
	0
	0
	61722
	99860
	406895
	351223
	5382802
	5382800

	49
	13741
	55.691
	0
	0
	23222
	61710
	351303
	406964
	5382603
	5382597

	48
	13751
	27.596
	0
	0
	324922
	350610
	406830
	379267
	5382403
	5382403

	49
	13752
	31.039
	0
	0
	12
	23210
	382282
	351261
	5382409
	5382399

	48
	13761
	55.56
	0
	0
	288622
	324910
	351287
	406810
	5382203
	5382206

	48
	13771
	55.528
	0
	0
	249622
	288610
	406768
	351273
	5381991
	5382002

	48
	13781
	55.523
	0
	0
	215422
	249610
	351306
	406803
	5381801
	5381806

	48
	13791
	25.498
	0
	0
	177622
	193260
	406680
	381194
	5381604
	5381599

	48
	13792
	33.379
	0
	0
	193272
	215410
	384562
	351198
	5381603
	5381603

	48
	13801
	55.435
	0
	0
	147022
	177610
	351290
	406702
	5381402
	5381396

	48
	13811
	55.392
	0
	0
	110972
	147010
	406613
	351253
	5381201
	5381203

	48
	13822
	55.383
	0
	0
	77522
	110960
	351288
	406640
	5381008
	5381000

	48
	13831
	55.327
	0
	0
	35422
	77360
	406539
	351259
	5380808
	5380801

	48
	13841
	55.322
	0
	0
	12
	35410
	351307
	406593
	5380600
	5380601

	47
	13851
	55.326
	0
	0
	348172
	382160
	351291
	406566
	5380403
	5380403

	47
	13861
	77.727
	0
	0
	291572
	348160
	406422
	328780
	5380192
	5380200

	47
	13871
	77.742
	0
	0
	239872
	291560
	328811
	406465
	5379997
	5380003

	47
	13881
	26.247
	0
	0
	223122
	239860
	355002
	328777
	5379803
	5379807

	47
	13882
	51.87
	0
	0
	382172
	416510
	406351
	354534
	5379786
	5379801

	47
	13891
	77.504
	0
	0
	135372
	187860
	328909
	406336
	5379608
	5379599

	47
	13901
	77.44
	0
	0
	84972
	135360
	406290
	328932
	5379409
	5379396

	47
	13911
	77.211
	0
	0
	27222
	84960
	329147
	406276
	5379202
	5379204

	47
	13921
	30.479
	0
	0
	8122
	27210
	359678
	329218
	5378998
	5378998

	47
	13922
	45.198
	0
	0
	187872
	216110
	406217
	361060
	5379014
	5379001

	47
	13923
	9.282
	0
	0
	216122
	223110
	365195
	355931
	5379001
	5379003

	46
	13931
	76.843
	0
	0
	287522
	337110
	329414
	406195
	5378811
	5378808

	46
	13941
	76.758
	0
	0
	237522
	287510
	406149
	329450
	5378577
	5378599

	46
	13951
	76.568
	0
	0
	183572
	237510
	329648
	406128
	5378406
	5378407

	46
	13961
	50.786
	0
	0
	128822
	165310
	406060
	355321
	5378202
	5378208

	46
	13962
	28.469
	0
	0
	165322
	183560
	358138
	329691
	5378205
	5378199

	46
	13971
	70.46
	0
	0
	78122
	121610
	329859
	400235
	5378008
	5377944

	46
	13972
	9.585
	0
	0
	121622
	128810
	396510
	406083
	5378000
	5378001

	46
	13981
	25.624
	0
	0
	63922
	78110
	355577
	329969
	5377802
	5377800

	46
	13982
	53.041
	0
	0
	337122
	368260
	406009
	353006
	5377799
	5377799

	45
	13992
	75.934
	0
	0
	331572
	378360
	330086
	405980
	5377603
	5377607

	45
	14001
	75.859
	0
	0
	284422
	331360
	405935
	330114
	5377406
	5377398

	45
	14011
	75.669
	0
	0
	233022
	284410
	330329
	405952
	5377201
	5377204

	45
	14021
	37.59
	0
	0
	211822
	233010
	367939
	330363
	5376999
	5377001

	45
	14022
	40.501
	0
	0
	378372
	403410
	405854
	365374
	5377000
	5377001

	45
	14031
	75.297
	0
	0
	131422
	182960
	330590
	405846
	5376803
	5376808

	45
	14041
	75.164
	0
	0
	85772
	131410
	405783
	330663
	5376604
	5376599

	45
	14051
	74.997
	0
	0
	32772
	85760
	330801
	405752
	5376403
	5376401

	45
	14061
	43.003
	0
	0
	7372
	32760
	373867
	330882
	5376205
	5376206

	45
	14062
	46.339
	0
	0
	182972
	211810
	405671
	359354
	5376200
	5376203

	44
	14071
	38.02
	0
	0
	130272
	161210
	331055
	369005
	5376002
	5375989

	46
	14072
	42.919
	0
	0
	12
	28560
	362868
	405742
	5376010
	5376001

	44
	14081
	74.585
	0
	0
	87022
	130260
	405604
	331072
	5375800
	5375794

	44
	14091
	74.504
	0
	0
	24522
	87010
	331273
	405629
	5375604
	5375606

	44
	14101
	29.633
	0
	0
	7822
	24510
	361009
	331390
	5375399
	5375402

	46
	14102
	48.01
	0
	0
	28572
	63910
	405559
	357617
	5375397
	5375394

	43
	14111
	74.105
	0
	0
	171972
	227310
	331511
	405550
	5375212
	5375204

	43
	14121
	29.842
	0
	0
	151872
	171960
	361363
	331542
	5375001
	5374995

	43
	14122
	48.122
	0
	0
	227322
	268410
	405486
	357427
	5375008
	5374998

	40
	14131
	73.879
	0
	0
	35722
	86710
	405455
	331654
	5374803
	5374797

	39
	14142
	44.854
	0
	0
	91422
	113810
	331871
	376714
	5374608
	5374602

	40
	14144
	39.201
	0
	0
	7372
	35710
	366298
	405449
	5374602
	5374606

	38
	14151
	42.782
	0
	0
	102522
	133160
	362640
	405393
	5374405
	5374402

	39
	14152
	44.437
	0
	0
	67572
	91410
	376315
	331889
	5374404
	5374399

	38
	14161
	51.26
	0
	0
	64022
	102510
	405346
	354503
	5374198
	5374090

	40
	14162
	27.271
	0
	0
	86722
	101060
	332136
	359393
	5374204
	5374211

	38
	14172
	73.142
	0
	0
	13422
	62460
	332223
	405322
	5374003
	5374002

	36
	14181
	41.525
	0
	0
	240972
	267210
	405253
	363747
	5373803
	5373794

	37
	14182
	29.294
	0
	0
	46272
	68150
	370121
	340861
	5373807
	5373800

	38
	14183
	12.306
	0
	0
	6722
	13410
	344564
	332260
	5373800
	5373801

	36
	14191
	40.008
	0
	0
	217572
	240960
	365271
	405263
	5373602
	5373604

	37
	14192
	38.117
	0
	0
	23972
	46260
	332457
	370543
	5373603
	5373604

	32
	14201
	43.97
	0
	0
	7372
	33860
	376503
	332548
	5373404
	5373403

	32
	14202
	31.703
	0
	0
	81722
	102360
	405192
	373504
	5373401
	5373398

	32
	14211
	72.311
	0
	0
	33872
	81710
	332695
	404970
	5373204
	5373203

	35
	14221
	71.964
	0
	0
	45722
	88310
	404627
	332741
	5372997
	5372997

	35
	14231
	71.481
	0
	0
	88322
	140260
	332944
	404347
	5372797
	5372805

	35
	14241
	41.094
	0
	0
	140272
	167160
	404037
	362991
	5372607
	5372596

	37
	14242
	34.666
	0
	0
	12
	23960
	367638
	333000
	5372605
	5372598

	40
	14251
	43.937
	0
	0
	101072
	129010
	359901
	403795
	5372407
	5372406

	40
	14252
	30.743
	0
	0
	176522
	191810
	333196
	363924
	5372401
	5372410

	40
	14261
	70.342
	0
	0
	129022
	176510
	403478
	333227
	5372199
	5372203

	40
	14271
	30.935
	0
	0
	209922
	229560
	364290
	333384
	5372005
	5372001

	40
	14272
	41.921
	0
	0
	362672
	393310
	403164
	361309
	5371991
	5372000

	40
	14281
	69.513
	0
	0
	229572
	272110
	333542
	402990
	5371809
	5371805

	40
	14291
	69.144
	0
	0
	272122
	320960
	402606
	333569
	5371590
	5371600

	40
	14301
	68.688
	0
	0
	320972
	362660
	333777
	402395
	5371407
	5371405

	41
	14311
	31.751
	0
	0
	12
	21560
	365524
	333787
	5371204
	5371202

	41
	14313
	31.094
	0
	0
	341522
	362560
	402030
	370954
	5371199
	5371196

	42
	14314
	12.485
	0
	0
	186422
	193760
	374301
	361821
	5371200
	5371202

	41
	14321
	67.859
	0
	0
	21572
	70410
	333995
	401813
	5371007
	5370998

	41
	14331
	67.481
	0
	0
	70422
	120210
	401488
	334054
	5370804
	5370803

	41
	14341
	67.077
	0
	0
	120222
	166010
	334232
	401265
	5370602
	5370600

	41
	14351
	28.648
	0
	0
	166022
	189410
	400912
	372290
	5370403
	5370399

	41
	14352
	40.621
	0
	0
	189422
	213860
	374928
	334322
	5370401
	5370403

	41
	14361
	66.227
	0
	0
	213872
	256310
	334473
	400664
	5370200
	5370201

	41
	14371
	65.803
	0
	0
	256322
	300510
	400342
	334582
	5369998
	5370004

	41
	14381
	65.446
	0
	0
	300522
	341310
	334711
	400105
	5369804
	5369803

	42
	14391
	33.851
	0
	0
	2372
	20560
	368628
	334785
	5369600
	5369599

	51
	14392
	39.363
	0
	0
	165722
	191560
	399754
	360454
	5369599
	5369581

	42
	14401
	64.579
	0
	0
	20572
	65210
	334960
	399495
	5369405
	5369400

	42
	14411
	64.178
	0
	0
	65222
	104560
	399197
	335049
	5369201
	5369196

	42
	14421
	63.818
	0
	0
	104572
	146610
	335176
	398960
	5369002
	5369002

	42
	14432
	63.384
	0
	0
	146622
	186410
	398624
	335270
	5368801
	5368798

	34
	14441
	27.063
	0
	0
	232622
	247710
	335445
	362496
	5368603
	5368600

	35
	14442
	10.814
	0
	0
	8122
	16160
	358074
	368872
	5368597
	5368614

	35
	14443
	33.106
	0
	0
	16172
	45610
	365358
	398397
	5368609
	5368602

	34
	14452
	62.59
	0
	0
	190372
	232610
	398038
	335510
	5368398
	5368396

	34
	14462
	29.416
	0
	0
	147272
	163210
	335770
	365172
	5368197
	5368196

	34
	14463
	37.795
	0
	0
	163222
	190260
	360058
	397810
	5368207
	5368205

	34
	14474
	61.644
	0
	0
	106672
	147260
	397475
	335891
	5368016
	5368004

	34
	14481
	8.364
	0
	0
	68672
	72960
	336044
	344393
	5367804
	5367907

	34
	14482
	48.673
	0
	0
	73272
	106510
	341671
	390301
	5367804
	5367805

	34
	14491
	54.256
	0
	0
	32322
	68660
	390316
	336123
	5367606
	5367604

	33
	14501
	24.148
	0
	0
	340572
	353260
	336350
	360489
	5367408
	5367405

	34
	14502
	32.476
	0
	0
	6922
	32310
	357939
	390364
	5367415
	5367405

	33
	14511
	54.053
	0
	0
	307472
	340560
	390391
	336413
	5367206
	5367204

	33
	14521
	53.845
	0
	0
	270372
	307460
	336654
	390439
	5367005
	5366999

	33
	14531
	12.499
	0
	0
	232222
	242910
	390445
	378016
	5366792
	5366799

	33
	14532
	44.004
	0
	0
	242922
	270360
	380679
	336721
	5366801
	5366791

	33
	14541
	53.665
	0
	0
	196222
	232210
	336962
	390576
	5366604
	5366612

	33
	14551
	26.763
	0
	0
	158822
	180210
	390529
	363815
	5366385
	5366395

	33
	14552
	29.864
	0
	0
	180222
	196210
	366943
	337094
	5366403
	5366393

	33
	14562
	53.409
	0
	0
	122672
	158810
	337256
	390618
	5366205
	5366202

	33
	14571
	16.683
	0
	0
	77172
	93010
	390592
	373983
	5365992
	5365986

	33
	14572
	39.718
	0
	0
	93022
	119510
	376961
	337290
	5365993
	5366004

	33
	14581
	53.154
	0
	0
	39672
	77160
	337574
	390680
	5365804
	5365801

	32
	14591
	53.047
	0
	0
	239122
	275110
	337710
	390729
	5365612
	5365602

	32
	14601
	26.381
	0
	0
	222922
	239110
	364202
	337832
	5365404
	5365403

	32
	14602
	29.34
	0
	0
	275122
	296710
	390698
	361375
	5365403
	5365402

	32
	14611
	26.374
	0
	0
	208122
	222910
	338002
	364368
	5365198
	5365205

	32
	14612
	29.368
	0
	0
	296722
	317060
	361433
	390784
	5365206
	5365201

	32
	14621
	52.739
	0
	0
	172472
	208110
	390792
	338080
	5365000
	5365001

	32
	14631
	52.591
	0
	0
	138472
	172460
	338323
	390889
	5364804
	5364805

	32
	14641
	52.448
	0
	0
	102372
	138460
	390854
	338433
	5364604
	5364602

	31
	14651
	52.368
	0
	0
	298122
	331360
	338604
	390947
	5364406
	5364400

	31
	14661
	52.295
	0
	0
	261322
	298110
	390938
	338673
	5364205
	5364202

	31
	14671
	52.097
	0
	0
	228172
	261310
	338910
	390985
	5364008
	5364001

	31
	14681
	52.013
	0
	0
	191322
	228160
	391003
	339023
	5363801
	5363804

	31
	14691
	29.866
	0
	0
	154172
	170960
	339223
	369076
	5363599
	5363600

	31
	14692
	26.745
	0
	0
	170972
	191310
	364392
	391118
	5363601
	5363603

	31
	14701
	51.845
	0
	0
	117422
	154160
	391085
	339270
	5363403
	5363401

	31
	14711
	51.701
	0
	0
	83872
	117410
	339505
	391184
	5363204
	5363199

	31
	14721
	51.601
	0
	0
	47822
	83860
	391143
	339575
	5363001
	5363000

	31
	14731
	51.452
	0
	0
	15172
	47810
	339826
	391252
	5362803
	5362804

	30
	14741
	31.967
	0
	0
	219872
	246810
	391222
	359296
	5362601
	5362595

	31
	14742
	23.989
	0
	0
	12
	15160
	363913
	339935
	5362601
	5362600

	30
	14751
	51.22
	0
	0
	183572
	219860
	340112
	391284
	5362412
	5362396

	33
	14762
	51.109
	0
	0
	12
	39660
	391295
	340241
	5362198
	5362202

	29
	14771
	51.055
	0
	0
	239722
	273360
	340396
	391385
	5362006
	5362017

	29
	14781
	50.983
	0
	0
	202822
	239710
	391366
	340458
	5361811
	5361797

	29
	14791
	27.863
	0
	0
	164672
	181460
	340694
	368527
	5361604
	5361606

	29
	14792
	27.22
	0
	0
	181472
	202810
	364295
	391474
	5361605
	5361595

	29
	14801
	50.781
	0
	0
	127572
	164660
	391458
	340787
	5361420
	5361403

	29
	14812
	50.59
	0
	0
	94322
	127560
	341021
	391499
	5361199
	5361207

	29
	14821
	50.512
	0
	0
	58522
	94260
	391525
	341108
	5361000
	5361004

	29
	14831
	50.37
	0
	0
	21472
	58510
	341317
	391581
	5360814
	5360804

	28
	14841
	25.198
	0
	0
	124572
	142160
	391611
	366427
	5360595
	5360602

	29
	14842
	28.479
	0
	0
	12
	21460
	369825
	341379
	5360601
	5360590

	28
	14851
	50.08
	0
	0
	95322
	124560
	341611
	391670
	5360404
	5360406

	28
	14861
	50.002
	0
	0
	63022
	95310
	391673
	341695
	5360192
	5360202

	28
	14871
	49.876
	0
	0
	31972
	63010
	341900
	391751
	5360004
	5360008

	28
	14881
	49.742
	0
	0
	12
	31960
	391749
	342031
	5359804
	5359803

	23
	14891
	49.709
	0
	0
	296972
	332110
	391782
	342173
	5359584
	5359601

	23
	14901
	49.636
	0
	0
	264372
	296960
	342356
	391899
	5359397
	5359401

	23
	14911
	49.471
	0
	0
	231322
	264360
	391826
	342415
	5359187
	5359201

	23
	14921
	49.42
	0
	0
	196072
	231310
	342650
	391961
	5358999
	5358988

	23
	14931
	8.81
	0
	0
	159872
	166560
	391934
	383138
	5358807
	5358796

	23
	14932
	45.334
	0
	0
	166572
	196060
	387986
	342690
	5358802
	5358802

	23
	14941
	49.173
	0
	0
	127322
	159860
	342946
	392059
	5358605
	5358599

	23
	14952
	49.009
	0
	0
	91472
	127310
	391995
	343037
	5358411
	5358405

	23
	14961
	48.914
	0
	0
	56022
	91260
	343253
	392103
	5358205
	5358204

	22
	14971
	48.812
	0
	0
	284072
	314360
	343421
	392164
	5358009
	5358001

	22
	14983
	48.719
	0
	0
	249572
	284060
	392097
	343448
	5357798
	5357804

	22
	14991
	48.602
	0
	0
	213472
	249260
	343696
	392199
	5357618
	5357601

	22
	15001
	13.17
	0
	0
	173022
	186510
	392190
	379090
	5357393
	5357368

	22
	15002
	38.997
	0
	0
	186522
	213460
	382739
	343782
	5357384
	5357394

	22
	15011
	48.35
	0
	0
	138272
	173010
	343999
	392264
	5357213
	5357198

	22
	15021
	48.292
	0
	0
	98522
	138260
	392261
	344077
	5356989
	5357003

	22
	15031
	48.101
	0
	0
	62822
	98510
	344310
	392312
	5356808
	5356800

	22
	15041
	48.102
	0
	0
	22922
	62810
	392336
	344400
	5356593
	5356608

	21
	15051
	47.879
	0
	0
	309272
	343060
	344589
	392432
	5356406
	5356403

	21
	15061
	47.74
	0
	0
	274322
	309260
	392397
	344697
	5356203
	5356201

	21
	15071
	47.62
	0
	0
	243122
	274310
	344908
	392500
	5356003
	5355998

	21
	15081
	47.514
	0
	0
	210372
	243110
	392469
	344986
	5355803
	5355800

	21
	15091
	36.43
	0
	0
	177972
	199710
	345210
	381623
	5355606
	5355604

	21
	15092
	13.612
	0
	0
	199722
	210360
	378922
	392523
	5355603
	5355599

	21
	15101
	47.318
	0
	0
	146372
	177960
	392553
	345271
	5355401
	5355401

	21
	15111
	47.164
	0
	0
	117022
	146360
	345505
	392643
	5355200
	5355201

	21
	15121
	47.049
	0
	0
	85422
	117010
	392633
	345610
	5355004
	5354998

	8
	15131
	35.477
	0
	0
	655072
	682060
	345828
	381169
	5354801
	5354744

	22
	15132
	14.139
	0
	0
	11872
	22910
	378581
	392693
	5354801
	5354794

	8
	15141
	46.896
	0
	0
	621622
	655060
	392717
	345934
	5354594
	5354608

	8
	15151
	46.739
	0
	0
	591172
	621610
	346133
	392774
	5354413
	5354411

	8
	15161
	14.454
	0
	0
	555872
	567610
	392790
	378410
	5354202
	5354187

	8
	15162
	35.923
	0
	0
	567622
	591160
	382003
	346153
	5354205
	5354201

	8
	15171
	46.54
	0
	0
	526322
	555860
	346410
	392829
	5353997
	5354007

	8
	15181
	46.574
	0
	0
	490422
	526310
	392845
	346524
	5353797
	5353809

	8
	15191
	46.288
	0
	0
	456872
	490410
	346709
	392916
	5353597
	5353598

	8
	15201
	46.276
	0
	0
	421722
	456860
	392914
	346773
	5353388
	5353408

	8
	15211
	46.118
	0
	0
	388272
	421710
	347002
	392981
	5353204
	5353196

	8
	15221
	15.355
	0
	0
	350172
	360410
	392987
	377644
	5352997
	5353001

	8
	15222
	33.698
	0
	0
	360422
	388260
	380676
	347050
	5353002
	5353004

	8
	15231
	45.789
	0
	0
	323472
	350160
	347291
	393059
	5352801
	5352798

	8
	15241
	45.671
	0
	0
	294672
	323460
	393078
	347428
	5352600
	5352601

	8
	15251
	45.539
	0
	0
	266822
	294660
	347623
	393142
	5352404
	5352405

	8
	15261
	45.455
	0
	0
	167422
	195760
	393150
	347713
	5352200
	5352204

	8
	15271
	45.355
	0
	0
	140322
	167410
	347886
	393223
	5352007
	5352005

	8
	15281
	45.252
	0
	0
	112422
	140310
	393226
	347994
	5351794
	5351801

	8
	15291
	45.142
	0
	0
	83172
	112410
	348199
	393320
	5351604
	5351608

	8
	15301
	45.036
	0
	0
	51472
	83160
	393308
	348297
	5351403
	5351400

	8
	15311
	44.846
	0
	0
	21172
	51460
	348520
	393345
	5351204
	5351200

	7
	15321
	24.802
	0
	0
	277372
	294510
	393370
	368587
	5351003
	5350998

	8
	15322
	23.166
	0
	0
	7022
	21160
	371777
	348619
	5351000
	5350998

	7
	15331
	44.641
	0
	0
	249572
	277360
	348815
	393437
	5350806
	5350804

	3
	15342
	35.713
	0
	0
	32772
	54560
	348957
	384623
	5350604
	5350542

	21
	15343
	14.876
	0
	0
	74372
	85410
	378966
	393834
	5350601
	5350598

	3
	15351
	44.497
	0
	0
	12
	32760
	393480
	349025
	5350400
	5350400

	7
	15361
	44.344
	0
	0
	221022
	249560
	393519
	349202
	5350201
	5350198

	7
	15371
	44.198
	0
	0
	192772
	221010
	349415
	393590
	5349998
	5350007

	7
	15381
	25.089
	0
	0
	161872
	181060
	393578
	368511
	5349800
	5349799

	7
	15382
	21.567
	0
	0
	181072
	192760
	371014
	349453
	5349800
	5349801

	7
	15391
	43.947
	0
	0
	133922
	161860
	349711
	393636
	5349600
	5349603

	7
	15401
	43.861
	0
	0
	103322
	133910
	393666
	349831
	5349403
	5349399

	7
	15411
	43.758
	0
	0
	74422
	103310
	350003
	393729
	5349205
	5349203

	7
	15421
	44.595
	0
	0
	44522
	74410
	394644
	350076
	5348999
	5349002

	7
	15431
	45.427
	0
	0
	14572
	44510
	350291
	395696
	5348804
	5348799

	5
	15441
	26.227
	0
	0
	173972
	192310
	396552
	370343
	5348600
	5348602

	7
	15443
	21.066
	0
	0
	3572
	14560
	371418
	350357
	5348604
	5348602

	5
	15451
	46.959
	0
	0
	146572
	173960
	350585
	397525
	5348414
	5348403

	5
	15461
	47.788
	0
	0
	115972
	146560
	398455
	350694
	5348201
	5348199

	5
	15471
	48.598
	0
	0
	85172
	115960
	350889
	399462
	5347999
	5348006

	5
	15481
	49.439
	0
	0
	51022
	85160
	400352
	350950
	5347802
	5347800

	5
	15491
	50.164
	0
	0
	19972
	51010
	351206
	401334
	5347607
	5347611

	3
	15501
	19.838
	0
	0
	54572
	72010
	402247
	382435
	5347406
	5347381

	3
	15502
	30.138
	0
	0
	72022
	90010
	381415
	351293
	5347405
	5347400

	21
	15504
	6.393
	0
	0
	68572
	74360
	385093
	378705
	5347403
	5347403

	8
	15512
	51.783
	0
	0
	230722
	266810
	403186
	351435
	5347203
	5347200

	8
	15522
	30.051
	0
	0
	195772
	212260
	351649
	381689
	5347001
	5347007

	8
	15523
	24.159
	0
	0
	212272
	230710
	379076
	403219
	5347004
	5347005

	4
	15531
	34.533
	0
	0
	101222
	126010
	403207
	368698
	5346793
	5346800

	4
	15532
	19.998
	0
	0
	126022
	137610
	371679
	351722
	5346811
	5346803

	4
	15541
	51.224
	0
	0
	71072
	101210
	351933
	403133
	5346621
	5346612

	3
	15551
	50.961
	0
	0
	90022
	116710
	352122
	403052
	5346405
	5346408

	4
	15561
	50.837
	0
	0
	2522
	38310
	352262
	403069
	5346202
	5346201

	4
	15571
	50.617
	0
	0
	38322
	71060
	402902
	352312
	5346000
	5346002

	4
	15581
	50.49
	0
	0
	137772
	178110
	352540
	402839
	5345777
	5345808

	4
	15591
	50.345
	0
	0
	178122
	223810
	402776
	352667
	5345638
	5345615

	4
	15601
	50.082
	0
	0
	223822
	265510
	352870
	402701
	5345398
	5345407

	4
	15611
	28.399
	0
	0
	265522
	292910
	402622
	374432
	5345200
	5345237

	5
	15612
	26.426
	0
	0
	12
	19960
	379345
	352936
	5345204
	5345201

	15
	15621
	24.278
	0
	0
	7222
	24210
	377369
	353106
	5344999
	5345003

	16
	15622
	28.428
	0
	0
	205422
	223860
	402550
	374140
	5345001
	5345000

	15
	15631
	49.258
	0
	0
	24222
	60660
	353305
	402527
	5344802
	5344805

	15
	15641
	49.173
	0
	0
	60672
	92160
	402378
	353230
	5344603
	5344600

	15
	15651
	49.052
	0
	0
	92172
	123710
	353331
	402360
	5344398
	5344405

	15
	15661
	48.973
	0
	0
	123722
	156910
	402252
	353306
	5344198
	5344202

	15
	15671
	48.85
	0
	0
	156922
	188660
	353368
	402193
	5344005
	5344000

	15
	15681
	48.833
	0
	0
	188672
	221410
	402103
	353298
	5343803
	5343799

	15
	15691
	32.145
	0
	0
	221422
	240510
	353398
	385530
	5343607
	5343602

	16
	15692
	19.352
	0
	0
	12
	14560
	382740
	402081
	5343598
	5343599

	16
	15701
	48.63
	0
	0
	14572
	48910
	401966
	353363
	5343406
	5343395

	16
	15711
	48.544
	0
	0
	48922
	79560
	353402
	401920
	5343207
	5343202

	16
	15721
	48.459
	0
	0
	79572
	112610
	401800
	353366
	5343005
	5342996

	16
	15731
	48.387
	0
	0
	112622
	143810
	353398
	401760
	5342801
	5342803

	16
	15741
	48.375
	0
	0
	143822
	177510
	401674
	353326
	5342603
	5342598

	16
	15751
	48.254
	0
	0
	177522
	205410
	353440
	401675
	5342402
	5342400

	20
	15762
	47.746
	0
	0
	472
	33860
	401012
	353342
	5342153
	5342194

	20
	15771
	48.077
	0
	0
	33872
	64310
	353463
	401484
	5342014
	5342007

	20
	15781
	48.057
	0
	0
	64322
	96960
	401386
	353389
	5341798
	5341805

	20
	15791
	47.922
	0
	0
	96972
	126560
	353475
	401353
	5341595
	5341590

	20
	15801
	47.807
	0
	0
	126572
	156560
	401230
	353470
	5341412
	5341408

	20
	15811
	27.714
	0
	0
	156572
	171610
	353500
	381194
	5341213
	5341199

	21
	15813
	23.037
	0
	0
	12
	15010
	378158
	401184
	5341210
	5341199

	21
	15821
	47.665
	0
	0
	15022
	42660
	401094
	353447
	5341004
	5341004

	21
	15831
	47.529
	0
	0
	42672
	68560
	353538
	401050
	5340803
	5340800

	11
	15841
	47.484
	0
	0
	292222
	320960
	400948
	353486
	5340589
	5340604

	11
	15851
	47.382
	0
	0
	262922
	292210
	353556
	400915
	5340400
	5340402

	11
	15861
	47.334
	0
	0
	233272
	262910
	400800
	353487
	5340202
	5340201

	11
	15871
	23.986
	0
	0
	215072
	233260
	376794
	400760
	5339996
	5340002

	11
	15872
	27.164
	0
	0
	320972
	337410
	353561
	380714
	5340003
	5339999

	11
	15881
	26.896
	0
	0
	197922
	215060
	400650
	373767
	5339795
	5339800

	11
	15891
	26.804
	0
	0
	180472
	197910
	373817
	400607
	5339602
	5339604

	11
	15901
	26.825
	0
	0
	163472
	180460
	400507
	373694
	5339405
	5339400

	10
	15911
	26.749
	0
	0
	362622
	379360
	400434
	373698
	5339201
	5339204

	10
	15921
	26.609
	0
	0
	344972
	362610
	373821
	400414
	5339005
	5339001

	10
	15931
	26.524
	0
	0
	325072
	344960
	400295
	373793
	5338800
	5338803

	10
	15941
	26.51
	0
	0
	305272
	325060
	373809
	400298
	5338605
	5338597

	10
	15951
	26.442
	0
	0
	283372
	305260
	400120
	373701
	5338400
	5338404

	10
	15961
	26.358
	0
	0
	262922
	283360
	373826
	400161
	5338204
	5338199

	10
	15971
	26.226
	0
	0
	242672
	262910
	399982
	373776
	5337997
	5338003

	10
	15981
	26.206
	0
	0
	224672
	242660
	373811
	400001
	5337803
	5337806

	10
	15991
	26.091
	0
	0
	205222
	224660
	399826
	373760
	5337595
	5337604

	10
	16001
	25.978
	0
	0
	187322
	205210
	373817
	399778
	5337402
	5337399

	10
	16011
	25.993
	0
	0
	168272
	187310
	399674
	373706
	5337204
	5337202

	10
	16021
	25.922
	0
	0
	149972
	168260
	373799
	399706
	5337003
	5336998

	10
	16031
	25.831
	0
	0
	130622
	149960
	399539
	373727
	5336809
	5336802

	10
	16041
	25.703
	0
	0
	112672
	130610
	373807
	399494
	5336610
	5336604

	10
	16051
	25.651
	0
	0
	92772
	112660
	399391
	373759
	5336407
	5336405

	10
	16061
	25.573
	0
	0
	73472
	92760
	373829
	399371
	5336201
	5336202

	10
	16071
	25.507
	0
	0
	52622
	73460
	399249
	373769
	5336000
	5336000

	10
	16081
	21.455
	0
	0
	36222
	52610
	373806
	395246
	5335805
	5335799

	10
	16091
	21.497
	0
	0
	18372
	36210
	395211
	373732
	5335599
	5335602

	10
	16101
	21.462
	0
	0
	12
	18360
	373804
	395247
	5335400
	5335408

	12
	16113
	21.518
	0
	0
	27222
	45960
	373804
	395222
	5335195
	5335210

	11
	16121
	21.459
	0
	0
	26272
	43810
	395203
	373760
	5334995
	5335002

	11
	16131
	21.442
	0
	0
	43822
	61960
	373799
	395224
	5334799
	5334807

	11
	16141
	21.444
	0
	0
	61972
	78660
	395201
	373773
	5334604
	5334601

	11
	16151
	21.464
	0
	0
	78672
	95360
	373798
	395249
	5334401
	5334405

	11
	16161
	21.515
	0
	0
	95372
	110560
	395204
	373701
	5334193
	5334196

	11
	16171
	21.46
	0
	0
	110572
	127710
	373807
	395249
	5334004
	5334006

	11
	16181
	21.453
	0
	0
	127722
	144860
	395189
	373752
	5333798
	5333801

	11
	16191
	21.447
	0
	0
	144872
	163460
	373811
	395241
	5333602
	5333607

	9
	16201
	13.681
	0
	0
	196022
	211460
	373790
	387421
	5333406
	5333411

	12
	16203
	11.669
	0
	0
	49422
	60010
	383631
	395249
	5333403
	5333400

	9
	16211
	21.527
	0
	0
	173622
	196010
	395205
	373787
	5333204
	5333219

	9
	16221
	21.579
	0
	0
	153372
	173610
	373786
	395272
	5333000
	5333010

	9
	16232
	21.524
	0
	0
	133422
	153360
	395192
	373764
	5332801
	5332809

	9
	16241
	21.519
	0
	0
	114172
	132910
	373785
	395250
	5332600
	5332609

	9
	16251
	21.488
	0
	0
	95922
	114160
	395192
	373757
	5332399
	5332404

	9
	16261
	21.486
	0
	0
	76972
	95910
	373799
	395222
	5332203
	5332190

	9
	16271
	21.501
	0
	0
	58772
	76960
	395196
	373763
	5331993
	5332007

	9
	16282
	21.454
	0
	0
	41472
	58760
	373799
	395202
	5331799
	5331812

	9
	16291
	21.504
	0
	0
	23372
	41160
	395199
	373742
	5331597
	5331605

	9
	16301
	21.528
	0
	0
	6622
	23360
	373783
	395257
	5331384
	5331408

	12
	16311
	21.509
	0
	0
	60022
	77610
	395197
	373731
	5331198
	5331205

	12
	16321
	21.503
	0
	0
	77622
	97160
	373812
	395240
	5331020
	5330997

	12
	16331
	21.596
	0
	0
	97172
	114460
	395182
	373694
	5330792
	5330789

	12
	16341
	21.479
	0
	0
	114472
	131260
	373825
	395224
	5330598
	5330607

	12
	16351
	21.566
	0
	0
	131272
	148560
	395189
	373683
	5330388
	5330406

	12
	16361
	21.465
	0
	0
	148572
	165460
	373812
	395215
	5330205
	5330193

	20
	16371
	21.439
	0
	0
	142172
	159160
	395196
	373795
	5329995
	5330001

	24
	16382
	21.453
	0
	0
	12
	19760
	373801
	395230
	5329803
	5329802

	20
	16392
	21.454
	0
	0
	125122
	142160
	373811
	395230
	5329600
	5329607

	24
	16403
	21.494
	0
	0
	19772
	41760
	395193
	373729
	5329400
	5329406

	13
	16411
	21.6
	0
	0
	192122
	212110
	395182
	373717
	5329234
	5329219

	13
	16421
	21.49
	0
	0
	176272
	192110
	373816
	395214
	5329032
	5329027

	13
	16431
	21.509
	0
	0
	156822
	176260
	395192
	373769
	5328786
	5328807

	13
	16441
	21.555
	0
	0
	117822
	139310
	395200
	373727
	5328599
	5328593

	13
	16452
	21.684
	0
	0
	139322
	156810
	373796
	395305
	5328394
	5328382

	12
	16461
	21.494
	0
	0
	317172
	335060
	395188
	373763
	5328180
	5328210

	12
	16471
	21.591
	0
	0
	297672
	317160
	373781
	395267
	5327996
	5327997

	12
	16481
	21.47
	0
	0
	278522
	297660
	395188
	373783
	5327783
	5327823

	12
	16491
	21.484
	0
	0
	260272
	278510
	373796
	395200
	5327614
	5327578

	12
	16501
	21.583
	0
	0
	189872
	207310
	373788
	395321
	5327414
	5327374

	12
	16511
	21.413
	0
	0
	207322
	224060
	395168
	373789
	5327186
	5327198

	12
	16521
	21.479
	0
	0
	224072
	241710
	373785
	395213
	5327012
	5326995

	12
	16531
	21.549
	0
	0
	241722
	260260
	395190
	373700
	5326789
	5326814

	13
	16542
	21.575
	0
	0
	101172
	117810
	373798
	395280
	5326590
	5326613

	13
	16551
	21.49
	0
	0
	13222
	31310
	395197
	373757
	5326395
	5326411

	13
	16561
	21.502
	0
	0
	31322
	48310
	373799
	395249
	5326189
	5326203

	13
	16571
	21.467
	0
	0
	48322
	64860
	395177
	373753
	5326001
	5326010

	13
	16581
	21.569
	0
	0
	64872
	83460
	373781
	395266
	5325804
	5325804

	13
	16591
	21.518
	0
	0
	83472
	101160
	395186
	373740
	5325600
	5325590

	14
	16602
	15.028
	0
	0
	12
	11760
	373803
	388771
	5325414
	5325397

	18
	16603
	12.051
	0
	0
	12222
	20160
	383172
	395217
	5325398
	5325403

	14
	16615
	8.197
	0
	0
	15322
	21560
	387050
	395232
	5325215
	5325202

	18
	16616
	13.265
	0
	0
	12
	12210
	373794
	387046
	5325204
	5325210

	13
	16621
	21.537
	0
	0
	231472
	248560
	395173
	373723
	5325003
	5325012

	18
	16635
	14.466
	0
	0
	20172
	32810
	388173
	373721
	5324799
	5324799

	14
	16642
	14.49
	0
	0
	22072
	31760
	373797
	388229
	5324609
	5324593

	14
	16652
	14.502
	0
	0
	31772
	45360
	388182
	373724
	5324403
	5324402

	14
	16662
	14.463
	0
	0
	45372
	56960
	373802
	388233
	5324192
	5324205

	14
	16671
	14.5
	0
	0
	56972
	71360
	388181
	373778
	5323999
	5324001

	14
	16682
	14.53
	0
	0
	71722
	84260
	373789
	388263
	5323807
	5323808

	14
	16691
	14.514
	0
	0
	84272
	98210
	388199
	373762
	5323620
	5323591

	14
	16701
	14.536
	0
	0
	98222
	109560
	373783
	388278
	5323426
	5323413

	14
	16711
	14.46
	0
	0
	109572
	121760
	388172
	373762
	5323195
	5323213

	17
	16721
	14.461
	0
	0
	7022
	19810
	373786
	388223
	5322996
	5323002

	17
	16731
	14.468
	0
	0
	19822
	30810
	388204
	373769
	5322798
	5322801

	17
	16741
	14.431
	0
	0
	30822
	42110
	373815
	388215
	5322604
	5322610

	17
	16751
	14.484
	0
	0
	42122
	54010
	388202
	373758
	5322394
	5322402

	17
	16761
	14.465
	0
	0
	186922
	198210
	373799
	388230
	5322201
	5322205

	17
	16771
	14.518
	0
	0
	198222
	211010
	388195
	373724
	5322011
	5321988

	17
	16781
	14.51
	0
	0
	211022
	224260
	373787
	388261
	5321802
	5321811

	17
	16791
	14.424
	0
	0
	224272
	236910
	388177
	373787
	5321606
	5321600

	17
	16801
	14.441
	0
	0
	236922
	248610
	373812
	388226
	5321416
	5321406

	17
	16811
	14.495
	0
	0
	248622
	261210
	388192
	373749
	5321193
	5321202

	17
	16821
	14.485
	0
	0
	261222
	274960
	373785
	388214
	5321007
	5320995

	17
	16831
	14.503
	0
	0
	274972
	288660
	388199
	373740
	5320823
	5320795

	17
	16841
	14.498
	0
	0
	288672
	302010
	373790
	388235
	5320595
	5320606

	17
	16851
	14.489
	0
	0
	302022
	316110
	388182
	373765
	5320400
	5320397

	18
	16861
	14.435
	0
	0
	32822
	45210
	373792
	388212
	5320200
	5320205

	18
	16871
	14.463
	0
	0
	45222
	59110
	388198
	373751
	5320002
	5319998

	18
	16881
	14.478
	0
	0
	59122
	70360
	373792
	388256
	5319783
	5319805

	18
	16891
	7.969
	0
	0
	70372
	78510
	388198
	380242
	5319605
	5319604

	18
	16892
	9.945
	0
	0
	317472
	325210
	383727
	373788
	5319601
	5319601

	18
	16901
	14.486
	0
	0
	306372
	317460
	373790
	388266
	5319399
	5319406

	18
	16911
	14.485
	0
	0
	295122
	306360
	388201
	373726
	5319201
	5319204

	18
	16921
	14.433
	0
	0
	282172
	295110
	373793
	388213
	5319000
	5319004

	18
	16931
	14.443
	0
	0
	269072
	282160
	388185
	373756
	5318799
	5318800

	18
	16941
	14.411
	0
	0
	256122
	269060
	373809
	388208
	5318605
	5318606

	18
	16951
	14.494
	0
	0
	244622
	256110
	388203
	373719
	5318402
	5318405

	18
	16961
	14.444
	0
	0
	233622
	244610
	373794
	388228
	5318206
	5318204

	18
	16971
	14.453
	0
	0
	221022
	233610
	388202
	373764
	5318004
	5318004

	18
	16981
	14.471
	0
	0
	208872
	221010
	373809
	388267
	5317807
	5317805

	18
	16991
	14.483
	0
	0
	168622
	181260
	373792
	388258
	5317609
	5317592

	18
	17001
	14.502
	0
	0
	156922
	168610
	388179
	373688
	5317398
	5317403

	18
	17011
	14.423
	0
	0
	146322
	156910
	373820
	388233
	5317200
	5317203

	18
	17021
	14.475
	0
	0
	134272
	146310
	388203
	373741
	5317000
	5317003

	18
	17031
	14.465
	0
	0
	124472
	134260
	373788
	388244
	5316783
	5316807

	18
	17041
	14.504
	0
	0
	112072
	124460
	388204
	373717
	5316597
	5316602

	18
	17051
	14.446
	0
	0
	101922
	112060
	373808
	388245
	5316405
	5316402

	18
	17061
	14.486
	0
	0
	88972
	101910
	388182
	373710
	5316196
	5316204

	18
	17071
	14.442
	0
	0
	78522
	88960
	373796
	388229
	5316004
	5316003

	17
	17081
	14.521
	0
	0
	158872
	170410
	373783
	388274
	5315790
	5315804

	17
	17091
	14.47
	0
	0
	148672
	158860
	388198
	373748
	5315598
	5315601

	17
	17101
	14.449
	0
	0
	137572
	148660
	373800
	388229
	5315407
	5315403

	17
	17111
	14.493
	0
	0
	126022
	137560
	388206
	373733
	5315210
	5315199

	17
	17122
	14.473
	0
	0
	114572
	126010
	373787
	388230
	5315006
	5314998

	18
	17131
	13.942
	0
	0
	181272
	190810
	388193
	374259
	5314800
	5314803

	18
	17141
	12.796
	0
	0
	190822
	200560
	375441
	388228
	5314600
	5314600

	20
	17152
	11.738
	0
	0
	6772
	17210
	376532
	388244
	5314399
	5314401

	20
	17161
	10.704
	0
	0
	17222
	26960
	388202
	377518
	5314208
	5314200

	20
	17171
	9.557
	0
	0
	26972
	36510
	378697
	388225
	5314006
	5313997

	20
	17181
	8.455
	0
	0
	67722
	74460
	388201
	379760
	5313803
	5313806

	20
	17193
	8.46
	0
	0
	59772
	67710
	379809
	388254
	5313594
	5313603

	20
	17201
	8.506
	0
	0
	44072
	51560
	379798
	388279
	5313409
	5313401

	20
	17211
	8.446
	0
	0
	51572
	58910
	388195
	379761
	5313214
	5313202

	25
	17222
	8.455
	0
	0
	12
	6710
	379803
	388253
	5313002
	5313004

	24
	17233
	8.484
	0
	0
	79972
	85460
	379810
	388289
	5312803
	5312799

	17
	17241
	8.457
	0
	0
	99222
	107060
	379802
	388240
	5312597
	5312599

	17
	17251
	8.448
	0
	0
	92322
	99210
	388189
	379758
	5312398
	5312395

	17
	17261
	8.463
	0
	0
	83472
	92310
	379782
	388211
	5312195
	5312201

	17
	17271
	8.481
	0
	0
	75222
	83460
	388201
	379738
	5311996
	5311999

	17
	17281
	8.455
	0
	0
	67072
	75210
	379802
	388241
	5311805
	5311806

	17
	17291
	8.511
	0
	0
	60472
	67060
	388186
	379693
	5311618
	5311605

	24
	17303
	8.445
	0
	0
	85472
	92010
	388185
	379746
	5311405
	5311401

	20
	17311
	8.489
	0
	0
	110822
	118460
	388198
	379724
	5311208
	5311195

	20
	17321
	8.464
	0
	0
	103922
	110810
	379799
	388250
	5311004
	5311004

	20
	17331
	8.486
	0
	0
	97172
	103910
	388191
	379717
	5310793
	5310796

	20
	17342
	8.436
	0
	0
	89772
	97160
	379809
	388234
	5310603
	5310609

	20
	17353
	8.44
	0
	0
	82372
	89760
	388180
	379767
	5310402
	5310405

	20
	17364
	8.453
	0
	0
	74622
	82260
	379780
	388215
	5310208
	5310205

	25
	17375
	8.454
	0
	0
	6722
	13360
	388197
	379748
	5310002
	5310003

	6
	70021
	4.438
	0
	0
	24072
	26910
	331007
	331005
	5380494
	5376062

	6
	70031
	7.873
	0
	0
	26922
	30560
	333000
	333009
	5372706
	5380572

	6
	70041
	11.266
	0
	0
	30572
	39410
	335014
	335015
	5380515
	5369279

	6
	70052
	12.661
	0
	0
	39772
	47318
	336982
	337017
	5367803
	5380393

	33
	70053
	6.28
	0
	0
	119572
	122660
	337005
	337006
	5366500
	5372776

	6
	70062
	16.785
	0
	0
	52422
	64060
	339007
	339008
	5380500
	5363749

	6
	70083
	19.421
	0
	0
	64522
	73610
	341014
	341002
	5361182
	5380584

	54
	70091
	31.086
	0
	0
	12
	16760
	341009
	341016
	5409515
	5440578

	6
	70102
	22.138
	0
	0
	73622
	92860
	343008
	343006
	5380503
	5358427

	58
	70111
	32.215
	0
	0
	157522
	172860
	343020
	343004
	5408381
	5440573

	6
	70121
	24.745
	0
	0
	92872
	108310
	345007
	345025
	5355829
	5380527

	58
	70131
	33.364
	0
	0
	176722
	194760
	345003
	345008
	5440503
	5407169

	23
	70141
	27.457
	0
	0
	6772
	25560
	347011
	347011
	5353151
	5380568

	58
	70151
	34.541
	0
	0
	194772
	212810
	347015
	347014
	5406098
	5440611

	23
	70161
	30.166
	0
	0
	25572
	45910
	349004
	349011
	5380500
	5350387

	54
	70171
	35.621
	0
	0
	16872
	35160
	349017
	349006
	5440477
	5404884

	6
	70181
	18.005
	0
	0
	108322
	126910
	351036
	351004
	5380508
	5362616

	6
	70182
	10.155
	0
	0
	126922
	135660
	351011
	351012
	5357863
	5347750

	23
	70183
	14.888
	0
	0
	45922
	56010
	351020
	351022
	5369030
	5354165

	61
	70192
	36.823
	0
	0
	30772
	52060
	351018
	351013
	5403795
	5440585

	59
	70207
	55.719
	0
	0
	7322
	42160
	353011
	353012
	5384838
	5440508

	59
	70211
	55.811
	0
	0
	42172
	80360
	355017
	355020
	5440497
	5384745

	61
	70221
	55.819
	0
	0
	52072
	85360
	357014
	357014
	5440481
	5384728

	61
	70231
	55.75
	0
	0
	85372
	118760
	359016
	359022
	5384835
	5440522

	61
	70241
	65.792
	0
	0
	124522
	158410
	361015
	361020
	5450511
	5384773

	90
	70252
	65.818
	0
	0
	57372
	92710
	363015
	363016
	5384808
	5450582

	90
	70261
	65.757
	0
	0
	92722
	135410
	365012
	365016
	5450483
	5384789

	98
	70271
	65.821
	0
	0
	21572
	61410
	367018
	367014
	5450502
	5384739

	98
	70281
	65.808
	0
	0
	61422
	101010
	369013
	369013
	5384811
	5450564

	98
	70291
	65.823
	0
	0
	101022
	137460
	371016
	371021
	5450508
	5384736

	110
	70302
	65.728
	0
	0
	264772
	298810
	373016
	373014
	5384817
	5450505

	110
	70311
	65.792
	0
	0
	234522
	264760
	375009
	375017
	5450500
	5384741

	110
	70321
	65.813
	0
	0
	197022
	234510
	377011
	377016
	5384815
	5450579

	110
	70331
	65.79
	0
	0
	164772
	197010
	379015
	379011
	5450470
	5384717

	89
	70341
	65.759
	0
	0
	243672
	279910
	381018
	381014
	5450500
	5384788

	89
	70351
	65.747
	0
	0
	207972
	243660
	383014
	383015
	5384820
	5450523

	89
	70361
	65.765
	0
	0
	173972
	207960
	385016
	385012
	5450506
	5384780

	89
	70371
	65.78
	0
	0
	138822
	173960
	387010
	387016
	5384817
	5450551

	89
	70381
	65.804
	0
	0
	106472
	138810
	389014
	389014
	5450504
	5384736

	30
	70391
	38.563
	0
	0
	22672
	49460
	391013
	391010
	5362958
	5324449

	51
	70401
	17.293
	0
	0
	7372
	16710
	391007
	391015
	5367516
	5384795

	56
	70402
	20.058
	0
	0
	7522
	19810
	391010
	391013
	5379800
	5399841

	104
	70403
	35.635
	0
	0
	102222
	117960
	391019
	391013
	5394946
	5430565

	29
	70411
	27.72
	0
	0
	274322
	298960
	393025
	393012
	5352104
	5324463

	51
	70421
	18.268
	0
	0
	17314
	30160
	392999
	393018
	5385706
	5367462

	56
	70422
	20.06
	0
	0
	19822
	31810
	393013
	393007
	5399792
	5379750

	104
	70423
	35.671
	0
	0
	85022
	102210
	393015
	393009
	5430502
	5394847

	29
	70431
	24.747
	0
	0
	298972
	318760
	395009
	395017
	5324522
	5349218

	51
	70441
	17.209
	0
	0
	30172
	40060
	395020
	395017
	5367516
	5384707

	56
	70442
	20.048
	0
	0
	31822
	45760
	395013
	395019
	5379799
	5399825

	104
	70443
	35.732
	0
	0
	69072
	85010
	395011
	395015
	5394878
	5430593

	29
	70451
	13.317
	0
	0
	318772
	330910
	397010
	397010
	5348751
	5335480

	51
	70461
	16.826
	0
	0
	40072
	51210
	397108
	397014
	5384286
	5367490

	56
	70462
	20.221
	0
	0
	45772
	58810
	397017
	397012
	5399804
	5379604

	104
	70463
	35.746
	0
	0
	50172
	69060
	397016
	397011
	5430494
	5394768

	29
	70471
	12.833
	0
	0
	330922
	341460
	399015
	399010
	5335552
	5348354

	51
	70481
	16.746
	0
	0
	51222
	62010
	399018
	399005
	5368902
	5385623

	56
	70482
	20.001
	0
	0
	58822
	73460
	399011
	399013
	5379847
	5399824

	104
	70483
	35.482
	0
	0
	33972
	50160
	399015
	399012
	5395038
	5430505

	29
	70491
	6.907
	0
	0
	341472
	348660
	401006
	401016
	5347926
	5341044

	51
	70501
	15.478
	0
	0
	63206
	76160
	401011
	401009
	5385725
	5370283

	56
	70502
	20.087
	0
	0
	73472
	89560
	401013
	401011
	5399792
	5379735

	88
	70503
	37.77
	0
	0
	215322
	235210
	401015
	401015
	5392819
	5430565

	51
	70512
	13.958
	0
	0
	76172
	86310
	403015
	403015
	5371721
	5385651

	56
	70513
	20.083
	0
	0
	89572
	109060
	403012
	403013
	5379831
	5399865

	88
	70514
	36.688
	0
	0
	197122
	215310
	403016
	403016
	5430493
	5393829

	51
	70521
	12.314
	0
	0
	155394
	165710
	405018
	405011
	5385403
	5373115

	56
	70522
	20.109
	0
	0
	109072
	121260
	405017
	405014
	5399836
	5379747

	88
	70523
	42.741
	0
	0
	174422
	197110
	405014
	405012
	5387797
	5430511

	88
	70531
	40.055
	0
	0
	152322
	174410
	407013
	407015
	5430506
	5390481

	88
	70541
	39.439
	0
	0
	132522
	152310
	409015
	409010
	5391180
	5430595

	88
	70551
	34.037
	0
	0
	113622
	132510
	411017
	411010
	5430490
	5396478

	88
	70561
	34.086
	0
	0
	93372
	113610
	413016
	413014
	5396522
	5430581

	83
	70571
	34.046
	0
	0
	192872
	212910
	415010
	415011
	5396513
	5430524

	83
	70581
	41.122
	0
	0
	212922
	240960
	417014
	417016
	5430498
	5389422

	84
	70591
	41.092
	0
	0
	108422
	132960
	419014
	419015
	5389518
	5430573

	104
	70602
	41.129
	0
	0
	7322
	33960
	421014
	421013
	5430511
	5389418

	83
	70611
	31.099
	0
	0
	326072
	346610
	423017
	423008
	5389512
	5420569

	88
	70621
	31.042
	0
	0
	73772
	93360
	425018
	425013
	5420480
	5389465

	88
	70631
	31.064
	0
	0
	57122
	73760
	427013
	427014
	5389504
	5420540

	88
	70641
	31.038
	0
	0
	40422
	57110
	429012
	429013
	5420492
	5389475

	88
	70651
	31.058
	0
	0
	24972
	40410
	431015
	431016
	5389524
	5420561

	88
	70662
	31.025
	0
	0
	7222
	24960
	433020
	433015
	5420499
	5389499

	70
	70672
	31.071
	0
	0
	141372
	162110
	435016
	435011
	5389502
	5420534

	70
	70681
	31.035
	0
	0
	120822
	141010
	437015
	437012
	5420475
	5389486

	66
	70691
	31.102
	0
	0
	351772
	368260
	439005
	439020
	5389539
	5420616

	66
	70701
	31.013
	0
	0
	334272
	351760
	441015
	441012
	5420487
	5389496

	66
	70711
	31.102
	0
	0
	319172
	334260
	443014
	443016
	5389507
	5420591

	66
	70721
	31.038
	0
	0
	303372
	319160
	445013
	445012
	5420493
	5389474

	61
	70731
	11.11
	0
	0
	118772
	124510
	360120
	360122
	5439458
	5450560

	52
	70741
	13.306
	0
	0
	340972
	350460
	406828
	404685
	5385360
	5372252

	30
	70751
	21.441
	0
	0
	4522
	22660
	393736
	389685
	5347618
	5368619

	29
	70762
	13.185
	0
	0
	348722
	359660
	403020
	398682
	5347758
	5335346

	27
	70771
	26.484
	0
	0
	7122
	25160
	373995
	373992
	5340582
	5314127

	63
	70782
	15.095
	0
	0
	10122
	18510
	336332
	328641
	5367783
	5380759

	6
	70791
	34.987
	0
	0
	6772
	20110
	354720
	333762
	5343415
	5371400

	54
	70801
	24.494
	0
	0
	265622
	282110
	351763
	351760
	5379792
	5404257

	63
	70831
	6.503
	0
	0
	7322
	10110
	353561
	353951
	5345684
	5339195

	54
	70841
	12.798
	0
	0
	282122
	290360
	351747
	340651
	5403784
	5410134

	58
	70851
	5.364
	0
	0
	172872
	175760
	341405
	337743
	5436526
	5440436

	36
	70871
	44.741
	0
	0
	77022
	104560
	353013
	353016
	5345147
	5389846

	36
	70881
	50.379
	0
	0
	104572
	131360
	355011
	355013
	5389809
	5339466

	36
	70891
	50.419
	0
	0
	131372
	161910
	357009
	357008
	5339513
	5389888

	36
	70901
	50.374
	0
	0
	49522
	77010
	359013
	359014
	5389803
	5339463

	36
	70911
	43.338
	0
	0
	19022
	49510
	361014
	361015
	5339516
	5382804

	39
	70912
	11.795
	0
	0
	12
	8160
	361017
	361012
	5378068
	5389851

	36
	70921
	25.609
	0
	0
	3222
	19010
	363016
	363012
	5365018
	5339430

	36
	70922
	28.417
	0
	0
	161922
	177160
	363016
	363012
	5389815
	5361418

	36
	70931
	22.126
	0
	0
	177172
	189110
	365011
	365014
	5361570
	5339459

	40
	70932
	29.147
	0
	0
	191822
	209910
	365017
	365011
	5389808
	5360700

	36
	70941
	50.406
	0
	0
	189122
	217560
	367012
	367014
	5339501
	5389873

	39
	70951
	50.435
	0
	0
	8172
	36210
	369015
	369013
	5389800
	5339401

	24
	70961
	50.392
	0
	0
	12
	30260
	371009
	371010
	5339505
	5389851

	39
	70971
	50.458
	0
	0
	36222
	67560
	373013
	373016
	5339513
	5389925

	24
	70981
	75.572
	0
	0
	30272
	79960
	375013
	375012
	5389800
	5314308

	42
	70991
	26.071
	0
	0
	193772
	209760
	377005
	377012
	5363816
	5389861

	42
	70992
	49.944
	0
	0
	256222
	287060
	377016
	377009
	5314054
	5363956

	42
	71001
	76.259
	0
	0
	209772
	256210
	379013
	379012
	5389792
	5313598

	43
	71011
	80.534
	0
	0
	91422
	151860
	381025
	381006
	5309503
	5389897

	43
	71021
	80.507
	0
	0
	31072
	91410
	383015
	383007
	5389793
	5309434

	30
	71031
	41.614
	0
	0
	148722
	183560
	385015
	385016
	5309500
	5351015

	43
	71032
	42.55
	0
	0
	12
	31060
	385007
	385013
	5347421
	5389885

	30
	71041
	80.487
	0
	0
	92522
	148710
	387016
	387014
	5389806
	5309433

	30
	71051
	65.432
	0
	0
	49472
	92510
	389020
	389008
	5324511
	5389858

	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	

	Summary for Flights
	3 to 115
	
	
	
	
	
	

	   
	
	
	
	
	
	
	
	
	
	

	
	Lines  : 
	
	10011 to 71051
	
	
	
	
	

	  
	Number of survey lines :                  
	972
	
	
	
	
	

	  
	Number of (well defined) lines :          
	972
	
	
	
	
	

	  
	Total number of gaps in lines are :         
	0
	
	
	
	
	

	  
	Total length of gaps is :               
	0.00 km
	
	
	
	
	

	  
	Total distance is :                 
	44,165.616 km
	
	
	
	

	  
	Average Line Length is :               
	45.438 km
	
	
	
	


	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	

	Flights: 
	24 to 27 
	
	
	
	
	
	
	
	
	

	Lines : 
	10011 to 70081
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	

	Flight
	Line
	Distance
	Gaps
	Distance
	StartFID
	EndFID
	StartX
	EndX
	StartY
	EndY

	24
	10201
	10.244
	0
	0
	12
	5510
	378589
	388830
	5288405
	5288407

	24
	10211
	10.273
	0
	0
	5522
	12060
	388849
	378581
	5288211
	5288208

	24
	10221
	10.335
	0
	0
	12072
	18260
	378591
	388921
	5288000
	5288004

	24
	10231
	10.462
	0
	0
	18272
	25560
	388958
	378501
	5287812
	5287810

	24
	10241
	10.544
	0
	0
	25572
	33210
	378584
	389120
	5287612
	5287604

	24
	10251
	10.623
	0
	0
	33222
	41560
	389128
	378513
	5287404
	5287408

	24
	10261
	10.649
	0
	0
	41572
	48860
	378586
	389228
	5287210
	5287203

	24
	10271
	10.787
	0
	0
	48872
	57210
	389291
	378514
	5287019
	5287007

	24
	10281
	10.846
	0
	0
	12
	6610
	378600
	389443
	5286807
	5286805

	24
	10291
	10.873
	0
	0
	6622
	14710
	389418
	378553
	5286607
	5286609

	24
	10301
	10.987
	0
	0
	14722
	21310
	378600
	389583
	5286409
	5286405

	24
	10311
	11.016
	0
	0
	21322
	28960
	389570
	378560
	5286208
	5286207

	24
	10321
	11.081
	0
	0
	28972
	35410
	378595
	389672
	5286007
	5286005

	24
	10331
	11.127
	0
	0
	35422
	43660
	389696
	378576
	5285805
	5285811

	24
	10341
	11.222
	0
	0
	43672
	51110
	378588
	389804
	5285610
	5285609

	25
	10011
	8.873
	0
	0
	12
	4610
	378599
	387470
	5292208
	5292205

	25
	10021
	8.931
	0
	0
	4622
	9760
	387470
	378542
	5292000
	5292008

	25
	10031
	8.973
	0
	0
	9772
	14860
	378605
	387575
	5291808
	5291805

	25
	10041
	9.129
	0
	0
	14872
	20410
	387606
	378481
	5291610
	5291608

	25
	10051
	9.116
	0
	0
	20422
	25360
	378608
	387721
	5291405
	5291408

	25
	10061
	9.262
	0
	0
	25372
	30860
	387738
	378482
	5291218
	5291209

	25
	10071
	9.241
	0
	0
	30872
	36010
	378611
	387849
	5291008
	5291009

	25
	10081
	9.353
	0
	0
	36022
	41760
	387893
	378546
	5290813
	5290806

	25
	10091
	9.466
	0
	0
	41772
	47160
	378589
	388052
	5290614
	5290606

	25
	10101
	9.539
	0
	0
	47172
	53060
	388039
	378503
	5290408
	5290406

	25
	10111
	9.623
	0
	0
	53072
	58310
	378580
	388200
	5290212
	5290210

	25
	10121
	9.591
	0
	0
	58322
	63910
	388170
	378583
	5290005
	5290006

	25
	10131
	9.744
	0
	0
	63922
	69310
	378602
	388343
	5289807
	5289804

	25
	10141
	9.757
	0
	0
	69322
	75010
	388320
	378567
	5289604
	5289608

	25
	10151
	9.866
	0
	0
	75022
	80560
	378608
	388470
	5289408
	5289404

	25
	10161
	9.935
	0
	0
	80572
	86310
	388483
	378552
	5289213
	5289207

	25
	10171
	9.98
	0
	0
	86322
	91110
	378616
	388594
	5289007
	5289004

	25
	10181
	10.099
	0
	0
	91122
	97060
	388614
	378518
	5288807
	5288805

	25
	10191
	10.109
	0
	0
	97072
	102560
	378609
	388715
	5288608
	5288605

	25
	10351
	11.28
	0
	0
	66772
	75160
	389852
	378578
	5285409
	5285407

	25
	10361
	11.371
	0
	0
	75172
	84460
	378606
	389969
	5285209
	5285205

	25
	10371
	11.463
	0
	0
	84472
	93010
	390016
	378559
	5285008
	5285006

	25
	10381
	11.486
	0
	0
	93022
	101810
	378610
	390088
	5284807
	5284810

	25
	10391
	11.589
	0
	0
	101822
	110310
	390135
	378553
	5284604
	5284606

	25
	10401
	11.635
	0
	0
	110322
	118010
	378596
	390226
	5284410
	5284404

	25
	10411
	11.779
	0
	0
	118022
	126910
	390290
	378521
	5284211
	5284203

	25
	10421
	11.791
	0
	0
	126922
	136210
	378606
	390390
	5284008
	5284013

	25
	10431
	11.897
	0
	0
	136222
	145510
	390436
	378547
	5283806
	5283809

	25
	10441
	11.949
	0
	0
	145522
	155260
	378588
	390528
	5283605
	5283603

	25
	10451
	12.09
	0
	0
	155272
	164210
	390595
	378512
	5283406
	5283408

	25
	10461
	12.157
	0
	0
	164222
	173610
	378585
	390734
	5283208
	5283206

	25
	10471
	12.152
	0
	0
	173622
	183010
	390715
	378570
	5283004
	5283011

	26
	10481
	10.694
	0
	0
	12
	7010
	378598
	389262
	5282803
	5282859

	26
	10482
	4.027
	0
	0
	7022
	10460
	386865
	390882
	5282807
	5282802

	26
	10491
	12.382
	0
	0
	10472
	20160
	390874
	378509
	5282621
	5282604

	26
	10501
	12.414
	0
	0
	20172
	28360
	378593
	390996
	5282403
	5282413

	26
	10511
	12.471
	0
	0
	28372
	37760
	391021
	378563
	5282208
	5282208

	26
	10521
	12.587
	0
	0
	37772
	46160
	378583
	391160
	5282004
	5282014

	26
	10531
	12.695
	0
	0
	46172
	55810
	391176
	378497
	5281814
	5281807

	26
	10541
	12.752
	0
	0
	55822
	64360
	378586
	391323
	5281591
	5281615

	26
	10551
	12.824
	0
	0
	64372
	74710
	391312
	378509
	5281429
	5281409

	26
	10561
	12.852
	0
	0
	74722
	82960
	378593
	391435
	5281212
	5281204

	26
	10571
	12.943
	0
	0
	82972
	93760
	391473
	378557
	5281037
	5281000

	26
	10581
	13.007
	0
	0
	93772
	101610
	378591
	391580
	5280809
	5280812

	26
	10591
	13.085
	0
	0
	101622
	111210
	391613
	378542
	5280623
	5280603

	26
	10601
	13.124
	0
	0
	111222
	120060
	378600
	391713
	5280403
	5280412

	26
	10611
	13.279
	0
	0
	120072
	129460
	391755
	378492
	5280213
	5280207

	26
	10621
	13.255
	0
	0
	129472
	138210
	378589
	391834
	5280007
	5280009

	26
	10631
	13.432
	0
	0
	138222
	148460
	391895
	378482
	5279829
	5279814

	26
	10641
	13.423
	0
	0
	148472
	156310
	378583
	391997
	5279609
	5279613

	26
	10681
	13.684
	0
	0
	156322
	164610
	378590
	392264
	5278801
	5278812

	26
	10691
	13.77
	0
	0
	164622
	174260
	392323
	378568
	5278598
	5278610

	26
	10701
	13.88
	0
	0
	174272
	182560
	378586
	392454
	5278405
	5278409

	26
	10711
	13.926
	0
	0
	182572
	191660
	392483
	378568
	5278222
	5278203

	26
	10721
	14.007
	0
	0
	191672
	200260
	378593
	392588
	5278004
	5278003

	26
	10732
	14.096
	0
	0
	200372
	209760
	392621
	378539
	5277827
	5277803

	26
	10742
	14.147
	0
	0
	209772
	218060
	378596
	392735
	5277620
	5277612

	26
	10753
	14.204
	0
	0
	218222
	227810
	392767
	378574
	5277413
	5277398

	27
	10652
	13.5
	0
	0
	12
	10160
	378600
	392091
	5279405
	5279406

	27
	10662
	13.595
	0
	0
	10172
	19860
	392109
	378521
	5279215
	5279207

	27
	10672
	13.644
	0
	0
	19872
	29010
	378594
	392230
	5279006
	5279006

	27
	10763
	14.341
	0
	0
	29022
	38960
	392830
	378496
	5277208
	5277208

	27
	10771
	14.417
	0
	0
	38972
	47410
	378599
	393011
	5277007
	5277004

	27
	10781
	14.507
	0
	0
	47422
	57110
	392996
	378496
	5276810
	5276808

	27
	10791
	14.583
	0
	0
	57122
	65210
	378588
	393166
	5276609
	5276608

	27
	10801
	14.608
	0
	0
	65222
	74360
	393115
	378514
	5276406
	5276408

	27
	10811
	14.665
	0
	0
	74372
	82660
	378609
	393269
	5276206
	5276209

	27
	10821
	14.69
	0
	0
	82672
	91660
	393261
	378577
	5276006
	5276008

	27
	10831
	14.824
	0
	0
	91672
	99760
	378590
	393408
	5275809
	5275801

	27
	10841
	14.887
	0
	0
	99772
	109260
	393426
	378545
	5275609
	5275607

	27
	10851
	14.948
	0
	0
	109272
	116960
	378601
	393545
	5275405
	5275410

	27
	10861
	14.941
	0
	0
	116972
	125360
	393486
	378550
	5275210
	5275204

	27
	10871
	14.922
	0
	0
	125372
	132910
	378605
	393522
	5275007
	5275007

	24
	70051
	18.227
	0
	0
	61422
	71610
	387005
	387004
	5274422
	5292635

	24
	70081
	19.666
	0
	0
	51122
	61410
	386857
	393533
	5292732
	5274253

	25
	70011
	18.185
	0
	0
	7172
	16310
	379006
	379007
	5292578
	5274403

	25
	70021
	18.259
	0
	0
	16322
	26360
	381003
	381005
	5274430
	5292678

	25
	70031
	18.221
	0
	0
	26372
	38710
	383006
	383006
	5292585
	5274380

	25
	70041
	18.242
	0
	0
	38722
	53310
	385003
	385004
	5274408
	5292625

	25
	70061
	12.734
	0
	0
	53322
	61510
	389006
	389005
	5287055
	5274333

	25
	70071
	7.203
	0
	0
	61522
	66760
	391007
	391008
	5274410
	5281607

	
	
	
	
	
	
	
	
	
	
	

	Summary for Flights 24 to 27
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	

	Lines:
	
	
	10011 to 70081
	
	
	
	
	

	Number of survey lines:
	96
	
	
	
	
	
	
	

	Number of (well defined) lines:
	96
	
	
	
	
	
	
	

	Total number of gaps in lines:
	0
	
	
	
	
	
	
	

	Total length of gaps:
	
	0
	
	
	
	
	
	
	

	Total distance:
	
	1,175.06km
	
	
	
	
	
	

	Average Line Length:
	
	12.24km
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	


APPENDIX   5

Flight Logs VH-JWF

APPENDIX   6

Radiometric Calibration Procedures and Results

Cosmic Stripping Tests

Hover Range Plots

Calibration Spectra for Radon, Cosmic and Aircraft

Rad-alt and Baro-alt Calibrations

RADIOMETRIC CALIBRATION RANGE
1. 
INTRODUCTION
Mineral Resources Tasmania requires that radiometric data be calibrated for all helicopter-borne gamma spectrometer surveys. The data are to be used to estimate the concentrations in the ground for the three radio elements, K, U, Th.  Using properly calibrated equipment the results are independent of survey variables such as survey height.

2.
SPECTROMETER CALIBRATIONS

2.1
Calibration frequency
Spectrometer calibrations should be carried out every 12 months.  For this MRT project, the aircraft spectrometer system was recalibrated on 15 December 2000 prior to the commencement of data acquisition

2.2
Calibration pads and stripping ratios
The helicopter spectrometer system was calibrated over the approved set of calibration pads held by the CSIRO at Londonderry, NSW, for the determination of stripping ratios on 15 December 2000. 

Before and after the pad calibration, background and thorium source tests are carried out and recorded digitally. If the pre and post calibration dead-time and background corrected count rate in the thorium window or the two thorium stripping ratios, ( and ( vary by more than 3 percent, the calibration are repeated. All pads are located a distance of a least 20 metres from the detector when they are not being measured. 

If the thorium peak position is found to drift by more than one channel at any time during the survey or during the pad calibrations, the spectra from each pad is energy calibrated and the standard window count rates calculated following the procedure described for the portable spectrometer. Provided that the thorium peak is stable to (1 channel during the entire survey and during the pad calibrations, then the closest whole number of channels corresponding to the standard windows can be used. The stripping ratios are then determined from the standard window count rates using the program PADWIN, with the geometric correction factors set to unity, since they have no effect on the stripping ratios. 


2.3
Attenuation coefficients and sensitivity coefficients
The height attenuation coefficients and system sensitivities were determined using a series of flights on 2 January 2001 over the Bruthen calibration range near Bairnsdale, Victoria. The actual measurement heights are close to 25 m, 35 m, 50 m, 65 m, 95 m, 110 m, 125 m, 140 m, 150 m, 165 m and 190 m both over land and water.  Sufficient data was recorded to ensure reliable conversion of instrument counts to radioelement concentrations. The calibration range was surveyed with a calibrated portable spectrometer on the same day as the calibrations flights.

The data are corrected for aircraft background, cosmic effect and STP and stripped prior to the calculation of exponential height attenuation coefficients.

2.4
Radon calibration
Geo Instruments removed radon background using the spectral ratio technique. 

2.5
Cosmic and aircraft background test flights
A series of flights were made over Lake King close to Bairnsdale to relate the cosmic-ray window to the cosmic and aircraft background components of each window.  A suitable series of flights are at 300 m and at 3000 m intervals.  The flying time at each altitude was for a minimum of 20 minutes. 

3.
GROUND CALIBRATION

The ground calibrations of the airborne calibration range were measured with a calibrated portable spectrometer.  In order to calibrate the airborne gamma spectrometer, the radioelement concentrations of the test strip must be measured at the same time as the calibration flight so that the soil moisture content changes between airborne survey and ground measurements are minimised.  The ground sampling scheme entailed minute observation periods at intervals of 10 m, 30 m, 40 m, 50 m, 65 m, 80 m, 95 m, 120 m and 160 m along perpendicular lines in a north/south and east/west direction over the centre point of the hover range.

4.
DELIVERABLES FROM CALIBRATION RANGE

The results of airborne and ground calibrations, and tabulations and graphs of the results are included in this Appendix.

APPENDIX   7

Magnetometer Compensation Box

APPENDIX   8

Location Maps for Base Stations

Sample Diurnal Magnetic Record

DIURNAL RECORDS

Diurnal magnetic data files were delivered in digital form to MRT.

Two examples of a diurnal magnetic field plot are given in this appendix, one showing a relatively quiet day, and the other showing a magnetic storm.

APPENDIX   9

Plots of Parked Helicopter Position

APPENDIX   10

Thorium Sample Calibration Plots

Crystal Resolution Plots

Pre and Post Flight Spectrometer Calibration Data

APPENDIX   11

Test Line Statistics

APPENDIX  12

Summed 256 Channel Spectra Data Files and Disks

SUMMED 256 CHANNEL SPECTRAL DATA

The summed raw 256 channel spectrometer data for each line are provided  separately on CD ROM as ASCII files together with the program SpecPlot  This allows on- screen viewing manipulating and plotting of each spectrum. An example of a summed spectra plotted by SpecPlot is below.

SpecPlot is a program written by Geo Instruments which allows viewing spectra from Exploranium Gamma Ray spectrometers. Both raw binary and ASCII derived spectra files are supported. The supplied CD-ROM contains only the ASCII derived spectra in the interests of conserving space and allowing fast access to each and every record. The file extension for the ASCII records is .SPA. SpecPlot may be used to view spectra (extension .SPE) from the raw field tapes. These files represent the binary spectral data as generated directly from the spectrometer and are provided to ensure integrity of the original data base.

Unlike previous presentations, SpecPlot allows the viewer to interact with the spectra to zoom in on specific areas, change scale and so forth. A help file is provided with the program to facilitate its use.

ADD TEXT FROM AIRBORNE\OPSREP\APPENDICES

APPENDIX   13

Data Formats

DATA TAPES AND FORMATS

1.
RAW DATA


Raw field data directory format

/Fdat/ 
*.anl
(Raw field analogue files) 


*.geo
(Raw field geophysical data files)



*.mag
(Raw field Magnetometer readings)


*.ref
(Located raw field data post processed)
/Flog/

*.log
(Flight details) 

/Fnav/

*.gps
(Raw field position data files)
/Frad/

*.spe, *.spf
(Raw field radiometric data files, Binary format)

Calibration format  











	A 
	1 7
	0   0   1
	3
	1






Acquisition format












	L
	1 7
	0   5    9
	3
	1





File type

Pre Ground Background

A

Pre Thorium


B

Pre Uranium


C

Pre GND Background

D

Pre Test line


E

Post Test line


G

Post GND Background

I

Post Thorium


J

Post Uranium


K

Post GND Background

M

Flight line 


L

Tie line 


T

Analogue file format  (Fdat directory .anl)


FLT 71 LINE 286 GPSTIME 050548.00  Day  92 15:05:01 WGS84 Zone= 55 

28437 47269.5000 -125 -126 -125 -128 -135    53    52    51    53    53   643   643   643   645   645    28    27    29    29    28    28    28    27    27    28

28438 47270.0000 -131 -127 -127 -133 -125    52    52    54    54    53   646   640   644   643   643    28    28    27    27    28    27    28    28    28    28

28439 47270.5000 -137 -131 -130 -134 -133    53    53    53    53    53   643   644   642   651   649    27    28    30    28    30    28    29    28    27    28

28440 47271.0000 -141 -134 -133 -137 -142    54    55    53    54    53   641   645   640   642   645    27    29    29    29    29    26    28    28    29    28

28441 47271.5000 -152 -157 -142 -146 -150    53    54    54    53    54   643   650   642   643   646    29    28    27    29    30    29    28    28    28    27

28442 47272.0000 -172 -156 -157 -159 -166    52    53    54    54    52   645   648   640   645   646    29    28    30    27    28    28    27    28    27    28

28443 47272.5000 -176 -174 -175 -177 -184    52    53    52    52    53   644   640   649   643   645    28    28    29    28    29    28    28    29    28    28

28444 47273.0000 -171 -187 -176 -179 -174    52    52    53    53    53   646   647   641   641   644    28    28    28    27    28    29    29    28    28    27

28445 47273.5000 -156 -166 -163 -159 -165    53    52    54    53    53   643   642   642   641   644    27    28    29    28    27    26    28    26    28    28

Geo file format  (FDAT directory .geo)


FLT 71 LINE 286 GPSTIME 050548.00  Day  92 15:05:01 WGS84 Zone= 55 

28437 47269.500059848525984852598485159848535984855 1698 171  60  64  74

28438 47270.000059848595984856598485359848525984851 1698 171  60  64  74

28439 47270.500059848805984876598487159848665984862 1735 188  58  42  68

28440 47271.000059849105984903598489659848905984885 1735 188  58  42  68

28441 47271.500059849475984939598493159849235984916 1771 213  52  43  71

28442 47272.000059849935984983598497359849645984955 1771 213  52  43  71

28443 47272.500059850415985030598502159850125985002 1746 195  69  44  73

28444 47273.000059850975985086598507459850625985052 1746 195  69  44  73

28445 47273.500059851655985151598513759851235985110 1704 189  53  57  64


mag file format  (FDAT directory .mag)



FLT 71 LINE 286 GPSTIME 050548.00  Day  92 15:05:01 WGS84 Zone= 55 

# 472691 -23472.19  +6303.24 +54337.94  59525.51 59815.958 59815.878 59848.552 1

# 472692 -23500.24  +6247.32 +54332.32  59525.55 59815.678 59815.870 59848.530 1

# 472693 -23519.66  +6197.40 +54329.63  59525.55 59816.062 59815.861 59848.513 1

# 472694 -23532.15  +6154.25 +54329.10  59525.53 59815.867 59815.869 59848.516 1

# 472695 -23541.01  +6114.23 +54329.61  59525.38 59815.809 59815.880 59848.516 1

# 472696 -23550.09  +6075.26 +54329.62  59524.98 59816.096 59815.888 59848.510 1

# 472697 -23562.09  +6034.05 +54328.51  59524.53 59815.915 59815.912 59848.519 1

# 472698 -23578.27  +5991.11 +54325.84  59524.16 59816.010 59815.939 59848.532 1

# 472699 -23600.19  +5944.73 +54320.92  59523.70 59816.234 59815.975 59848.553 1


Data Format for REF Files (Intermediate processed files)

Line 1  is a generic header line to table line relevant information.

FLT 08 DAY  13 Trav 418 GpsTym 043130.0 LocTym 15:31:31 WGS84 Zone= 55

Field   01  =  Flight number

Field   02  =  Day of year

(related to local time)

Field   03  =  Line type descriptor

Field   04  =  Line  sequence number

Field   05  =  GpsTym Label

Field   06  =  Gps Time Field HHMMSS.s  


Field   07  =  Local time Label

Field   07  =  Local time HH:MM:SS

Field   08  =  Datum reference for GPS positions

Field   09  =  UTM Zone identifier

Line 2 to end of file contains lines of the following format.

365598.8 5822378.4     12 15.52530 +54041.23 +13791.80 +23531.18  60534.17    -0.003 60160.072 60160.831   842   95   25   30   39   64.9  902.4  445.2   29.1  237.8    2.0

Where;

Field   01  =  Float 6.1
Position Easting in metres referenced to UTM Zone as per header

Field   02  =  Float 7.1
Position Northing in metres referenced to UTM Zone as per header

Field   03  =  Int     5.0
System fiducial number (duotonic)

Field   04  =  Float 2.5
System time HH.mmmmm

Field   05  =  Float 6.2
Vector Magnetometer X Axis

Field   06  =  Float 6.2
Vector Magnetometer Y Axis

Field   07  =  Float 6.2
Vector Magnetometer Z Axis

Field   08  =  Float 6.2
Vector Magnetometer Total field

Field   09  =  Float 3.3
Raw magnetometer fourth difference noise figure.

Field   10  =  Float 6.3
Total field Magnetometer raw uncompensated

Field   11  =  Float 6.3
Total field Magnetometer  compensated

Field   12  =  Int     4.0
Radiometrics Total count channel count/sec dead time corrected

Field   13  =  Int     3.0
Radiometrics Potassium channel count/sec dead time corrected

Field   14  =  Int     3.0
Radiometrics Bi 214 (uranium) channel count/sec dead time corrected.

Field   15  =  Int     3.0
Radiometrics Thorium channel count/sec dead time corrected.

Field   16  =  Int     3.0
Radiometrics Cosmic channel count/sec dead time corrected

Field   17  =  Float 4.1
Radar altimeter  meteres above radar reflective terrain.

Field   18  =  Float 4.1
Barometeric pressure in hectoPascals.

Field   19  =  Float 4.1
Gps height above ellipsoid.

Field   20  =  Float 4.1
Outside air temperature in degrees Celsius.

Field   21  =  Float 4.1
Dummy value to preserve formatting

Field   21  =  Float 4.1
Dummy value to preserve formatting

log file format  (Flog directory .log)
(Geo Instruments internal use only)

FLIGHT LOG FOR FLIGHT 41    DOY  62 LocalTime 09:26:06  Area 1   Datum = WGS84

_____________________________________________________________________________


Line
File    
Fid    
Time     
East
North
Len
Alarms

_____________________________________________________________________________

PRE1.GND
1
A4100111
0
09:37:14
420563 
5897863

                          

241
09:39:15 
420563 
5897863
0.000
241

PRE.THOR
2
B4100211
241
09:39:19
420563
5897863




481
09:41:19
420563
5897863
0.000
240

PRE.URNM
3
C4100311
481
09:42:21
420563
5897862




721
09:44:21
420563
5897863
0.001
240

PRE2.GND
4
D4100411
721
09:46:02
420563
5897863




961
09:48:02
420563
5897862
0.001
240

PRE.TEST
5
E4100511
961
09:52:12
423816
5895694




1241
09:54:32
429008
5894968
5.243
228

Raw Position Data (Fnav directory .gps)

 FLT 71 LINE 286 GPSTIME 050548.00  Day  92 15:05:01 WGS84 Zone= 55 

47269.5000050548.00 481988.85849382.01369.3     0    6.0

47270.0000050548.00 481988.85849382.01369.3     0    6.0

47270.5000050549.00 482021.45849383.71371.7     0    5.0

47271.0000050549.00 482021.45849383.71371.7     0    5.0

47271.5000050550.00 482054.55849384.91373.6     2    6.0

47272.0000050550.00 482054.55849384.91373.6     2    6.0

47272.5000050551.00 482088.05849385.81374.8     2    6.0

47273.0000050551.00 482088.05849385.81374.8     2    6.0

47273.5000050552.00 482122.25849386.71375.4     3    7.0


Raw Radiometric Spectral Data FRAD Directory (Binary file)
 *.SPE Format
BYTE #
Data Format

1 - 70    
Geo Instruments ASCII file header  

71 - 90
Exploranium ASCII data

91 - 646   
Exploranium Binary data

BYTE #
DATA
COMMENTS

1
Start of Geo Instruments ASCII file header

1 – 5 
ASCII Text 
“FLT ”

6 – 7 
FLIGHT 
FLIGHT NUMBER (0 – 99)

8 – 13 
ASCII Text
“ LINE “

14 – 16 
LINE 
LINE NUMBER (0 – 999)

17 – 25 
ASCII Text 
“ GPSTIME “

26 – 34 
GPS TIME
HHMMSS.SS

35 – 40 
ASCII Text
“  Day “

41 – 44
DAY
JULIAN DAY (1 – 365)

45 – 46 
Local Time (Hrs)
HH

47

ASCII Text 
“:”

48 – 49 
Local Time (Mins)
MM

50

ASCII Text
“:”

51 – 52
Local Time (Secs)
SS

53 – 59 
ASCII Text
Acquisition Datum “ WGS84 “

60 – 65 
ASCII Text
Acquisition Projection (UTM)  “Zone= “

66 – 68 
UTM Zone

69 
<cr>
Carriage Return

70
<lf>
Line Feed 


-------------------------------------------------------------------------------------------------------------------------

71
Start of Exploranium ASCII data

71

U (55 H) 
Sync Character – May be used by data Acq. System

72

U (55 H)
System to check that data transfer is ok

-------------------------------------------------------------------------------------------------------------------------

73     
G – sync codes

74   
R

-------------------------------------------------------------------------------------------------------------------------

75

“x”  
ERROR CODE 

-------------------------------------------------------------------------------------------------------------------------

76

“n” 
ERROR XTAL

-------------------------------------------------------------------------------------------------------------------------

77 
X

78 
X 
Serial #

-------------------------------------------------------------------------------------------------------------------------

79

Y – YEAR
REAL TIME CLOCK

80             
Y

81   
M – MONTH

82  
M

83    
D – DAY

84   
D

85  
H – HOUR

86   
H

87  
M – MINUTE

88    
M

89 
S – SECOND

90   
S

------------------------------------------------------------------------------------------------------------------------

91
Start of Exploranium Binary data

91

DATA 1 BYTE
# OF DOWN DETECTORS

92

DATA 1 BYTE
# OF UP DETECTORS

-------------------------------------------------------------------------------------------------------------------------


93  
L

94 
H
SAMPLE TIME (mSec) – 2 BYTES

--------------------------------------------------------------------------------------------------------------------------

95 
L

96  
H
LIVE-TIME (mSec) – 2 BYTES

--------------------------------------------------------------------------------------------------------------------------

97  
L

98  
H
COSMIC CHANNEL – 2 BYTES

--------------------------------------------------------------------------------------------------------------------------

99  
L

100   
H
RESOLUTION – e.g. 87 = 8.7% (in isotope units)

--------------------------------------------------------------------------------------------------------------------------

101  
L

102  
H
CHECKSUM

---------------------------------------------------------------------------------------------------------------------------

103    
L

104
H
ROI’s # 1-8 = 4 BYTES/ROI

----------------------------------------------------------------------------------------------------------------------------

105 – 646 

256 CHANNELS FROM DOWN DETECTOR




CHANNEL 0 FIRST




CHANNEL 255 LAST




2 BYTES/CHANNEL – LOW BYTE FIRST

--------------------------------------------------------------------------------------------------------------------------

TOTAL BLOCK LENGTH = 646 BYTES

Raw Radiometric Spectral Data FRAD Directory (Binary file)
 *.SPF Format
BYTE #
Data Format

1  - 54   
Geo Instruments ASCII file header  

55 - 74    
Exploranium ASCII data

75 - 630  
Exploranium Binary data

BYTE #
DATA
COMMENTS

1
Start of Geo Instruments ASCII file header

1 – 5 
ASCII Text
“FLT ”

6 – 7 
FLIGHT 
FLIGHT NUMBER (0 – 99)

8 – 13 
ASCII Text
“ LINE “

14 – 16 
LINE 
LINE NUMBER (0 – 999)

17 – 25 
ASCII Text 
“ GPSTIME “

26 – 34 
GPS TIME
HHMMSS.SS

35 – 40 
ASCII Text
“  Day “

41 – 44
DAY
JULIAN DAY (1 – 365)

45 – 46 
Local Time (Hrs)
HH

47

ASCII Text 
“:”

48 – 49 
Local Time (Mins)
MM

50

ASCII Text
“:”

51 – 52
Local Time (Secs)
SS

53

<cr>
Carriage Return

54 
<lf> 
Line Feed

-------------------------------------------------------------------------------------------------------------------------

55

Start of Exploranium ASCII data

55

U (55 H) 
Sync Character – May be used by data Acq. System

56

U (55 H)
System to check that data transfer is ok

-------------------------------------------------------------------------------------------------------------------------

57     
G – sync codes

58   
R

-------------------------------------------------------------------------------------------------------------------------

59

“x”  
ERROR CODE 

-------------------------------------------------------------------------------------------------------------------------

60

“n” 
ERROR XTAL

-------------------------------------------------------------------------------------------------------------------------

61 
X

62 
X 
Serial #

-------------------------------------------------------------------------------------------------------------------------

63

Y – YEAR
REAL TIME CLOCK

64             
Y

65   
M – MONTH

66  
M

67    
D – DAY

68   
D

69  
H – HOUR

70   
H

71  
M – MINUTE

72    
M

73 
S – SECOND

74  
S

------------------------------------------------------------------------------------------------------------------------

75
Start of Exploranium Binary data

75

DATA 1 BYTE
# OF DOWN DETECTORS

76

DATA 1 BYTE
# OF UP DETECTORS

-------------------------------------------------------------------------------------------------------------------------


77  
L

78 
H
SAMPLE TIME (mSec) – 2 BYTES

--------------------------------------------------------------------------------------------------------------------------

79 
L

80  
H
LIVE-TIME (mSec) – 2 BYTES

--------------------------------------------------------------------------------------------------------------------------

81  
L

82  
H
COSMIC CHANNEL – 2 BYTES

--------------------------------------------------------------------------------------------------------------------------

83

L

84

H
RESOLUTION – e.g. 87 = 8.7% (in isotope units)

--------------------------------------------------------------------------------------------------------------------------

85  
L

86  
H
CHECKSUM

---------------------------------------------------------------------------------------------------------------------------

87

L

88

H
ROI’s # 1-8 = 4 BYTES/ROI

----------------------------------------------------------------------------------------------------------------------------

89 – 630 

256 CHANNELS FROM DOWN DETECTOR




CHANNEL 0 FIRST




CHANNEL 255 LAST




2 BYTES/CHANNEL – LOW BYTE FIRST

--------------------------------------------------------------------------------------------------------------------------

TOTAL BLOCK LENGTH = 630 BYTES

2. FINAL LOCATED DATA FORMATS

Project: 

TASMANIA  2001

Survey names: 
Area C - Western Tasmania.




Area E - D'Aguilar Range.
CO-ORDINATES OF THE VERTICES OF AREA C.

Projection: TMAMG55, Datum AGD66

   mE          mN

360000.0    5440000.0

360000.0    5450000.0

389000.0    5450000.0

389000.0    5430000.0

421000.0    5430000.0

421000.0    5420000.0

445000.0    5420000.0

445000.0    5390000.0

416000.0    5390000.0

416000.0    5397000.0

410000.0    5397000.0

410000.0    5392000.0

398000.0    5388000.0

398000.0    5385600.0

407000.0    5384600.0

405000.0    5373600.0

397000.0    5368000.0

390000.0    5368000.0

393500.0    5349000.0

403000.0    5347000.0

399000.0    5336000.0

395000.0    5336000.0

395000.0    5325000.0

388000.0    5325000.0

388000.0    5310000.0

380000.0    5310000.0

380000.0    5314000.0

374000.0    5315091.0

374000.0    5340000.0

353787.0    5340000.0

353500.0    5345000.0

335500.0    5369000.0

329000.0    5380000.0

351500.0    5380000.0

351500.0    5404000.0

341000.0    5410000.0

341000.0    5437000.0

338000.0    5440000.0

360000.0    5440000.0

CO-ORDINATES OF THE VERTICES OF AREA E.

Projection: TMAMG55,  Datum AGD66

   mE          mN

379000.0    5292000.0

387000.0    5292000.0

393181.0    5275000.0

379000.0    5275000.0

379000.0    5292000.0



LOCATED DATA FILES
Data type: 

Final ASCII ASEG GDF2 located data

Archive Media: 
CDs (Joliet format)

DATA FILE CONTENTS:

Area C - Western Tasmania:
AREA_C_MAG_Trav1.dat 

( magnetic data for lines 10011 - 11601)

AREA_C_MAG_Trav2.dat 

( magnetic data for lines 11611 - 12601)

AREA_C_MAG_Trav3.dat 

( magnetic data for lines 12611 - 14001)

AREA_C_MAG_Trav4.dat 

( magnetic data for lines 14011 - 15401)

AREA_C_MAG_Trav5.dat 

( magnetic data for lines 15411 - 17371)

AREA_C_MAG_Ties.dat 

( magnetic data for tie lines)

AREA_C_RAD_Trav.dat 

( radiometric data for all lines)

AREA_C_RAD_Ties.dat

( radiometric data for tie lines)

AREA_C_RAD256_Trav1.dat 
( radiometric data for lines 10011 - 11601)

AREA_C_RAD256_Trav2.dat 
( radiometric data for lines 11611 - 12601)

AREA_C_RAD256_Trav3.dat 
( radiometric data for lines 12611 - 14001)

AREA_C_RAD256_Trav4.dat 
( radiometric data for lines 14011 - 15401)

AREA_C_RAD256_Trav5.dat 
( radiometric data for lines 15411 - 17371)

AREA_C_RAD256_Ties.dat 

( radiometric data for tie lines)   

Area E - D'Aguilar Range:                                       

AREA_E_MAG.dat 


(magnetic data for all lines)   

AREA_E_RAD.dat 


(radiometric data for all lines)

AREA_E_RAD256.dat 

(radiometric 256 data for all lines)

Test Lines - complete survey.

TESTLINES_MAG.dat 

(magnetic data for test lines)

TESTLINES_RAD256.dat 

(radiometric 256 data for test lines)

MAGNETIC LOCATED DATA FORMAT

Field             Null Value  
Description

Column  1    99999         
line number          

Column  2    99            
flight          

Column  3    99999999      
date (YYYYMMDD)           

Column  4    9999999       
julian_day  (YYYYDDD)     

Column  5    999999        
fiducial            

Column  6    99.99999      
time (decimal hours)          

Column  7    999999.99     
AGD66 easting  (metres, TMAMG Zone 55)

Column  8    9999999.99    
AGD66 northing (metres, TMAMG Zone 55)

Column  9    999999.99    
GDA94 easting  (metres, MGA Zone 55)

Column 10    9999999.99    
GDA94 northing (metres, MGA Zone 55)

Column 11    999.99999999  
GDA94 longitude (decimal degrees, GEODETIC)

Column 12    -99.99999999  
GDA94 latitude  (decimal degrees, GEODETIC)

Column 13    99999.999     
Raw uncompensated magnetics (nanoTeslas)

Column 14    99999.999     
Compensated magnetics (nanoTeslas)

Column 15    99999.999     
Diurnal & IGRF corrected magnetics (nanoTeslas)

Column 16    99999.999     
Levelled magnetics  (nanoTeslas)

Column 17    99999.999     
Final magnetics microlevelled(nanoTeslas)

Column 18    99999.999     
Diurnal (nanoTeslas)

Column 19    99999.999  
IGRF (nanoTeslas)

Column 20    9999.9        
Final digital terrain model (metres, AHD)

Column 21    9999.9        
Final barometric pressure (millibars)

Column 22    9999.9        
Final radar altimeter (metres) 

Column 23    9999.9        
Final barometric pressure (metres)    

Column 24    9999.9        
Final gps height (metres)        

Column 25    999.9         
Final temperature (degrees celsius)  

Column 26    9             
Data used_flag (0=unused, 1=used)

ASEG GDF2 .dfn FILE FOR MAGNETIC LOCATED DATA:

DEFN 1 ST=RECD,RT=;lineNumber_FINAL:I6:NULL=99999

DEFN 2 ST=RECD,RT=;FlightNumber:I3:NULL=99

DEFN 3 ST=RECD,RT=;Date_YYYYMMDD:I9:NULL=99999999

DEFN 4 ST=RECD,RT=;JulianDay_YYYYDDD:I8:NULL=9999999

DEFN 5 ST=RECD,RT=;Fiducial:I7:NULL=999999

DEFN 6 ST=RECD,RT=;Local_Time_DecHrs:F9.5:NULL=99.99999

DEFN 7 ST=RECD,RT=;AGD66TMAMG55_EAST:F10.2:NULL=999999.99

DEFN 8 ST=RECD,RT=;AGD66TMAMG55_NORTH:F11.2:NULL=9999999.99

DEFN 9 ST=RECD,RT=;GDA94MGA55_EAST:F10.2:NULL=999999.99

DEFN 10 ST=RECD,RT=;GDA94MGA55_NORTH:F11.2:NULL=9999999.99

DEFN 11 ST=RECD,RT=;GDA94GEODETIC_LAT:F13.8:NULL=999.99999999

DEFN 12 ST=RECD,RT=;GDA94GEODETIC_LONG:F13.8:NULL=-99.99999999

DEFN 13 ST=RECD,RT=;Magnetics_Raw_Uncompensated:F10.3:NULL=99999.999

DEFN 14 ST=RECD,RT=;Magnetics_Compensated:F10.3:NULL=99999.999

DEFN 15 ST=RECD,RT=;Magnetics_DiurnalIGRFCorrected:F10.3:NULL=99999.999

DEFN 16 ST=RECD,RT=;Magnetics_levelled:F10.3:NULL=99999.999

DEFN 17 ST=RECD,RT=;Magnetics_Final_microlevelled:F10.3:NULL=99999.999

DEFN 18 ST=RECD,RT=;Diurnal:F10.3:NULL=99999.999

DEFN 19 ST=RECD,RT=;IGRF:F10.3:NULL=99999.999

DEFN 20 ST=RECD,RT=;Digital_Terrain_Model_AHD_metres:F7.1:NULL=9999.9

DEFN 21 ST=RECD,RT=;Pressure_Millibars:F7.1:NULL=9999.9

DEFN 22 ST=RECD,RT=;Radar_Altimeter_metres:F7.1:NULL=9999.9

DEFN 23 ST=RECD,RT=;Barometric_Height_metres:F7.1:NULL=9999.9

DEFN 24 ST=RECD,RT=;GPS_Height_metres:F7.1:NULL=9999.9

DEFN 25 ST=RECD,RT=;Temperature_DegC:F6.1:NULL=999.9

DEFN 26 ST=RECD,RT=;Data_Used_yes1:I2:NULL=9;END DEFN

RADIOMETRIC LOCATED DATA FORMAT:

Field             Null Value    
Description

Column  1    99999         
line number          

Column  2    99            
flight          

Column  3    99999999      
date (YYYYMMDD)           

Column  4    9999999       
julian_day  (YYYYDDD)     

Column  5    999999        
fiducial            

Column  6    99.99999     
time (decimal hours)          

Column  7    999999.99   
AGD66 easting  (metres, AMG Zone 55)

Column  8    9999999.99    
AGD66 northing (metres, AMG Zone 55)

Column  9    999999.99     
GDA94 easting  (metres, MGA Zone 55)

Column 10    9999999.99    
GDA94 northing (metres, MGA Zone 55)

Column 11    999.99999999  
GDA94 longitude (decimal degrees, GEODETIC)

Column 12    -99.99999999  
GDA94 latitude  (decimal degrees, GEODETIC)

Column 13    99999.999     
Final magnetics (nanoTeslas)

Column 14    999.99        
live time (milliseconds)        

Column 15    9999         
Cosmic_background (cps)           

Column 16    9999          
Raw potassium (cps)              

Column 17    9999          
Raw uranium (cps)                 

Column 18    9999          
Raw thorium (cps)                 

Column 19    99999        
Raw total count (cps)                  

Column 20    9999.999      
Final Potassium_percent     

Column 21    9999.999      
Final Uranium ppm           

Column 22    9999.999      
Final Thorium (ppm)          

Column 23    99999.999    
Final Total Count (nG/h)    

Column 24    9999.9        
Final digital terrain model (metres, AHD)  

Column 25    9999.9        
Final barometric pressure (metres)      

Column 26    9999.9        
Final barometric pressure (millibars)          

Column 27    9999.9        
Effective_STP_Height_metres   

Column 28    9999.9        
Final radar altimeter (metres)        

Column 29    9999.9        
Final gps height (metres)               

Column 30    999.9         
Final temperature (degrees celsius)               

Column 31    9             
Data used_flag (0=unused, 1=used)             

ASEG GDF2 .dfn FILE FOR RADIOMETRIC LOCATED DATA:

DEFN 1 ST=RECD,RT=;lineNumber_FINAL:I6:NULL=99999

DEFN 2 ST=RECD,RT=;FlightNumber:I3:NULL=99

DEFN 3 ST=RECD,RT=;Date_YYYYMMDD:I9:NULL=99999999

DEFN 4 ST=RECD,RT=;JulianDay_YYYYDDD:I8:NULL=9999999

DEFN 5 ST=RECD,RT=;Fiducial:I7:NULL=999999

DEFN 6 ST=RECD,RT=;Local_Time_DecHrs:F9.5:NULL=99.99999

DEFN 7 ST=RECD,RT=;AGD66TMAMG55_EAST:F10.2:NULL=999999.99

DEFN 8 ST=RECD,RT=;AGD66TMAMG55_NORTH:F11.2:NULL=9999999.99

DEFN 9 ST=RECD,RT=;GDA94MGA55_EAST:F10.2:NULL=999999.99

DEFN 10 ST=RECD,RT=;GDA94MGA55_NORTH:F11.2:NULL=9999999.99

DEFN 11 ST=RECD,RT=;GDA94GEODETIC_LAT:F13.8:NULL=999.99999999

DEFN 12 ST=RECD,RT=;GDA94GEODETIC_LONG:F13.8:NULL=-99.99999999

DEFN 13 ST=RECD,RT=;Magnetics_Final_microlevelled:F10.3:NULL=99999.999

DEFN 14 ST=RECD,RT=;live_time_milliseconds:F6.0:NULL=99999

DEFN 15 ST=RECD,RT=;Cosmic_background_cps:F5.0:NULL=9999

DEFN 16 ST=RECD,RT=;Raw_potassium_cps:F5.0:NULL=9999

DEFN 17 ST=RECD,RT=;Raw_uranium_cps:F5.0:NULL=9999

DEFN 18 ST=RECD,RT=;Raw_thorium_cps:F5.0:NULL=9999

DEFN 19 ST=RECD,RT=;Raw_total_cps:F5.0:NULL=99999

DEFN 20 ST=RECD,RT=;Final_Potassium_percent:F8.4:NULL=999.9999

DEFN 21 ST=RECD,RT=;Final_Uranium_ppm:F8.4:NULL=999.9999

DEFN 22 ST=RECD,RT=;Final_Thorium_ppm:F8.4:NULL=999.9999

DEFN 23 ST=RECD,RT=;Final_Total_Count_nGh:F9.3:NULL=99999.999

DEFN 24 ST=RECD,RT=;Digital_Terrain_Model_metres:F7.1:NULL=9999.9

DEFN 25 ST=RECD,RT=;Barometric_Height_metres:F7.1:NULL=9999.9

DEFN 26 ST=RECD,RT=;Pressure_Millibars:F7.1:NULL=9999.9

DEFN 27 ST=RECD,RT=;Effective_STP_Height_metres:F7.1:NULL=9999.9

DEFN 28 ST=RECD,RT=;Radar_Altimeter_metres:F7.1:NULL=9999.9

DEFN 29 ST=RECD,RT=;GPS_Height_metres:F7.1:NULL=9999.9

DEFN 30 ST=RECD,RT=;Temperature_DegC:F6.1:NULL=999.9

DEFN 31 ST=RECD,RT=;Data_Used_yes1:I2:NULL=9;END DEFN

***************************************************************************

RADIOMETRIC 256 CHANNEL DATA:

Files:


2016Rad256.LDT.dat




2016Rad256.LDT.dfn

Format:

ASEG GDF2 :  ASCII Columns

Null:


-999

Field     

Description

Line_Number

Line number    (1000+ for Traverses, 7000+ for Tie Lines )      

Fiducial   

Fiducial Geo Instruments system  

Time_Seconds   
Time (Decimal Hours) 

Julian   

Julian_day  (DDD, year 2000)                

  Y1       

Northing ( WGS84  metres, SUTM55)

  X1       

Easting  ( WGS84  metres, SUTM55)                

  Y2       

Northing ( GDA94 metres, MGA55)

  X2       

Easting  ( GDA94 metres, MGA55)

  Y3       

Northing ( ISG553 metres, TMAMG55)

  X3       

Easting  ( ISG553 metres, TMAMG55)

Radalt   

Radar altimeter (metres)

Baroalt    

Baroalt  (raw)

Temperature    
Temperature (deg C)

LiveTime

System livetime (milliseconds)

Cosmic

Cosmic (counts )

Potas_Raw

Potassium Raw (counts) 

Thor_Raw

Thorium Raw (counts) 

Uran_Raw

Uranium Raw (counts) 

Totalc_Raw

Total count Raw (counts) 

Potas_Corrected
Potassium Corrected (Percent)

Thor_Corrected
Thorium Corrected (PPM) 

Uran_Corrected
Uranium Corrected (PPM) 

Totalc_Corrected 
Total count Corrected (counts) 

TMI_FINAL

Final magnetics  (microlevelled)  (nanoTeslas)

DTM_FINAL    
Final digital terrain model (metres)

Spectrum

GR820 257 channel radiometric spectrum (counts)

AGEG GDF2 FORMAT '.DFN' FILE INCLUDED FOR RADIOMETRIC 256 CHANNEL DATA:
DEFN 1 ST=RECD,RT=;LineNumber:I8:NULL=-999

DEFN 2 ST=RECD,RT=;Fiducial:I9:NULL=-999

DEFN 3 ST=RECD,RT=;Time_Decimal_Hours:F13.6:NULL=-999

DEFN 4 ST=RECD,RT=;Julian_Day:I7:NULL=-999

DEFN 5 ST=RECD,RT=;WGS84_SUTM55_NORTH:F12.2:NULL=-999

DEFN 6 ST=RECD,RT=;WGS84_SUTM55_EAST:F12.2:NULL=-999

DEFN 7 ST=RECD,RT=;GDA94_MGA55_NORTH:F12.2:NULL=-999

DEFN 8 ST=RECD,RT=;GDA94_MGA55_EAST:F12.2:NULL=-999

DEFN 9 ST=RECD,RT=;ISG553_TMAMG55_NORTH:F12.2:NULL=-999

DEFN 10 ST=RECD,RT=;ISG553_TMAMG55_EAST:F12.2:NULL=-999

DEFN 11 ST=RECD,RT=;Radar_Altimeter:F10.2:NULL=-999

DEFN 12 ST=RECD,RT=;Baroalt_Raw:F10.2:NULL=-999

DEFN 13 ST=RECD,RT=;Temperature_degC:F10.2:NULL=-999

DEFN 14 ST=RECD,RT=;LiveTime_milliseconds:F10.2:NULL=-999

DEFN 15 ST=RECD,RT=;Cosmic:F10.2:NULL=-999

DEFN 16 ST=RECD,RT=;Potassium_RawCounts:F10.2:NULL=-999

DEFN 17 ST=RECD,RT=;Thorium_RawCounts:F10.2:NULL=-999

DEFN 18 ST=RECD,RT=;Uranium_RawCounts:F10.2:NULL=-999

DEFN 19 ST=RECD,RT=;TotalCount_RawCounts:F10.2:NULL=-999

DEFN 20 ST=RECD,RT=;Potassium_Percent:F10.3:NULL=-999

DEFN 21 ST=RECD,RT=;Thorium_PPM:F10.3:NULL=-999

DEFN 22 ST=RECD,RT=;Uranium_PPM:F10.3:NULL=-999

DEFN 23 ST=RECD,RT=;TotalCount_CorrCounts:F10.3:NULL=-999

DEFN 24 ST=RECD,RT=;TMI_FINAL:F10.2:NULL=-999

DEFN 25 ST=RECD,RT=;DTM_FINAL:F10.2:NULL=-999

DEFN 26 ST=RECD,RT=;spectrum:I7:NULL=-999

DEFN 27 ST=RECD,RT=;spectrum:I7:NULL=-999

DEFN 28 ST=RECD,RT=;spectrum:I7:NULL=-999

DEFN 282 ST=RECD,RT=;spectrum:I7:NULL=-999

DEFN 283 ST=RECD,RT=;spectrum:I7:NULL=-999;END DEFN

GRIDDED DATA FILES:

Format:
ER Mapper

Cell size:
40 metres

Datum:

AGD66

Projection:
TMAMG


Zone:
 
55

Files:
TMI..GRID              

Total magnetic intensity (nanoTeslas)


TMI_1VD..GRID

First vertical derivative TMI (nT/m)


DTM..GRID              

Digital terrain model (metres)


Potassium_Perc..GRID    
Potassium (percent)


Thorium_PPM..GRID       
Thorium (ppm)


Uranium_PPM..GRID       
Uranium (ppm)


TotalC_Ngph..GRID

Total Dose Rate (Ngph)


Radar_Altimeter..GRID
Radar_Altimeter (metres)

QC PLOT FILES:

Format: HPGL2

Files: As listed below


AREA C - Western Tasmania. FIELD QC MAPS:

100K_TAS_N_4thDIFF.prn

100K_TAS_N_Flight_FieldLines.prn

100K_TAS_N_Misclosure.prn

100K_TAS_N_Radalt.prn

100K_TAS_S_4thDIFF.prn

100K_TAS_S_Flight_FieldLines.prn

100K_TAS_S_Misclosure.prn

100K_TAS_S_Radalt.prn

200K_TAS_NS_Flight_FieldLines.prn

AREA C - Western Tasmania. FINAL QC MAPS:

100K_TAS_N_Flight_FinalLines.prn

100K_TAS_S_Flight_FinalLines.prn

250K_Tas_1VD_Sun.prn

250K_Tas_DTM_Sun.prn

250K_Tas_Potas_Sun.prn

250K_Tas_RGB.prn

250K_Tas_TMI_Sun.prn

250K_Tas_Thor_Sun.prn

250K_Tas_TotalC_Sun.prn

250K_Tas_Uran_Sun.prn

AREA E - D'Aguilar Range. FIELD QC MAPS:

50K_TAS_SmallA_4thDIFF.prn

50K_TAS_SmallA_Flight_Fieldlines.prn

50K_TAS_SmallA_Misclosure.prn

50K_TAS_SmallA_Radalt.prn

AREA E - D'Aguilar Range. FINAL QC MAPS:

100K_TAS_DTM_Sun.prn

100K_TAS_Flight_FinalLines.prn

100K_TAS_Potas_Sun.prn

100K_TAS_RGB.prn

100K_TAS_TMI_1VD_Sun.prn

100K_TAS_TMI_Sun.prn

100K_TAS_Thor_Sun.prn

100K_TAS_Tot_Sun.prn

100K_TAS_Uran_Sun.prn

DATA ACQUISITION

 AIRBORNE SURVEY SPECIFICATIONS   

 Survey flown:                  
January 2001 - March 2001

 Traverse line spacing:         
200 metres

 Traverse line direction:       
090/270 degrees

 Tie line spacing:              
2000 metres

 Tie line direction:            
000/180 degrees

 Survey height:                 
Magnetometer on boom at 80m agl

                                

Spectrometer detector in aircraft at 80m agl

 Data acquisition:       

Geo Instruments Model G2001 system

 Aircraft:                     

Bell 206BIII helicopter VH-JWF 

 MAGNETOMETER

 Type:                          
Geometrics G822A Caesium vapour

 Resolution:                    
0.001 nT

 Recording interval:           
0.1 sec (approx. 3.0 metres sampling)

 Compensation:                  
RMS AADCII real time system

 Installation:                  
Magnetometer mounted on forward boom

 GAMMA SPECTROMETER

 Type:                          
Exploranium GR820 256 channel

 Crystal volume:           
Downward looking 16.8 litres

 Recording interval:            
1.0 sec (approx. 30 metres sampling)

 Spectral windows IAEA:        Window Range            Energy (MeV)

                                

From      
To       

From       
To

 Total Count:                   
34        
233           
0.41       
2.81

 Potassium (K40):               
115       
131           
1.37       
1.57

 Uranium (Bi214):               
139       
155           
1.66       
1.86

 Thorium (Tl208):               
202       
233           
2.41       
2.81

 Cosmic:                       
   -      

   -            
3.00      
>6.00

 Calibration:   Real-time automatic gain stabilization based on tracking of the Thorium peak

 NAVIGATION              

 Flight path navigation:    
Real time satellite

                                

Differential GPS system

 Navigation equipment:        
Fugro OMNISTAR GPS receivers

 Flight path record:            
WGS84 Easting/ Northing coordinates converted to

                                

AGD66 XY coordinates 

 Radar altimeter:               
Collins Alt50

 DGPS base station:             
Fugro OMNISTAR(Wide Area Network)

DATA PROCESSING

MAGNETIC DATA

The magnetic data has been corrected for regional gradient by subtraction of IGRF model 2001.2 and secular variation model 1995-2000. Diurnal variations have been removed. System parallax

has been removed. Tieline levelling has been applied. Microlevelling has been applied. The mean diurnal value and the IGRF base value have been added to the data.

GAMMA SPECTROMETRIC DATA

 NASVD noise reduction applied using 4 retained components

 Live time corrected,  Cosmic and aircraft background removed

 Radon correction method:     Spectral ratioing  C1= 1.90 C2= 0.65

 Temperature and pressure corrected

 Compton stripping:            
VH-JWF                  

 Alpha:                         
0.2728                  

 Beta:                          
0.4435                  

 Gamma:                         
0.7861                  

 Height attenuated to:          
73 metres mean terrain clearance

 Total count:                   
0.00630/metre          

 Potassium count:               
0.00910/metre          

 Uranium count:                 
0.00510/metre          

 Thorium count:                
0.00730/metre          

 Sensitivity constants:         
VH-JWF                  

 Total Count - 1ngray/hr:       19.97 cps               

 Potassium - 1%:                
76.00 cps                

 Uranium - 1ppm:                
6.88 cps                 

 Thorium - 1ppm:               
4.20 cps                

 Calibration ranges:           
Bruthen Range (hovering), Londonderry, NSW (CSIRO pads)

 GRIDDING

 Algorithm:                     
Akima spline

 Grid mesh size:                
40 x 40 metres

 Grid filter:                   
None

 LINE NUMBERING

 Line numbers are in the form 'AbcdE' where

 A = Line type (1 = traverse, 7 = tie, 9 = test)

 bcd = line sequence number

 E = line attempt number

 eg: 
10021 is traverse line 2 attempt 1

     
70482 is tie lie 48 attempt 2

     
91161 is the first test line from flight 116

TECHNICAL SUPERVISION

Mineral Resources Tasmania and Geo Instruments Pty Ltd.

 BIBLIOGRAPHIC REFERENCE

 Surveyed by:                   

Geo Instruments Pty Ltd, Sydney

 Geo Instruments job number:    
2101

 Processed by:                  

Geo Instruments Pty Ltd

 Grid production by:            

Geo Instruments Pty Ltd

GPS Altitude (Metres)





RTCM Update (seconds)





Track Error (Metres)





AMG Easting and Northing (Metres)





GPS Time





Time (Elapsed seconds)





Acquisition Datum & Projection





Local time





Day of year





GPS time





Line number





Flight number




































































Mode (Compensated = 1)





Filtered compensated mag





Filtered uncompensated mag





Raw Mag





Vector TMI





Magnetic Reading (Z Direction)





Magnetic Reading (Y Direction)





Magnetic Reading (X Direction)





Elapsed time (1.0 sec interval)








Acquisition Datum & Projection





Local time





Day of year





GPS time





Line number





Flight number





Magnetometer readings (nT) (x5)





Cosmic Counts 





Thorium Counts 





Uranium Counts 





Potassium Counts 





Total Counts 





Elapsed time (0.5 sec interval)








Fiducial number





Acquisition Datum & Projection





Local time





Day of year





GPS time





Line number





Flight number





Dummy Values





Fiducial





Radar alt (x 5) (Binary mV)





Air Temperature (x 5) (Binary mV)








Barometric pressure (x 5) (Binary mV)








Elapsed time (0.5 sec interval)





Acquisition Datum & Projection





Local time





Day of year





GPS time





Line number





Flight number





Survey area identifier





Attempt (1 - first attempt,


 2 - second attempt, etc)


 etc, 1 to 9)





Line sequence number (eg line 059)





Flight number (eg flight 17)





File Type 





Survey area identifier





Attempt (1 - first attempt,


 2 - second attempt, etc 1 to 9)





 sequence number (eg A 001, B 002, C 003 etc)





Flight number (eg flight 17)





File Type 








�PAGE \# "'Page: '#'�'"  ��





Geo Instruments Pty. Ltd. 
1
Tasmania Heli-Mag
PAGE  
Geo Instruments Pty. Ltd. 

Tasmania Heli-Mag

_1029739216.doc



_1029739407.doc



_1029733614.doc



