Table 4:  XRD Analysis Report

| Client: C. Jackman |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Sample Source: Cooee |  |  |  |  |  |  |
| MRT Job Number: LJN2017/081 |  |  |  |  |  |  |
| Analysis: Approximate Mineralogy |  |  |  |  |  |  |
| Method: X-Ray Diffraction Analyst: R. N. Woolley Date: 9th August 2017 |  |  |  |  |  |  |
| Results (approx wt %) |  |  |  |  |  |  |
| Reg. No. |  |  | C112167A | C112167B | C112168D |
| 35%-50% |  |  |  | Albite | Albite |  |
| 25%-35% |  |  | Albite |  | Chlorite |  |
| 15%-25% |  |  | Mica1, Chlorite, Clinopyroxene | Chlorite, Clinopyroxene | Clinopyroxene |  |
| 10%-15% |  |  |  |  |  |  |
| 5%-10% |  |  | Pumpellyite | Mica2 | Mica2 |  |
| 2%-5% |  |  | Epidote | Pumpellyite, Epidote | Pumpellyite, Epidote |  |
| <2% |  |  | Ilmenite | Ilmenite | Ilmenite |  |
| Peak overlap may interfere with identifications and quantitative calculations |  |  |  |  |  |  |
| Amorphous material and minerals present in trace amounts may not be detected |  |  |  |  |  |  |
| 1 both trioctahedral and dioctahedral Mica present |  |  |  |  |  |  |
| 2 predominantly dioctahedral Mica |  |  |  |  |  |  |