{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["QAQC_1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":1,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"QAQC_1","index":0,"n_rows":34,"n_cols":8,"rows_kept":34,"cut":false,"hidden":false,"merged":[]}
["H0002","Version",1]
["H0003","Date_generated","2014-11-08"]
["H0004","Reporting_period_end_date","2014-11-14"]
["H0005","State","TAS"]
["H0100","Tenement_no","EL82009"]
["H0101","Tenement_holder","Unity Mining Limited"]
["H0102","Project_name","Red Hills"]
["H0106","Tenement_operator","Unity Mining Limited"]
["H0200","Start_date_of_data_acquisition","2013-12-20"]
["H0201","End_date_of_data_acquisition","2014-04-01"]
["H0202","Template_format","QAQC_1"]
["H0203","Number_of_data_records",4]
["H0204","Date_of_metadata_update","2014-11-08"]
["H0300","Related_data_files","EL82009_201411_02_SG_1","EL82009_201411_04_Filelisting.xls"]
["H0702","Laboratory_job_number","BU14015582; BU13217789"]
["H0601","Sample_type","Rock"]
["H0602","Sampling_description","Rock chips samples in calico bags."]
["H0700","Sample_preparation_code","PREP-31"]
["H0701","Sample_preparation_description","Pulverised to 85% passing 75 microns"]
["H0702","Laboratory_batch_number","BU14015582; BU13217789 "]
["H0800","Assay_code ","Au-AA25","Au-ICP22"]
["H0801","Assay_company","ALS"]
["H0802","Assay_description","Fire assay and AAS "]
["H1000","Laboratory_job_number","Sample_id","Sample_type","QAQC_Type","Standard ID","Original_sample","Au"]
["H1001","Units",null,null,null,null,null,"ppm"]
["H1002","Assay_code",null,null,null,null,null,"Au-AA25"]
["H1003","Lower_detection_limit",null,null,null,null,null,0.01]
["H1005","Upper_detection_limit",null,null,null,null,null,100]
["H1007","Assay_company",null,null,null,null,null,"ALS"]
["D","BU14015582","AA0919","Rock ","BL",null,null,"<0.01"]
["D","BU14015582","AA0920","Rock ","STD","SG66",null,1.07]
["D","BU13217789","AA1540","Rock ","BL",null,null,"<0.01"]
["D","BU13217789","AA1556","Rock ","STD","SG66",null,1.05]
["EOF"]